## HarborImprovementBidPrices
Description | Unit Type |  | Total Units | Unit/Cost | Total
Mobilization (depends on project, between $3,000 and $30,000) | Lump Sum |  | 1 | 15000 | 15000
Gangway (smaller) | Lump Sum |  | 1 | 18000 | 18000
Gangway ADA (80 x 5 ft) | Lump Sum |  | 1 | 30000 | 30000
Timber Guide Piles | Unit |  | 4 | 4000 | 16000
Timber Guide Piles | LF |  | 375 | 90 | 33750
Steel Piles | Unit |  | 5 | 7900 | 39500
Single Point Moorings | Unit |  | 6 | 2600 | 15600
3 Pile Dolphin | LF |  | 150 | 40 | 6000
Pile Cap Replacement | LF |  | 108 | 90 | 9720
Vertical Pier Piling | LF |  | 64 | 90 | 5760
Ledge Removal | CY |  | 85 | 400 | 34000
Hoist System | Lump Sum |  | 1 | 30000 | 30000
Power Pedastals on floats | Per Unit |  | 4 | 6000 | 24000
Power Pedastals on land | Per Unit |  | 1 | 6500 | 6500
Floats (Wood) | Sq. Ft. |  | 200 | 52 | 10400
Gangway Abuttment Takeoff | Lump Sum |  | 1 | 14000 | 14000
Aluminum Staircase | Per Unit |  | 1 | 47000 | 47000
Pier Demolition | Lump Sum |  | 1 | 30000 | 30000
Pier Reconstruction | Lump Sum |  | 1 | 115000 | 115000
Fender/Guide Pile Replacement | Per Pile |  | 29 | 3000 | 87000
Pier and Float System Utilities | Lump Sum |  | 1 | 78000 | 78000
Rock Socket (secure pilings method) |  |  | 1 | 50000 | 50000
Seasonal Water Service | Lump Sum |  | 1 | 27000 | 27000
Ladder Replacement | Unit |  | 3 | 2000 | 6000
Boat Ramp Reconstruction | Lump Sum |  | 1 | 62000 | 62000
Launch Ramp | Unit |  | 1 | 17000 | 17000
[5 empty] | 827230 | Construction total
Design/Engineering/Permitting | 66178.4 | Note: 8% of Construction or $7,000, whichever is greater, Typical range between 5% and 10%
Estimate for obtaining Right of Way acquisition or easements | 5000
construction estimate from above | 827230
Cost of project inspection and oversight during construction (8 % of construction or $5,000 whichever is greater) | 66178.4 | Note: 8% of Construction or $7,000, whichever is greater, Typical range between 5% and 10%
Estimated Project | 964586.8