## DBP Rule Form Large
Disinfectants and Disinfection Byproducts Rule | [5 empty] | Chlorine or Chloramines Residual (all systems)
System Type - SW and GUI > 10,000, or <10000 systems taking additional tests | [5 empty] | *Note: Same location and frequency as TCR.
System Name: | [5 empty] | Month | # samples | Avg. Total Cl2 | Quarterly Avg.
January
PWSID#: | [5 empty] | February
March
Reporting period: | [5 empty] | April
May
Signature: ________________________________Date:______________ | [5 empty] | June
July
August
Disinfection Byproduct Precursor Removals (Conventional Filtration) | [5 empty] | September
| TOC Removal Requirement Table (f) |  |  |  |  | October
|  | Source Water Alkalinity |  |  |  | November
| Source TOC | 0-60 mg/l | 60-120mg/l | >120 mg/l |  | December
| >2-4.0 mg/l | 35% | 25% | 15% |  | Avg Of Quarterly Avgs:
| >4.0-8.0 mg/l | 45% | 35% | 25% |  |  |  |  | MRDL: 4 mg/L
| >8 mg/l | 50% | 40% | 30%
[6 empty] | Was MRDL exceeded? |  | No | Yes
|  | ( b ) | ( c ) | ( d ) |  | ( f ) | TOC Ratio | Quarterly
Month | Sample Set | Finished TOC | Source TOC | % removal | Source Water | Req. TOC | Monthly | Average
| Date | mg/l | mg/l | (1-b/c)*100 | Alkalinity (mg/l) | Removal % | d/f | Ratio
January
February
March
April
May
June
July
August
September
October
November
December
Finished TOC average:
Type of monitoring: |  |  | Reduced | Routine
Were Removal Requirements attained? |  |  | No | Yes | Avg. of Qtrly Avg Ratios: |  |  |  | (must be >1.00)
Total Trihalomethane Monitoring TTHM (all systems)
Location-> | [8 empty] | Qtr. Running Average
| Sample Date | ppb | Sample Date | ppb | Sample Date | ppb | Sample Date | ppb
1st Qtr
2nd Qtr
3rd Qtr
4th Qtr
| Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg: |  | (MCL: 80 ppb)
Type of TTHM Monitoring: |  | Routine | Reduced | Was MCL Exceeded?: |  | No | Yes | Ann Run Avg:
Haloacetic Acid Monitoring HAA5 (all systems)
Location-> | [8 empty] | Qtr. Running Average
| Sample Date | ppb | Sample Date | ppb | Sample Date | ppb | Sample Date | ppb
1st Qtr
2nd Qtr
3rd Qtr
4th Qtr
| Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg: |  | Loc. Run Avg: |  | (MCL: 60 ppb)
Type of HAA5 Monitoring: |  | Routine | Reduced | Was MCL Exceeded?: |  | No | Yes | Ann Run Avg:
Bromate (Ozone Systems) |  |  |  | Bromide Running Annual Average: |  |  |  | Type of Bromate Monitoring:
Month | ppb | Month | ppb | Month | ppb | Month | ppb | Routine | Reduced
January |  | April |  | July |  | October |  | Was Bromate MCL Exceeded?:
February |  | May |  | August |  | November |  | No | Yes
March |  | June |  | September |  | December |  | Ann. Avg:
If Avg. of Qtrly Avgs is >=1.00, system is in compliance.