## All Customers
Average Loss Factor for Medium & Large Customer
Based on 2006 Billing Unit Data
Voltage Level Percentages
Medium |  |  | Summer | Winter | Annual
Secondary |  | 96.3% | 1.083 | 1.0783 | 1.0813
Primary |  | 3.7% | 1.0402 | 1.0402 | 1.0408
| Class Average Losses |  | 1.0814 | 1.0769 | 1.0798
Large
Secondary |  | 19.7% | 1.083 | 1.0783 | 1.0813
Primary |  | 28.5% | 1.0402 | 1.0402 | 1.0408
Subtransmission |  | 34.6% | 1.0151 | 1.0139 | 1.0146
Transmission |  | 17.2% | 1.0034 | 1.0024 | 1.003
| Class Average Losses | 100% | 1.0336 | 1.0321 | 1.0332

## SOP Only
Average Loss Factor for SOP Customer as of 9/1/2007
Based on 2006 Billing Unit Data
Voltage Level Percentages
Medium |  |  | Summer | Winter | Annual
Secondary |  | 97.1% | 1.083 | 1.0783 | 1.0813
Primary |  | 2.9% | 1.0402 | 1.0402 | 1.0408
| Class Average Losses |  | 1.0818 | 1.0772 | 1.0801
Large
Secondary |  | 51.5% | 1.083 | 1.0783 | 1.0813
Primary |  | 36.8% | 1.0402 | 1.0402 | 1.0408
Subtransmission |  | 3.8% | 1.0151 | 1.0139 | 1.0146
Transmission |  | 7.9% | 1.0034 | 1.0024 | 1.003
| Class Average Losses |  | 1.0584 | 1.0559 | 1.0577
The actual loss factor for SOP Medium and SOP Large will depend on the
actual customer mix and voltage level of each individual Standard Offer
customer at any given point in time. These values are provided for reference
only and are not intended to represent the loss factors that will be used
during the term of the upcoming Standard Offer Term.