## A
Large Standard Offer customers are billed based on CMP's definition of Time-of-use Hours. Demand Charges
are billed for On-Peak and/or Shoulder periods based on the highest 15-minute integrated kW demand registered.
The market definition of hours that will be used for bid analysis is as follows:
Monday Through Friday 7 a.m. until 11 p.m. are On Peak
Monday Through Friday 12 p.m. until 6 a.m. are Off Peak
Saturdays, Sundays and Holidays are all Off Peak
Bidder may also use the CMP defined hours for Large Standard Offer Customers defined as follows:
Bills to Large Standard Offer customers will be computed based on CMP's definition of Time-of-use hours.
The daily periods for weekdays (Monday through Friday, excluding holidays) shall be as follows:
On-Peak: | 7:00 a.m. to 12:00 p.m. and
4:00 p.m. to 8:00 p.m.
Shoulder: | 12:00 p.m. to 4:00 p.m.
Off-Peak: | 8:00 p.m. to 7:00 a.m.
Winter Saturdays, Sundays and holidays shall be treated as consisting of two shoulder periods,
from 7:00 a.m. to 12:00 p.m. and from 4:00 p.m. to 8:00 p.m., with the remainder to be designated as off-peak.
Saturdays, Sundays and holidays during the non-winter period shall be designated as all off-peak.
To get historical Load Enrollment Statistics - go to this site and chose the excel file.
http://www.cmpco.com/cep/sop/
To get CMP's loss file, go to this site.
http://www.cmpco.com/cep/profiles/loss.html
To get information on CMP's profiles used for Settlement, go to this site.
http://www.cmpco.com/cep/profiles/profiles.html

## hourly data
Hourly Loads in MW represent load at the customers meters for the SOP Large Class as of 10/1/03. | [14 empty] | % Load served by:
[6 empty] | The supplier would have to deliver energy metered load plus distribution level losses. | [8 empty] | Secondary | 43.2
Maximum Peak Load |  | 98 | MW |  |  | Average Losses for this mix of customers is: |  |  |  | 5.417% |  | Average Loss Factor is dependent upon the mix of customers taking |  |  | Primary | 42.2
occurred on 12/5/02 at 2:00 pm | [6 empty] | Metered Load times loss factor = delivered energy. |  |  |  |  | service. Eligible customers in the Large class take service from |  |  | Sub-Trans. | 12.1
Day Type: 1-5 Monday-Friday, 6-7 Sat-Sun, 8 Holidays | [5 empty] | Loss Example hour 1: |  | 45 | x loss factor = | 47.4378 | MW. | Transmission, Subtransmission, Secondary or Primary Voltage levels. |  |  | Transmission | 2.5
Date | Rows | Day Type | 2 Rows per day, row "1" is hour ending 1 am to hour ending 12 pm. Row "2" is hour ending 1 pm to hour ending 12 am.
10102 | 1 | 81 | 45 | 44 | 44 | 45 | 45 | 47 | 48 | 49 | 50 | 51 | 51 | 51
10102 | 2 |  | 50 | 50 | 50 | 51 | 52 | 53 | 53 | 55 | 57 | 59 | 60 | 62
10202 | 1 | 31 | 62 | 62 | 61 | 63 | 65 | 70 | 79 | 84 | 84 | 81 | 80 | 77
10202 | 2 |  | 78 | 77 | 77 | 76 | 76 | 75 | 76 | 77 | 75 | 73 | 70 | 68
10302 | 1 | 41 | 68 | 67 | 67 | 67 | 69 | 72 | 80 | 86 | 87 | 84 | 82 | 80
10302 | 2 |  | 80 | 79 | 80 | 79 | 77 | 77 | 76 | 76 | 75 | 74 | 70 | 69
10402 | 1 | 51 | 67 | 66 | 66 | 67 | 69 | 73 | 81 | 85 | 81 | 80 | 81 | 79
10402 | 2 |  | 78 | 79 | 76 | 72 | 70 | 70 | 74 | 73 | 73 | 71 | 67 | 64
10502 | 1 | 61 | 63 | 62 | 62 | 62 | 64 | 65 | 67 | 65 | 61 | 62 | 63 | 63
10502 | 2 |  | 62 | 61 | 59 | 61 | 63 | 65 | 65 | 64 | 63 | 62 | 60 | 58
10602 | 1 | 71 | 57 | 55 | 54 | 54 | 54 | 54 | 51 | 48 | 48 | 49 | 47 | 44
10602 | 2 |  | 44 | 44 | 43 | 43 | 43 | 43 | 43 | 42 | 41 | 40 | 40 | 40
10702 | 1 | 11 | 40 | 40 | 40 | 41 | 43 | 47 | 53 | 59 | 62 | 65 | 69 | 70
10702 | 2 |  | 72 | 73 | 72 | 71 | 73 | 76 | 77 | 77 | 76 | 75 | 74 | 72
10802 | 1 | 21 | 71 | 69 | 69 | 70 | 72 | 75 | 83 | 85 | 84 | 83 | 83 | 83
10802 | 2 |  | 82 | 83 | 80 | 76 | 76 | 78 | 78 | 77 | 75 | 74 | 72 | 70
10902 | 1 | 31 | 69 | 68 | 64 | 59 | 58 | 58 | 66 | 71 | 74 | 74 | 75 | 71
10902 | 2 |  | 69 | 69 | 68 | 64 | 60 | 58 | 57 | 56 | 56 | 54 | 52 | 50
11002 | 1 | 41 | 48 | 46 | 45 | 46 | 47 | 51 | 58 | 65 | 68 | 69 | 70 | 69
11002 | 2 |  | 68 | 69 | 66 | 63 | 59 | 58 | 56 | 55 | 54 | 53 | 50 | 48
11102 | 1 | 51 | 46 | 41 | 42 | 45 | 47 | 50 | 58 | 63 | 66 | 67 | 68 | 67
11102 | 2 |  | 67 | 67 | 63 | 61 | 60 | 60 | 61 | 60 | 60 | 60 | 58 | 57
11202 | 1 | 61 | 55 | 56 | 56 | 57 | 59 | 62 | 65 | 66 | 68 | 70 | 70 | 69
11202 | 2 |  | 70 | 53 | 67 | 67 | 65 | 66 | 69 | 65 | 65 | 64 | 64 | 60
11302 | 1 | 71 | 59 | 60 | 60 | 59 | 57 | 56 | 55 | 52 | 52 | 53 | 49 | 49
11302 | 2 |  | 50 | 50 | 50 | 47 | 45 | 43 | 42 | 41 | 40 | 43 | 43 | 44
11402 | 1 | 11 | 42 | 42 | 41 | 42 | 43 | 45 | 54 | 60 | 63 | 64 | 67 | 66
11402 | 2 |  | 65 | 66 | 64 | 63 | 60 | 55 | 54 | 54 | 56 | 52 | 48 | 47
11502 | 1 | 21 | 44 | 43 | 43 | 43 | 45 | 48 | 56 | 63 | 66 | 70 | 71 | 70
11502 | 2 |  | 69 | 70 | 68 | 67 | 67 | 69 | 70 | 70 | 68 | 66 | 64 | 61
11602 | 1 | 31 | 61 | 60 | 59 | 59 | 62 | 65 | 73 | 81 | 81 | 80 | 79 | 80
11602 | 2 |  | 79 | 80 | 78 | 73 | 71 | 72 | 74 | 76 | 76 | 74 | 72 | 70
11702 | 1 | 41 | 69 | 68 | 68 | 68 | 69 | 72 | 80 | 85 | 85 | 84 | 84 | 81
11702 | 2 |  | 79 | 79 | 77 | 74 | 72 | 73 | 74 | 75 | 74 | 72 | 69 | 67
11802 | 1 | 51 | 66 | 65 | 65 | 65 | 69 | 73 | 79 | 80 | 76 | 77 | 76 | 74
11802 | 2 |  | 74 | 74 | 74 | 74 | 75 | 77 | 76 | 76 | 75 | 73 | 70 | 68
11902 | 1 | 61 | 65 | 63 | 63 | 63 | 65 | 66 | 67 | 61 | 60 | 62 | 62 | 61
11902 | 2 |  | 60 | 60 | 59 | 60 | 62 | 66 | 65 | 65 | 65 | 64 | 61 | 60
12002 | 1 | 71 | 59 | 58 | 58 | 59 | 58 | 55 | 50 | 48 | 49 | 49 | 49 | 49
12002 | 2 |  | 46 | 44 | 45 | 44 | 43 | 43 | 43 | 43 | 42 | 41 | 41 | 40
12102 | 1 | 81 | 40 | 40 | 40 | 41 | 44 | 47 | 55 | 60 | 62 | 63 | 64 | 63
12102 | 2 |  | 63 | 62 | 60 | 58 | 54 | 52 | 51 | 50 | 50 | 48 | 46 | 44
12202 | 1 | 21 | 42 | 41 | 41 | 41 | 43 | 46 | 55 | 61 | 64 | 65 | 66 | 64
12202 | 2 |  | 64 | 64 | 62 | 59 | 57 | 56 | 56 | 55 | 54 | 53 | 50 | 48
12302 | 1 | 31 | 46 | 45 | 44 | 45 | 48 | 52 | 62 | 68 | 70 | 70 | 70 | 69
12302 | 2 |  | 69 | 70 | 67 | 62 | 59 | 59 | 58 | 55 | 53 | 53 | 51 | 48
12402 | 1 | 41 | 46 | 45 | 45 | 46 | 47 | 51 | 59 | 66 | 68 | 69 | 70 | 69
12402 | 2 |  | 68 | 69 | 66 | 62 | 63 | 61 | 61 | 60 | 62 | 67 | 66 | 64
12502 | 1 | 51 | 63 | 63 | 62 | 63 | 65 | 70 | 78 | 85 | 82 | 76 | 74 | 73
12502 | 2 |  | 71 | 71 | 70 | 69 | 71 | 75 | 74 | 74 | 73 | 69 | 65 | 63
12602 | 1 | 61 | 60 | 58 | 57 | 56 | 55 | 52 | 51 | 51 | 48 | 48 | 48 | 47
12602 | 2 |  | 47 | 48 | 50 | 49 | 48 | 48 | 47 | 47 | 47 | 46 | 44 | 42
12702 | 1 | 71 | 41 | 41 | 41 | 41 | 41 | 42 | 43 | 45 | 48 | 49 | 48 | 49
12702 | 2 |  | 48 | 48 | 48 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 46 | 45
12802 | 1 | 11 | 45 | 45 | 43 | 46 | 48 | 52 | 60 | 65 | 67 | 68 | 69 | 68
12802 | 2 |  | 67 | 66 | 65 | 62 | 58 | 57 | 56 | 55 | 54 | 52 | 50 | 47
12902 | 1 | 21 | 45 | 44 | 44 | 44 | 45 | 49 | 57 | 65 | 68 | 69 | 69 | 66
12902 | 2 |  | 66 | 67 | 64 | 61 | 58 | 57 | 55 | 56 | 56 | 53 | 51 | 50
13002 | 1 | 31 | 51 | 55 | 55 | 56 | 59 | 62 | 71 | 76 | 75 | 75 | 76 | 75
13002 | 2 |  | 73 | 74 | 68 | 64 | 63 | 67 | 71 | 71 | 70 | 68 | 66 | 62
13102 | 1 | 41 | 60 | 59 | 59 | 59 | 61 | 65 | 74 | 74 | 70 | 69 | 70 | 68
13102 | 2 |  | 66 | 65 | 63 | 60 | 56 | 56 | 54 | 53 | 52 | 50 | 47 | 45
20102 | 1 | 51 | 43 | 42 | 42 | 42 | 44 | 48 | 55 | 59 | 61 | 63 | 62 | 61
20102 | 2 |  | 60 | 59 | 56 | 53 | 52 | 51 | 50 | 48 | 47 | 46 | 43 | 41
20202 | 1 | 61 | 40 | 40 | 40 | 40 | 41 | 43 | 45 | 45 | 47 | 48 | 49 | 50
20202 | 2 |  | 53 | 55 | 55 | 55 | 57 | 60 | 62 | 62 | 61 | 60 | 58 | 56
20302 | 1 | 71 | 56 | 55 | 55 | 55 | 55 | 56 | 56 | 52 | 51 | 53 | 53 | 53
20302 | 2 |  | 52 | 52 | 49 | 46 | 45 | 45 | 42 | 41 | 40 | 40 | 39 | 40
20402 | 1 | 11 | 39 | 40 | 40 | 42 | 46 | 50 | 57 | 64 | 68 | 68 | 70 | 69
20402 | 2 |  | 68 | 69 | 68 | 65 | 65 | 67 | 67 | 68 | 69 | 68 | 66 | 64
20502 | 1 | 21 | 62 | 62 | 61 | 61 | 63 | 66 | 74 | 74 | 75 | 77 | 77 | 75
20502 | 2 |  | 75 | 77 | 75 | 70 | 67 | 70 | 75 | 74 | 72 | 71 | 68 | 65
20602 | 1 | 31 | 63 | 63 | 60 | 62 | 65 | 68 | 76 | 79 | 77 | 77 | 77 | 75
20602 | 2 |  | 75 | 77 | 74 | 69 | 69 | 73 | 73 | 72 | 71 | 69 | 66 | 65
20702 | 1 | 41 | 62 | 61 | 60 | 61 | 63 | 66 | 73 | 74 | 73 | 73 | 73 | 70
20702 | 2 |  | 70 | 70 | 68 | 65 | 61 | 60 | 59 | 58 | 56 | 55 | 52 | 49
20802 | 1 | 51 | 47 | 46 | 46 | 45 | 46 | 49 | 56 | 64 | 68 | 69 | 69 | 68
20802 | 2 |  | 67 | 66 | 63 | 62 | 61 | 61 | 65 | 68 | 70 | 70 | 68 | 65
20902 | 1 | 61 | 64 | 63 | 63 | 63 | 65 | 67 | 69 | 63 | 58 | 59 | 60 | 59
20902 | 2 |  | 59 | 59 | 60 | 61 | 61 | 67 | 69 | 68 | 65 | 66 | 65 | 63
21002 | 1 | 71 | 62 | 62 | 62 | 61 | 60 | 61 | 61 | 56 | 51 | 50 | 50 | 49
21002 | 2 |  | 49 | 49 | 49 | 48 | 48 | 48 | 46 | 45 | 43 | 43 | 41 | 41
21102 | 1 | 11 | 40 | 41 | 41 | 42 | 45 | 48 | 55 | 61 | 64 | 66 | 68 | 67
21102 | 2 |  | 66 | 67 | 65 | 62 | 62 | 70 | 69 | 69 | 68 | 66 | 64 | 62
21202 | 1 | 21 | 60 | 59 | 59 | 59 | 60 | 63 | 71 | 71 | 71 | 70 | 69 | 69
21202 | 2 |  | 68 | 68 | 67 | 65 | 63 | 65 | 65 | 65 | 63 | 63 | 61 | 58
21302 | 1 | 31 | 56 | 55 | 55 | 56 | 58 | 61 | 68 | 73 | 75 | 72 | 70 | 68
21302 | 2 |  | 68 | 69 | 68 | 67 | 64 | 65 | 66 | 67 | 68 | 67 | 66 | 64
21402 | 1 | 41 | 61 | 60 | 59 | 60 | 62 | 65 | 72 | 75 | 72 | 71 | 71 | 68
21402 | 2 |  | 67 | 67 | 64 | 61 | 57 | 56 | 55 | 53 | 53 | 51 | 49 | 47
21502 | 1 | 51 | 46 | 45 | 43 | 44 | 46 | 50 | 56 | 61 | 65 | 67 | 68 | 67
21502 | 2 |  | 65 | 65 | 63 | 59 | 55 | 55 | 53 | 52 | 52 | 50 | 47 | 44
21602 | 1 | 61 | 41 | 40 | 40 | 40 | 41 | 42 | 45 | 46 | 49 | 51 | 51 | 51
21602 | 2 |  | 50 | 50 | 49 | 47 | 45 | 46 | 48 | 49 | 47 | 46 | 45 | 43
21702 | 1 | 71 | 43 | 42 | 42 | 42 | 42 | 41 | 42 | 43 | 45 | 47 | 48 | 48
21702 | 2 |  | 47 | 47 | 48 | 50 | 48 | 49 | 51 | 52 | 52 | 52 | 53 | 53
21802 | 1 | 81 | 55 | 55 | 56 | 56 | 59 | 61 | 66 | 63 | 60 | 59 | 58 | 57
21802 | 2 |  | 57 | 57 | 56 | 58 | 54 | 56 | 60 | 61 | 60 | 58 | 56 | 56
21902 | 1 | 21 | 55 | 55 | 56 | 56 | 59 | 63 | 63 | 64 | 65 | 66 | 67 | 65
21902 | 2 |  | 64 | 64 | 62 | 59 | 55 | 54 | 54 | 53 | 52 | 51 | 48 | 46
22002 | 1 | 31 | 43 | 42 | 42 | 42 | 44 | 48 | 55 | 61 | 63 | 65 | 65 | 64
22002 | 2 |  | 64 | 64 | 62 | 59 | 55 | 53 | 53 | 52 | 53 | 51 | 48 | 46
22102 | 1 | 41 | 42 | 41 | 40 | 40 | 44 | 47 | 56 | 63 | 66 | 67 | 68 | 66
22102 | 2 |  | 66 | 67 | 64 | 61 | 59 | 57 | 56 | 55 | 55 | 53 | 50 | 47
22202 | 1 | 51 | 45 | 44 | 43 | 44 | 46 | 50 | 56 | 62 | 65 | 66 | 67 | 66
22202 | 2 |  | 65 | 65 | 63 | 60 | 59 | 58 | 64 | 67 | 69 | 68 | 66 | 64
22302 | 1 | 61 | 62 | 62 | 62 | 62 | 64 | 66 | 68 | 66 | 65 | 69 | 70 | 69
22302 | 2 |  | 67 | 66 | 66 | 59 | 59 | 65 | 68 | 68 | 68 | 67 | 66 | 64
22402 | 1 | 71 | 63 | 63 | 63 | 63 | 65 | 64 | 63 | 56 | 53 | 53 | 51 | 49
22402 | 2 |  | 48 | 48 | 47 | 46 | 45 | 45 | 46 | 45 | 45 | 44 | 44 | 43
22502 | 1 | 11 | 43 | 43 | 43 | 44 | 48 | 51 | 58 | 65 | 68 | 69 | 71 | 70
22502 | 2 |  | 69 | 70 | 65 | 63 | 60 | 58 | 57 | 56 | 56 | 54 | 51 | 49
22602 | 1 | 21 | 47 | 45 | 45 | 45 | 48 | 51 | 58 | 65 | 68 | 68 | 70 | 69
22602 | 2 |  | 69 | 69 | 65 | 64 | 59 | 58 | 58 | 57 | 56 | 55 | 55 | 52
22702 | 1 | 31 | 49 | 47 | 47 | 47 | 49 | 51 | 60 | 66 | 70 | 71 | 73 | 69
22702 | 2 |  | 69 | 69 | 67 | 63 | 60 | 58 | 57 | 56 | 55 | 54 | 53 | 50
22802 | 1 | 41 | 49 | 48 | 47 | 48 | 50 | 55 | 63 | 68 | 69 | 69 | 70 | 69
22802 | 2 |  | 68 | 68 | 67 | 65 | 64 | 66 | 70 | 70 | 71 | 70 | 69 | 68
30102 | 1 | 51 | 66 | 64 | 64 | 66 | 67 | 70 | 76 | 73 | 71 | 70 | 68 | 66
30102 | 2 |  | 65 | 65 | 63 | 62 | 58 | 60 | 63 | 64 | 64 | 64 | 61 | 58
30202 | 1 | 61 | 55 | 54 | 54 | 54 | 55 | 57 | 58 | 55 | 52 | 51 | 51 | 51
30202 | 2 |  | 50 | 49 | 48 | 46 | 43 | 44 | 45 | 45 | 44 | 43 | 40 | 39
30302 | 1 | 71 | 38 | 37 | 37 | 37 | 38 | 39 | 40 | 41 | 42 | 42 | 43 | 44
30302 | 2 |  | 44 | 44 | 45 | 45 | 41 | 42 | 42 | 41 | 40 | 40 | 39 | 39
30402 | 1 | 11 | 39 | 39 | 39 | 40 | 43 | 47 | 54 | 61 | 65 | 67 | 69 | 69
30402 | 2 |  | 70 | 70 | 70 | 69 | 68 | 71 | 75 | 76 | 75 | 74 | 72 | 69
30502 | 1 | 21 | 67 | 66 | 65 | 66 | 68 | 72 | 79 | 78 | 79 | 75 | 73 | 72
30502 | 2 |  | 72 | 72 | 70 | 68 | 67 | 67 | 68 | 68 | 67 | 67 | 66 | 65
30602 | 1 | 31 | 62 | 61 | 61 | 61 | 63 | 67 | 73 | 75 | 74 | 76 | 75 | 72
30602 | 2 |  | 73 | 72 | 70 | 68 | 63 | 61 | 62 | 61 | 60 | 60 | 55 | 52
30702 | 1 | 41 | 49 | 48 | 48 | 49 | 52 | 56 | 61 | 67 | 70 | 71 | 72 | 70
30702 | 2 |  | 69 | 70 | 67 | 64 | 60 | 59 | 60 | 59 | 57 | 56 | 53 | 50
30802 | 1 | 51 | 47 | 46 | 45 | 45 | 48 | 52 | 59 | 66 | 68 | 70 | 73 | 72
30802 | 2 |  | 68 | 68 | 67 | 64 | 59 | 56 | 55 | 54 | 53 | 51 | 48 | 45
30902 | 1 | 61 | 43 | 42 | 42 | 42 | 42 | 44 | 46 | 47 | 47 | 49 | 48 | 48
30902 | 2 |  | 47 | 46 | 46 | 45 | 42 | 43 | 43 | 43 | 42 | 41 | 39 | 37
31002 | 1 | 71 | 36 | 36 | 35 | 35 | 36 | 37 | 37 | 38 | 40 | 40 | 42 | 44
31002 | 2 |  | 46 | 48 | 50 | 51 | 53 | 55 | 59 | 60 | 59 | 59 | 59 | 59
31102 | 1 | 11 | 59 | 59 | 59 | 60 | 63 | 66 | 73 | 74 | 74 | 70 | 69 | 67
31102 | 2 |  | 68 | 69 | 69 | 69 | 68 | 69 | 71 | 72 | 72 | 71 | 69 | 66
31202 | 1 | 21 | 64 | 63 | 62 | 63 | 64 | 67 | 70 | 69 | 70 | 69 | 69 | 67
31202 | 2 |  | 66 | 66 | 63 | 60 | 56 | 54 | 54 | 53 | 52 | 51 | 49 | 46
31302 | 1 | 31 | 44 | 42 | 42 | 42 | 44 | 49 | 55 | 62 | 65 | 67 | 68 | 65
31302 | 2 |  | 65 | 67 | 65 | 63 | 59 | 57 | 56 | 55 | 55 | 54 | 50 | 48
31402 | 1 | 41 | 46 | 45 | 44 | 44 | 46 | 51 | 57 | 64 | 66 | 67 | 68 | 66
31402 | 2 |  | 66 | 67 | 65 | 62 | 58 | 56 | 56 | 55 | 54 | 52 | 49 | 46
31502 | 1 | 51 | 44 | 43 | 43 | 44 | 47 | 52 | 59 | 67 | 70 | 72 | 72 | 70
31502 | 2 |  | 68 | 68 | 65 | 62 | 58 | 57 | 56 | 55 | 54 | 52 | 50 | 46
31602 | 1 | 61 | 45 | 43 | 43 | 43 | 43 | 45 | 48 | 50 | 52 | 54 | 54 | 53
31602 | 2 |  | 53 | 52 | 51 | 50 | 49 | 50 | 54 | 56 | 60 | 60 | 58 | 56
31702 | 1 | 71 | 56 | 55 | 55 | 55 | 55 | 56 | 55 | 51 | 49 | 52 | 53 | 53
31702 | 2 |  | 51 | 50 | 49 | 49 | 47 | 47 | 49 | 47 | 45 | 45 | 45 | 45
31802 | 1 | 11 | 45 | 45 | 46 | 46 | 49 | 53 | 59 | 63 | 65 | 67 | 68 | 66
31802 | 2 |  | 67 | 67 | 65 | 62 | 58 | 54 | 54 | 53 | 51 | 50 | 48 | 45
31902 | 1 | 21 | 43 | 42 | 41 | 41 | 43 | 47 | 54 | 62 | 66 | 66 | 67 | 66
31902 | 2 |  | 65 | 66 | 63 | 61 | 55 | 53 | 55 | 54 | 53 | 53 | 50 | 47
32002 | 1 | 31 | 47 | 46 | 44 | 43 | 47 | 52 | 58 | 66 | 70 | 71 | 72 | 72
32002 | 2 |  | 71 | 71 | 68 | 65 | 61 | 59 | 58 | 58 | 57 | 55 | 51 | 48
32102 | 1 | 41 | 46 | 46 | 45 | 46 | 47 | 51 | 57 | 64 | 66 | 66 | 67 | 66
32102 | 2 |  | 67 | 67 | 64 | 61 | 58 | 56 | 57 | 56 | 52 | 51 | 49 | 49
32202 | 1 | 51 | 47 | 46 | 46 | 46 | 48 | 51 | 58 | 65 | 71 | 73 | 74 | 70
32202 | 2 |  | 69 | 69 | 66 | 63 | 59 | 56 | 56 | 56 | 55 | 53 | 50 | 47
32302 | 1 | 61 | 45 | 45 | 44 | 44 | 45 | 47 | 49 | 52 | 55 | 56 | 56 | 54
32302 | 2 |  | 51 | 50 | 49 | 47 | 45 | 44 | 44 | 43 | 43 | 42 | 40 | 39
32402 | 1 | 71 | 38 | 37 | 37 | 37 | 37 | 38 | 38 | 40 | 44 | 43 | 43 | 43
32402 | 2 |  | 43 | 42 | 42 | 41 | 39 | 39 | 41 | 41 | 40 | 40 | 40 | 40
32502 | 1 | 11 | 40 | 40 | 40 | 40 | 42 | 45 | 52 | 59 | 63 | 64 | 66 | 65
32502 | 2 |  | 64 | 65 | 63 | 59 | 55 | 53 | 52 | 51 | 51 | 49 | 48 | 44
32602 | 1 | 21 | 43 | 42 | 41 | 42 | 44 | 47 | 54 | 61 | 65 | 66 | 68 | 67
32602 | 2 |  | 66 | 66 | 64 | 61 | 57 | 55 | 54 | 53 | 52 | 51 | 48 | 45
32702 | 1 | 31 | 44 | 43 | 42 | 43 | 45 | 48 | 55 | 64 | 69 | 71 | 71 | 70
32702 | 2 |  | 69 | 70 | 67 | 64 | 59 | 56 | 56 | 56 | 55 | 54 | 51 | 48
32802 | 1 | 41 | 46 | 45 | 45 | 45 | 47 | 51 | 57 | 64 | 68 | 69 | 70 | 68
32802 | 2 |  | 67 | 66 | 66 | 62 | 58 | 55 | 55 | 54 | 54 | 52 | 49 | 45
32902 | 1 | 51 | 44 | 43 | 43 | 43 | 45 | 53 | 55 | 60 | 62 | 62 | 64 | 65
32902 | 2 |  | 63 | 63 | 61 | 58 | 54 | 54 | 54 | 54 | 50 | 48 | 44 | 41
33002 | 1 | 61 | 40 | 38 | 40 | 43 | 43 | 45 | 47 | 49 | 50 | 50 | 52 | 48
33002 | 2 |  | 48 | 48 | 47 | 47 | 45 | 43 | 44 | 44 | 44 | 43 | 41 | 40
33102 | 1 | 71 | 37 | 39 | 38 | 38 | 37 | 35 | 35 | 36 | 37 | 38 | 39 | 39
33102 | 2 |  | 39 | 39 | 39 | 38 | 36 | 37 | 38 | 37 | 37 | 37 | 37 | 38
40102 | 1 | 11 | 39 | 39 | 38 | 39 | 42 | 46 | 53 | 62 | 66 | 67 | 69 | 67
40102 | 2 |  | 66 | 68 | 64 | 60 | 56 | 53 | 53 | 53 | 53 | 51 | 48 | 45
40202 | 1 | 21 | 43 | 42 | 43 | 43 | 44 | 47 | 54 | 63 | 66 | 66 | 68 | 67
40202 | 2 |  | 66 | 67 | 65 | 62 | 57 | 54 | 54 | 53 | 53 | 51 | 48 | 45
40302 | 1 | 31 | 44 | 42 | 43 | 43 | 44 | 48 | 55 | 64 | 67 | 67 | 69 | 68
40302 | 2 |  | 67 | 69 | 65 | 62 | 58 | 55 | 54 | 54 | 53 | 51 | 48 | 45
40402 | 1 | 41 | 44 | 43 | 43 | 43 | 44 | 47 | 54 | 63 | 67 | 68 | 69 | 69
40402 | 2 |  | 67 | 68 | 64 | 61 | 57 | 54 | 54 | 54 | 53 | 51 | 48 | 46
40502 | 1 | 51 | 45 | 44 | 43 | 44 | 45 | 48 | 55 | 62 | 66 | 68 | 70 | 67
40502 | 2 |  | 65 | 67 | 63 | 60 | 55 | 54 | 53 | 53 | 53 | 53 | 50 | 47
40602 | 1 | 61 | 45 | 45 | 45 | 45 | 46 | 47 | 48 | 47 | 50 | 51 | 52 | 51
40602 | 2 |  | 50 | 49 | 48 | 47 | 45 | 45 | 46 | 47 | 47 | 46 | 44 | 43
40702 | 1 | 72 | 42 | 42 | -9999 | 42 | 42 | 43 | 43 | 44 | 46 | 47 | 48 | 48
40702 | 2 |  | 47 | 46 | 47 | 45 | 44 | 43 | 41 | 45 | 49 | 50 | 45 | 43
40802 | 1 | 12 | 43 | 43 | 43 | 44 | 46 | 50 | 58 | 67 | 71 | 72 | 72 | 70
40802 | 2 |  | 70 | 71 | 69 | 66 | 61 | 57 | 57 | 56 | 56 | 55 | 51 | 48
40902 | 1 | 22 | 47 | 46 | 46 | 45 | 47 | 50 | 56 | 63 | 66 | 67 | 69 | 68
40902 | 2 |  | 68 | 70 | 66 | 64 | 60 | 55 | 54 | 55 | 54 | 52 | 49 | 46
41002 | 1 | 32 | 44 | 43 | 42 | 42 | 43 | 46 | 54 | 62 | 65 | 65 | 66 | 65
41002 | 2 |  | 64 | 65 | 64 | 61 | 58 | 53 | 52 | 52 | 52 | 50 | 46 | 45
41102 | 1 | 42 | 44 | 43 | 42 | 42 | 44 | 48 | 55 | 64 | 66 | 66 | 68 | 66
41102 | 2 |  | 64 | 66 | 64 | 63 | 57 | 53 | 51 | 51 | 51 | 51 | 47 | 44
41202 | 1 | 52 | 42 | 41 | 41 | 41 | 42 | 46 | 53 | 62 | 66 | 65 | 66 | 64
41202 | 2 |  | 63 | 63 | 60 | 56 | 53 | 50 | 49 | 50 | 50 | 48 | 45 | 42
41302 | 1 | 62 | 40 | 38 | 38 | 38 | 39 | 40 | 42 | 45 | 46 | 47 | 48 | 48
41302 | 2 |  | 47 | 46 | 45 | 44 | 43 | 42 | 42 | 43 | 43 | 41 | 39 | 39
41402 | 1 | 72 | 37 | 36 | 36 | 36 | 36 | 36 | 37 | 39 | 40 | 41 | 41 | 42
41402 | 2 |  | 42 | 42 | 43 | 42 | 41 | 40 | 40 | 41 | 41 | 40 | 39 | 39
41502 | 1 | 82 | 39 | 38 | 38 | 38 | 41 | 44 | 50 | 57 | 61 | 63 | 64 | 64
41502 | 2 |  | 64 | 65 | 63 | 61 | 57 | 54 | 54 | 54 | 54 | 52 | 50 | 47
41602 | 1 | 22 | 46 | 44 | 44 | 44 | 45 | 48 | 56 | 63 | 66 | 67 | 70 | 70
41602 | 2 |  | 69 | 70 | 67 | 67 | 62 | 58 | 57 | 58 | 57 | 55 | 52 | 49
41702 | 1 | 32 | 47 | 46 | 46 | 46 | 48 | 51 | 58 | 66 | 69 | 71 | 73 | 73
41702 | 2 |  | 72 | 73 | 70 | 66 | 63 | 59 | 58 | 58 | 56 | 54 | 51 | 48
41802 | 1 | 42 | 46 | 45 | 45 | 45 | 46 | 49 | 58 | 65 | 68 | 68 | 70 | 69
41802 | 2 |  | 68 | 70 | 67 | 64 | 60 | 56 | 55 | 55 | 54 | 53 | 50 | 47
41902 | 1 | 52 | 45 | 45 | 44 | 44 | 45 | 49 | 56 | 63 | 65 | 66 | 67 | 65
41902 | 2 |  | 64 | 64 | 62 | 60 | 56 | 54 | 52 | 51 | 51 | 51 | 47 | 43
42002 | 1 | 62 | 42 | 41 | 40 | 40 | 41 | 42 | 44 | 46 | 47 | 48 | 48 | 48
42002 | 2 |  | 47 | 47 | 46 | 46 | 45 | 45 | 45 | 46 | 46 | 45 | 43 | 41
42102 | 1 | 72 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 41 | 42 | 43 | 40 | 40
42102 | 2 |  | 41 | 40 | 41 | 43 | 43 | 42 | 43 | 43 | 43 | 43 | 43 | 44
42202 | 1 | 12 | 44 | 43 | 43 | 43 | 47 | 51 | 58 | 67 | 71 | 71 | 72 | 71
42202 | 2 |  | 69 | 70 | 67 | 66 | 62 | 55 | 54 | 53 | 53 | 51 | 48 | 45
42302 | 1 | 22 | 44 | 42 | 42 | 43 | 44 | 48 | 56 | 64 | 67 | 67 | 69 | 67
42302 | 2 |  | 66 | 67 | 66 | 62 | 58 | 54 | 53 | 53 | 54 | 52 | 48 | 46
42402 | 1 | 32 | 44 | 43 | 43 | 43 | 45 | 47 | 56 | 65 | 69 | 69 | 70 | 70
42402 | 2 |  | 68 | 70 | 68 | 65 | 60 | 55 | 54 | 54 | 54 | 52 | 47 | 44
42502 | 1 | 42 | 42 | 41 | 42 | 43 | 44 | 48 | 56 | 66 | 68 | 69 | 70 | 70
42502 | 2 |  | 69 | 69 | 67 | 63 | 59 | 53 | 53 | 53 | 52 | 50 | 47 | 44
42602 | 1 | 52 | 42 | 41 | 40 | 40 | 42 | 45 | 53 | 61 | 64 | 65 | 66 | 65
42602 | 2 |  | 63 | 62 | 58 | 56 | 52 | 49 | 48 | 49 | 48 | 47 | 43 | 40
42702 | 1 | 62 | 38 | 37 | 37 | 37 | 37 | 38 | 41 | 43 | 44 | 45 | 44 | 44
42702 | 2 |  | 44 | 44 | 42 | 41 | 40 | 41 | 41 | 42 | 44 | 44 | 42 | 39
42802 | 1 | 72 | 37 | 35 | 35 | 37 | 39 | 39 | 39 | 40 | 42 | 43 | 43 | 44
42802 | 2 |  | 44 | 44 | 44 | 44 | 44 | 43 | 44 | 43 | 43 | 42 | 42 | 42
42902 | 1 | 12 | 42 | 42 | 42 | 43 | 45 | 48 | 56 | 64 | 68 | 68 | 70 | 69
42902 | 2 |  | 68 | 68 | 65 | 61 | 59 | 55 | 55 | 55 | 55 | 54 | 51 | 48
43002 | 1 | 22 | 46 | 45 | 45 | 45 | 47 | 50 | 60 | 68 | 70 | 71 | 73 | 72
43002 | 2 |  | 70 | 70 | 70 | 67 | 63 | 58 | 56 | 55 | 56 | 54 | 52 | 49
50102 | 1 | 32 | 47 | 46 | 45 | 44 | 46 | 49 | 58 | 65 | 68 | 69 | 70 | 70
50102 | 2 |  | 69 | 69 | 67 | 64 | 60 | 56 | 54 | 54 | 54 | 53 | 49 | 46
50202 | 1 | 42 | 45 | 44 | 44 | 44 | 46 | 49 | 59 | 67 | 70 | 72 | 70 | 69
50202 | 2 |  | 68 | 68 | 65 | 62 | 60 | 57 | 56 | 56 | 55 | 54 | 50 | 47
50302 | 1 | 52 | 45 | 44 | 44 | 44 | 45 | 49 | 58 | 66 | 67 | 68 | 69 | 68
50302 | 2 |  | 67 | 66 | 63 | 58 | 55 | 53 | 52 | 51 | 51 | 50 | 46 | 42
50402 | 1 | 62 | 41 | 39 | 39 | 39 | 39 | 40 | 42 | 44 | 44 | 45 | 45 | 45
50402 | 2 |  | 45 | 45 | 44 | 44 | 43 | 43 | 43 | 42 | 43 | 42 | 40 | 39
50502 | 1 | 72 | 38 | 37 | 37 | 37 | 37 | 37 | 37 | 39 | 40 | 41 | 42 | 43
50502 | 2 |  | 44 | 44 | 44 | 44 | 43 | 43 | 42 | 41 | 41 | 42 | 40 | 40
50602 | 1 | 12 | 41 | 40 | 40 | 41 | 43 | 46 | 55 | 63 | 66 | 68 | 71 | 71
50602 | 2 |  | 72 | 72 | 70 | 67 | 63 | 58 | 56 | 54 | 54 | 52 | 49 | 45
50702 | 1 | 22 | 46 | 45 | 45 | 43 | 45 | 48 | 57 | 63 | 66 | 69 | 70 | 69
50702 | 2 |  | 69 | 71 | 69 | 66 | 64 | 60 | 57 | 56 | 56 | 53 | 50 | 47
50802 | 1 | 32 | 46 | 44 | 43 | 43 | 44 | 47 | 55 | 61 | 64 | 66 | 68 | 68
50802 | 2 |  | 70 | 71 | 68 | 66 | 62 | 58 | 55 | 54 | 54 | 52 | 49 | 46
50902 | 1 | 42 | 44 | 43 | 43 | 43 | 44 | 47 | 56 | 64 | 67 | 69 | 70 | 69
50902 | 2 |  | 69 | 69 | 66 | 62 | 61 | 57 | 55 | 53 | 53 | 51 | 48 | 45
51002 | 1 | 52 | 43 | 42 | 41 | 39 | 39 | 44 | 53 | 61 | 64 | 66 | 68 | 67
51002 | 2 |  | 65 | 67 | 63 | 60 | 56 | 52 | 50 | 48 | 47 | 46 | 42 | 39
51102 | 1 | 62 | 36 | 35 | 35 | 35 | 36 | 36 | 38 | 40 | 41 | 42 | 42 | 42
51102 | 2 |  | 43 | 42 | 42 | 42 | 42 | 41 | 39 | 39 | 40 | 40 | 37 | 36
51202 | 1 | 72 | 35 | 34 | 34 | 34 | 34 | 34 | 33 | 35 | 36 | 37 | 38 | 38
51202 | 2 |  | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 37 | 38
51302 | 1 | 12 | 38 | 37 | 37 | 38 | 40 | 42 | 51 | 59 | 63 | 63 | 64 | 63
51302 | 2 |  | 63 | 63 | 60 | 57 | 54 | 50 | 50 | 49 | 49 | 47 | 45 | 42
51402 | 1 | 22 | 40 | 40 | 40 | 39 | 40 | 44 | 52 | 59 | 62 | 62 | 64 | 63
51402 | 2 |  | 62 | 63 | 61 | 58 | 55 | 51 | 51 | 50 | 50 | 49 | 46 | 43
51502 | 1 | 32 | 41 | 41 | 40 | 41 | 42 | 45 | 53 | 61 | 64 | 65 | 66 | 65
51502 | 2 |  | 65 | 65 | 63 | 59 | 56 | 52 | 51 | 49 | 50 | 49 | 46 | 43
51602 | 1 | 42 | 41 | 41 | 41 | 43 | 45 | 47 | 57 | 65 | 69 | 70 | 71 | 71
51602 | 2 |  | 70 | 71 | 68 | 65 | 62 | 58 | 56 | 56 | 57 | 55 | 51 | 48
51702 | 1 | 52 | 48 | 46 | 45 | 45 | 46 | 49 | 57 | 66 | 70 | 71 | 71 | 70
51702 | 2 |  | 69 | 70 | 67 | 63 | 59 | 56 | 54 | 52 | 52 | 51 | 47 | 44
51802 | 1 | 62 | 42 | 41 | 40 | 40 | 41 | 43 | 45 | 48 | 49 | 49 | 48 | 48
51802 | 2 |  | 48 | 47 | 47 | 46 | 44 | 43 | 43 | 43 | 44 | 44 | 43 | 42
51902 | 1 | 72 | 41 | 38 | 38 | 38 | 38 | 38 | 38 | 39 | 41 | 41 | 42 | 43
51902 | 2 |  | 43 | 43 | 43 | 43 | 42 | 42 | 41 | 41 | 41 | 42 | 42 | 42
52002 | 1 | 12 | 41 | 41 | 41 | 42 | 44 | 48 | 57 | 65 | 68 | 68 | 69 | 69
52002 | 2 |  | 69 | 71 | 68 | 65 | 61 | 57 | 55 | 54 | 54 | 52 | 49 | 46
52102 | 1 | 22 | 44 | 43 | 44 | 44 | 45 | 49 | 58 | 65 | 68 | 69 | 70 | 69
52102 | 2 |  | 69 | 69 | 67 | 64 | 61 | 58 | 56 | 54 | 54 | 52 | 50 | 47
52202 | 1 | 32 | 45 | 44 | 43 | 44 | 45 | 47 | 56 | 66 | 69 | 70 | 71 | 71
52202 | 2 |  | 71 | 70 | 68 | 65 | 62 | 58 | 55 | 53 | 53 | 52 | 49 | 45
52302 | 1 | 42 | 44 | 43 | 42 | 43 | 44 | 47 | 57 | 66 | 69 | 71 | 72 | 71
52302 | 2 |  | 71 | 72 | 69 | 67 | 64 | 59 | 57 | 54 | 52 | 48 | 44 | 42
52402 | 1 | 52 | 39 | 38 | 39 | 38 | 40 | 45 | 54 | 61 | 66 | 68 | 69 | 69
52402 | 2 |  | 68 | 67 | 65 | 62 | 59 | 56 | 54 | 52 | 51 | 50 | 45 | 42
52502 | 1 | 62 | 39 | 38 | 37 | 37 | 37 | 34 | 35 | 37 | 38 | 39 | 39 | 40
52502 | 2 |  | 40 | 40 | 39 | 39 | 39 | 39 | 38 | 38 | 38 | 38 | 35 | 34
52602 | 1 | 72 | 33 | 32 | 32 | 32 | 32 | 32 | 32 | 34 | 36 | 36 | 37 | 37
52602 | 2 |  | 37 | 37 | 37 | 38 | 37 | 37 | 36 | 35 | 35 | 35 | 35 | 34
52702 | 1 | 82 | 33 | 33 | 33 | 33 | 33 | 33 | 35 | 37 | 38 | 40 | 40 | 41
52702 | 2 |  | 42 | 42 | 42 | 42 | 42 | 41 | 41 | 40 | 40 | 39 | 37 | 38
52802 | 1 | 22 | 37 | 36 | 36 | 37 | 40 | 42 | 52 | 61 | 65 | 67 | 69 | 68
52802 | 2 |  | 68 | 70 | 68 | 66 | 62 | 57 | 54 | 52 | 50 | 49 | 46 | 43
52902 | 1 | 32 | 41 | 40 | 39 | 40 | 41 | 44 | 54 | 65 | 68 | 70 | 73 | 73
52902 | 2 |  | 74 | 74 | 72 | 69 | 65 | 60 | 58 | 56 | 54 | 51 | 48 | 45
53002 | 1 | 42 | 43 | 42 | 44 | 44 | 44 | 48 | 57 | 66 | 69 | 70 | 73 | 72
53002 | 2 |  | 73 | 75 | 74 | 71 | 68 | 63 | 63 | 62 | 60 | 59 | 57 | 54
53102 | 1 | 52 | 51 | 49 | 48 | 48 | 50 | 54 | 61 | 68 | 73 | 74 | 75 | 76
53102 | 2 |  | 74 | 74 | 71 | 67 | 62 | 57 | 54 | 53 | 51 | 52 | 48 | 44
60102 | 1 | 62 | 42 | 40 | 40 | 40 | 40 | 41 | 45 | 48 | 50 | 51 | 51 | 52
60102 | 2 |  | 51 | 51 | 50 | 50 | 49 | 49 | 48 | 48 | 48 | 46 | 44 | 42
60202 | 1 | 72 | 40 | 39 | 39 | 39 | 39 | 40 | 40 | 42 | 44 | 45 | 45 | 46
60202 | 2 |  | 46 | 46 | 46 | 45 | 44 | 43 | 42 | 41 | 42 | 41 | 41 | 40
60302 | 1 | 12 | 40 | 40 | 39 | 40 | 42 | 45 | 56 | 64 | 67 | 68 | 69 | 70
60302 | 2 |  | 69 | 69 | 69 | 66 | 62 | 58 | 55 | 53 | 52 | 51 | 48 | 48
60402 | 1 | 22 | 46 | 45 | 44 | 45 | 46 | 48 | 56 | 65 | 68 | 70 | 71 | 70
60402 | 2 |  | 69 | 70 | 68 | 64 | 61 | 56 | 53 | 51 | 50 | 48 | 45 | 44
60502 | 1 | 32 | 42 | 42 | 43 | 43 | 46 | 49 | 55 | 63 | 68 | 68 | 70 | 70
60502 | 2 |  | 69 | 68 | 67 | 64 | 61 | 55 | 54 | 53 | 53 | 51 | 49 | 45
60602 | 1 | 42 | 45 | 43 | 42 | 41 | 42 | 47 | 57 | 65 | 67 | 68 | 69 | 68
60602 | 2 |  | 67 | 68 | 66 | 62 | 58 | 55 | 54 | 52 | 53 | 51 | 47 | 44
60702 | 1 | 52 | 43 | 42 | 40 | 40 | 42 | 45 | 53 | 60 | 62 | 64 | 66 | 65
60702 | 2 |  | 64 | 64 | 62 | 59 | 57 | 56 | 53 | 51 | 51 | 50 | 46 | 43
60802 | 1 | 62 | 43 | 41 | 40 | 40 | 40 | 40 | 40 | 43 | 45 | 47 | 48 | 48
60802 | 2 |  | 48 | 47 | 46 | 46 | 46 | 45 | 44 | 43 | 44 | 43 | 41 | 42
60902 | 1 | 72 | 41 | 40 | 40 | 40 | 40 | 40 | 38 | 39 | 42 | 43 | 44 | 47
60902 | 2 |  | 48 | 48 | 49 | 45 | 46 | 47 | 46 | 45 | 44 | 44 | 43 | 43
61002 | 1 | 12 | 44 | 43 | 43 | 44 | 45 | 46 | 56 | 66 | 70 | 71 | 73 | 73
61002 | 2 |  | 73 | 74 | 72 | 69 | 66 | 61 | 59 | 57 | 56 | 54 | 51 | 49
61102 | 1 | 22 | 47 | 45 | 44 | 44 | 46 | 50 | 60 | 69 | 72 | 72 | 73 | 71
61102 | 2 |  | 72 | 73 | 68 | 65 | 61 | 57 | 56 | 54 | 53 | 52 | 50 | 48
61202 | 1 | 32 | 44 | 43 | 43 | 44 | 45 | 48 | 56 | 65 | 67 | 68 | 70 | 68
61202 | 2 |  | 68 | 69 | 65 | 61 | 56 | 52 | 51 | 50 | 50 | 48 | 45 | 43
61302 | 1 | 42 | 41 | 40 | 39 | 40 | 41 | 44 | 53 | 63 | 65 | 67 | 68 | 67
61302 | 2 |  | 67 | 70 | 68 | 65 | 60 | 56 | 54 | 52 | 50 | 50 | 47 | 45
61402 | 1 | 52 | 44 | 44 | 43 | 43 | 44 | 45 | 53 | 61 | 65 | 66 | 67 | 66
61402 | 2 |  | 63 | 64 | 61 | 55 | 52 | 50 | 48 | 46 | 46 | 44 | 41 | 38
61502 | 1 | 62 | 37 | 35 | 35 | 35 | 36 | 36 | 38 | 40 | 42 | 43 | 43 | 43
61502 | 2 |  | 42 | 41 | 41 | 40 | 39 | 39 | 39 | 40 | 40 | 39 | 37 | 35
61602 | 1 | 72 | 35 | 34 | 34 | 34 | 34 | 34 | 35 | 36 | 39 | 40 | 41 | 42
61602 | 2 |  | 42 | 42 | 43 | 42 | 42 | 42 | 41 | 42 | 41 | 41 | 41 | 41
61702 | 1 | 12 | 42 | 43 | 42 | 43 | 46 | 49 | 56 | 64 | 67 | 68 | 69 | 69
61702 | 2 |  | 69 | 69 | 67 | 64 | 61 | 58 | 55 | 53 | 54 | 53 | 53 | 50
61802 | 1 | 22 | 48 | 47 | 45 | 45 | 46 | 49 | 59 | 67 | 69 | 72 | 74 | 72
61802 | 2 |  | 72 | 73 | 71 | 68 | 64 | 61 | 60 | 58 | 56 | 55 | 51 | 48
61902 | 1 | 32 | 47 | 43 | 41 | 42 | 43 | 47 | 58 | 67 | 71 | 74 | 75 | 75
61902 | 2 |  | 75 | 76 | 73 | 70 | 66 | 61 | 60 | 58 | 56 | 55 | 51 | 48
62002 | 1 | 42 | 47 | 45 | 45 | 46 | 49 | 50 | 59 | 67 | 72 | 74 | 78 | 78
62002 | 2 |  | 78 | 77 | 75 | 73 | 69 | 65 | 62 | 60 | 58 | 56 | 53 | 48
62102 | 1 | 52 | 47 | 45 | 45 | 45 | 46 | 49 | 59 | 68 | 72 | 73 | 75 | 75
62102 | 2 |  | 74 | 75 | 73 | 70 | 67 | 62 | 59 | 57 | 57 | 55 | 51 | 46
62202 | 1 | 62 | 45 | 44 | 45 | 45 | 46 | 47 | 49 | 53 | 55 | 55 | 55 | 54
62202 | 2 |  | 53 | 52 | 50 | 50 | 49 | 48 | 48 | 47 | 48 | 48 | 45 | 44
62302 | 1 | 72 | 42 | 42 | 41 | 43 | 44 | 44 | 43 | 45 | 48 | 48 | 49 | 50
62302 | 2 |  | 51 | 50 | 50 | 48 | 46 | 44 | 43 | 42 | 43 | 42 | 42 | 41
62402 | 1 | 12 | 41 | 40 | 39 | 40 | 42 | 44 | 54 | 64 | 67 | 68 | 72 | 71
62402 | 2 |  | 70 | 72 | 68 | 66 | 63 | 58 | 57 | 53 | 51 | 50 | 47 | 44
62502 | 1 | 22 | 42 | 41 | 40 | 40 | 41 | 44 | 55 | 65 | 69 | 71 | 73 | 72
62502 | 2 |  | 71 | 72 | 69 | 65 | 62 | 57 | 55 | 54 | 53 | 54 | 51 | 49
62602 | 1 | 32 | 46 | 43 | 42 | 42 | 44 | 48 | 59 | 69 | 73 | 76 | 80 | 78
62602 | 2 |  | 79 | 81 | 78 | 75 | 71 | 67 | 64 | 61 | 60 | 57 | 54 | 52
62702 | 1 | 42 | 50 | 49 | 48 | 48 | 50 | 54 | 64 | 72 | 77 | 79 | 82 | 80
62702 | 2 |  | 80 | 81 | 79 | 76 | 72 | 69 | 66 | 63 | 59 | 57 | 53 | 51
62802 | 1 | 52 | 49 | 47 | 46 | 46 | 47 | 52 | 60 | 66 | 69 | 71 | 72 | 71
62802 | 2 |  | 71 | 71 | 68 | 65 | 62 | 59 | 57 | 53 | 50 | 47 | 44 | 41
62902 | 1 | 62 | 40 | 38 | 38 | 38 | 38 | 38 | 41 | 44 | 47 | 48 | 49 | 50
62902 | 2 |  | 50 | 49 | 48 | 48 | 47 | 46 | 46 | 45 | 44 | 43 | 40 | 38
63002 | 1 | 72 | 37 | 36 | 36 | 35 | 35 | 34 | 36 | 38 | 41 | 43 | 44 | 45
63002 | 2 |  | 46 | 46 | 46 | 45 | 45 | 44 | 43 | 42 | 41 | 41 | 40 | 39
70102 | 1 | 12 | 39 | 39 | 39 | 39 | 41 | 45 | 52 | 57 | 60 | 63 | 65 | 68
70102 | 2 |  | 70 | 72 | 71 | 70 | 67 | 63 | 61 | 59 | 58 | 56 | 52 | 50
70202 | 1 | 22 | 49 | 48 | 47 | 48 | 50 | 52 | 60 | 66 | 69 | 70 | 71 | 73
70202 | 2 |  | 74 | 76 | 74 | 71 | 69 | 66 | 64 | 62 | 59 | 58 | 54 | 51
70302 | 1 | 32 | 50 | 49 | 49 | 49 | 50 | 53 | 62 | 69 | 73 | 75 | 77 | 76
70302 | 2 |  | 76 | 75 | 73 | 70 | 68 | 66 | 64 | 60 | 59 | 56 | 52 | 49
70402 | 1 | 82 | 46 | 42 | 42 | 41 | 41 | 43 | 47 | 48 | 50 | 52 | 53 | 53
70402 | 2 |  | 54 | 55 | 54 | 54 | 53 | 52 | 50 | 49 | 48 | 47 | 45 | 43
70502 | 1 | 52 | 42 | 41 | 40 | 40 | 41 | 42 | 47 | 52 | 55 | 56 | 57 | 59
70502 | 2 |  | 59 | 59 | 59 | 57 | 55 | 54 | 52 | 49 | 48 | 47 | 44 | 42
70602 | 1 | 62 | 43 | 42 | 42 | 41 | 40 | 39 | 41 | 44 | 46 | 48 | 49 | 45
70602 | 2 |  | 45 | 44 | 44 | 43 | 42 | 42 | 42 | 42 | 43 | 44 | 42 | 40
70702 | 1 | 72 | 40 | 39 | 37 | 36 | 36 | 36 | 36 | 37 | 40 | 41 | 42 | 43
70702 | 2 |  | 44 | 45 | 44 | 45 | 44 | 44 | 43 | 41 | 40 | 40 | 39 | 39
70802 | 1 | 12 | 39 | 38 | 38 | 38 | 40 | 43 | 51 | 57 | 62 | 65 | 69 | 70
70802 | 2 |  | 68 | 72 | 70 | 68 | 64 | 61 | 59 | 56 | 55 | 53 | 49 | 47
70902 | 1 | 22 | 45 | 46 | 44 | 44 | 45 | 50 | 61 | 66 | 69 | 70 | 73 | 74
70902 | 2 |  | 75 | 76 | 75 | 73 | 69 | 65 | 64 | 61 | 59 | 58 | 55 | 53
71002 | 1 | 32 | 50 | 48 | 47 | 48 | 49 | 52 | 59 | 65 | 69 | 70 | 71 | 71
71002 | 2 |  | 70 | 70 | 69 | 67 | 62 | 58 | 56 | 53 | 52 | 51 | 48 | 45
71102 | 1 | 42 | 43 | 42 | 42 | 42 | 43 | 46 | 55 | 61 | 64 | 66 | 67 | 68
71102 | 2 |  | 66 | 67 | 66 | 64 | 61 | 57 | 56 | 54 | 52 | 50 | 44 | 42
71202 | 1 | 52 | 41 | 42 | 42 | 42 | 43 | 46 | 54 | 60 | 64 | 66 | 67 | 66
71202 | 2 |  | 68 | 67 | 66 | 64 | 61 | 59 | 57 | 54 | 53 | 51 | 47 | 44
71302 | 1 | 62 | 41 | 40 | 40 | 39 | 40 | 40 | 44 | 47 | 49 | 51 | 52 | 52
71302 | 2 |  | 53 | 53 | 53 | 52 | 52 | 51 | 50 | 49 | 48 | 48 | 45 | 42
71402 | 1 | 72 | 37 | 39 | 40 | 40 | 40 | 39 | 40 | 42 | 45 | 47 | 48 | 50
71402 | 2 |  | 50 | 51 | 51 | 51 | 51 | 50 | 49 | 47 | 47 | 46 | 45 | 44
71502 | 1 | 12 | 45 | 44 | 43 | 41 | 43 | 47 | 57 | 67 | 71 | 73 | 76 | 76
71502 | 2 |  | 74 | 73 | 73 | 72 | 68 | 62 | 60 | 58 | 56 | 55 | 52 | 49
71602 | 1 | 22 | 47 | 46 | 46 | 46 | 47 | 51 | 60 | 65 | 67 | 68 | 69 | 70
71602 | 2 |  | 70 | 70 | 69 | 67 | 63 | 59 | 57 | 53 | 52 | 51 | 47 | 44
71702 | 1 | 32 | 44 | 42 | 42 | 42 | 43 | 46 | 55 | 64 | 68 | 71 | 72 | 72
71702 | 2 |  | 72 | 72 | 71 | 70 | 64 | 59 | 60 | 58 | 57 | 56 | 52 | 49
71802 | 1 | 42 | 48 | 48 | 48 | 48 | 49 | 53 | 62 | 71 | 75 | 78 | 79 | 79
71802 | 2 |  | 79 | 82 | 80 | 77 | 72 | 67 | 65 | 62 | 59 | 58 | 55 | 51
71902 | 1 | 52 | 49 | 47 | 47 | 47 | 48 | 52 | 61 | 67 | 69 | 68 | 70 | 69
71902 | 2 |  | 68 | 65 | 61 | 61 | 56 | 52 | 51 | 49 | 49 | 48 | 44 | 41
72002 | 1 | 62 | 39 | 38 | 39 | 41 | 42 | 44 | 46 | 47 | 47 | 49 | 52 | 52
72002 | 2 |  | 51 | 50 | 50 | 50 | 50 | 49 | 48 | 47 | 47 | 47 | 43 | 42
72102 | 1 | 72 | 40 | 40 | 40 | 40 | 40 | 39 | 40 | 42 | 45 | 46 | 48 | 49
72102 | 2 |  | 50 | 49 | 47 | 47 | 46 | 47 | 44 | 42 | 42 | 44 | 44 | 44
72202 | 1 | 12 | 44 | 44 | 44 | 45 | 48 | 52 | 61 | 66 | 71 | 73 | 76 | 77
72202 | 2 |  | 77 | 78 | 77 | 71 | 69 | 66 | 64 | 61 | 59 | 58 | 55 | 51
72302 | 1 | 22 | 50 | 48 | 49 | 49 | 51 | 56 | 66 | 74 | 78 | 81 | 83 | 83
72302 | 2 |  | 83 | 83 | 77 | 72 | 68 | 64 | 63 | 60 | 59 | 57 | 53 | 50
72402 | 1 | 32 | 49 | 46 | 46 | 46 | 46 | 50 | 59 | 67 | 71 | 73 | 75 | 75
72402 | 2 |  | 75 | 75 | 74 | 70 | 66 | 63 | 61 | 57 | 56 | 55 | 52 | 48
72502 | 1 | 42 | 47 | 45 | 45 | 45 | 46 | 49 | 59 | 66 | 71 | 74 | 76 | 75
72502 | 2 |  | 74 | 76 | 73 | 70 | 66 | 61 | 58 | 54 | 54 | 52 | 49 | 46
72602 | 1 | 52 | 45 | 43 | 43 | 43 | 43 | 48 | 53 | 61 | 68 | 70 | 70 | 69
72602 | 2 |  | 67 | 67 | 63 | 61 | 56 | 54 | 52 | 50 | 49 | 48 | 44 | 41
72702 | 1 | 62 | 40 | 39 | 38 | 38 | 38 | 39 | 41 | 44 | 46 | 47 | 47 | 47
72702 | 2 |  | 46 | 45 | 44 | 44 | 43 | 43 | 42 | 42 | 42 | 41 | 40 | 38
72802 | 1 | 72 | 37 | 36 | 36 | 36 | 36 | 36 | 36 | 38 | 40 | 41 | 43 | 44
72802 | 2 |  | 44 | 44 | 44 | 44 | 44 | 43 | 43 | 42 | 42 | 42 | 42 | 44
72902 | 1 | 12 | 44 | 44 | 44 | 45 | 47 | 52 | 62 | 70 | 73 | 74 | 78 | 77
72902 | 2 |  | 79 | 81 | 78 | 74 | 70 | 66 | 65 | 62 | 60 | 58 | 54 | 52
73002 | 1 | 22 | 51 | 49 | 49 | 49 | 49 | 54 | 64 | 73 | 76 | 77 | 78 | 77
73002 | 2 |  | 78 | 80 | 79 | 77 | 73 | 69 | 68 | 64 | 62 | 60 | 56 | 53
73102 | 1 | 32 | 51 | 49 | 49 | 49 | 50 | 54 | 66 | 73 | 79 | 80 | 81 | 82
73102 | 2 |  | 81 | 82 | 81 | 78 | 74 | 69 | 67 | 65 | 62 | 61 | 57 | 53
80102 | 1 | 42 | 52 | 50 | 50 | 50 | 51 | 55 | 66 | 74 | 77 | 80 | 82 | 80
80102 | 2 |  | 80 | 81 | 79 | 74 | 69 | 63 | 64 | 60 | 59 | 57 | 54 | 49
80202 | 1 | 52 | 47 | 45 | 45 | 46 | 46 | 49 | 60 | 68 | 72 | 73 | 76 | 74
80202 | 2 |  | 73 | 71 | 68 | 66 | 63 | 60 | 58 | 56 | 56 | 54 | 50 | 47
80302 | 1 | 62 | 45 | 44 | 44 | 44 | 44 | 46 | 48 | 51 | 54 | 56 | 57 | 58
80302 | 2 |  | 57 | 57 | 56 | 56 | 55 | 55 | 53 | 53 | 52 | 50 | 47 | 45
80402 | 1 | 72 | 43 | 43 | 42 | 42 | 42 | 42 | 42 | 45 | 47 | 49 | 51 | 52
80402 | 2 |  | 53 | 53 | 54 | 53 | 53 | 52 | 50 | 49 | 49 | 49 | 48 | 47
80502 | 1 | 12 | 47 | 47 | 47 | 48 | 50 | 56 | 65 | 72 | 75 | 76 | 79 | 79
80502 | 2 |  | 79 | 80 | 78 | 74 | 71 | 66 | 63 | 59 | 58 | 56 | 53 | 50
80602 | 1 | 22 | 47 | 45 | 45 | 45 | 46 | 50 | 61 | 68 | 71 | 70 | 74 | 72
80602 | 2 |  | 72 | 73 | 71 | 68 | 64 | 60 | 58 | 55 | 54 | 53 | 50 | 47
80702 | 1 | 32 | 45 | 43 | 43 | 43 | 44 | 48 | 59 | 67 | 71 | 72 | 73 | 74
80702 | 2 |  | 74 | 75 | 73 | 70 | 65 | 60 | 59 | 56 | 58 | 57 | 54 | 51
80802 | 1 | 42 | 50 | 47 | 47 | 47 | 48 | 51 | 62 | 71 | 75 | 76 | 78 | 77
80802 | 2 |  | 75 | 77 | 76 | 73 | 69 | 65 | 63 | 60 | 57 | 54 | 51 | 48
80902 | 1 | 52 | 47 | 48 | 48 | 46 | 45 | 49 | 57 | 62 | 68 | 72 | 74 | 73
80902 | 2 |  | 72 | 72 | 71 | 67 | 63 | 61 | 58 | 55 | 54 | 52 | 48 | 45
81002 | 1 | 62 | 43 | 41 | 41 | 40 | 41 | 42 | 44 | 48 | 51 | 52 | 52 | 54
81002 | 2 |  | 54 | 53 | 52 | 52 | 51 | 50 | 49 | 48 | 48 | 47 | 44 | 42
81102 | 1 | 72 | 41 | 40 | 40 | 40 | 40 | 39 | 40 | 42 | 45 | 47 | 49 | 48
81102 | 2 |  | 49 | 49 | 50 | 50 | 49 | 48 | 47 | 45 | 45 | 44 | 42 | 42
81202 | 1 | 12 | 42 | 41 | 41 | 42 | 44 | 49 | 59 | 68 | 72 | 74 | 76 | 76
81202 | 2 |  | 76 | 79 | 77 | 74 | 70 | 65 | 63 | 59 | 58 | 56 | 52 | 48
81302 | 1 | 22 | 46 | 45 | 45 | 45 | 46 | 51 | 62 | 69 | 72 | 76 | 80 | 79
81302 | 2 |  | 79 | 80 | 79 | 76 | 72 | 66 | 64 | 62 | 61 | 58 | 54 | 52
81402 | 1 | 32 | 49 | 47 | 47 | 47 | 48 | 53 | 63 | 71 | 74 | 77 | 79 | 80
81402 | 2 |  | 80 | 80 | 79 | 77 | 72 | 67 | 65 | 62 | 60 | 58 | 54 | 51
81502 | 1 | 42 | 49 | 48 | 47 | 48 | 49 | 54 | 64 | 70 | 74 | 78 | 79 | 79
81502 | 2 |  | 78 | 78 | 77 | 75 | 71 | 68 | 64 | 61 | 60 | 57 | 53 | 51
81602 | 1 | 52 | 49 | 47 | 47 | 49 | 52 | 58 | 67 | 74 | 76 | 78 | 80 | 81
81602 | 2 |  | 80 | 80 | 77 | 74 | 70 | 67 | 64 | 61 | 60 | 58 | 54 | 52
81702 | 1 | 62 | 52 | 50 | 50 | 49 | 49 | 49 | 53 | 57 | 59 | 59 | 58 | 59
81702 | 2 |  | 59 | 61 | 61 | 61 | 59 | 56 | 54 | 54 | 54 | 52 | 49 | 46
81802 | 1 | 72 | 44 | 43 | 43 | 43 | 44 | 44 | 44 | 47 | 50 | 51 | 54 | 56
81802 | 2 |  | 57 | 57 | 57 | 57 | 57 | 56 | 56 | 54 | 54 | 53 | 51 | 50
81902 | 1 | 12 | 49 | 48 | 49 | 49 | 51 | 56 | 66 | 74 | 78 | 79 | 81 | 81
81902 | 2 |  | 81 | 81 | 79 | 77 | 71 | 67 | 66 | 62 | 60 | 57 | 55 | 53
82002 | 1 | 22 | 51 | 49 | 49 | 50 | 52 | 57 | 66 | 72 | 73 | 74 | 76 | 75
82002 | 2 |  | 76 | 77 | 73 | 71 | 66 | 63 | 61 | 57 | 56 | 54 | 50 | 47
82102 | 1 | 32 | 46 | 44 | 43 | 43 | 44 | 49 | 59 | 65 | 68 | 70 | 73 | 73
82102 | 2 |  | 72 | 74 | 71 | 70 | 65 | 61 | 59 | 55 | 55 | 53 | 49 | 46
82202 | 1 | 42 | 44 | 43 | 42 | 42 | 43 | 48 | 57 | 65 | 67 | 70 | 72 | 72
82202 | 2 |  | 74 | 74 | 73 | 67 | 63 | 59 | 58 | 56 | 55 | 53 | 50 | 47
82302 | 1 | 52 | 45 | 44 | 44 | 44 | 45 | 50 | 57 | 61 | 65 | 68 | 67 | 67
82302 | 2 |  | 65 | 65 | 64 | 62 | 59 | 55 | 53 | 51 | 49 | 47 | 44 | 41
82402 | 1 | 62 | 39 | 39 | 41 | 40 | 41 | 41 | 44 | 46 | 48 | 49 | 51 | 50
82402 | 2 |  | 50 | 49 | 48 | 47 | 44 | 44 | 45 | 47 | 47 | 46 | 43 | 42
82502 | 1 | 72 | 40 | 40 | 38 | 39 | 39 | 39 | 40 | 41 | 42 | 43 | 45 | 46
82502 | 2 |  | 48 | 49 | 49 | 49 | 49 | 48 | 48 | 47 | 46 | 45 | 44 | 44
82602 | 1 | 12 | 43 | 43 | 43 | 43 | 45 | 50 | 60 | 66 | 69 | 72 | 75 | 75
82602 | 2 |  | 74 | 76 | 74 | 72 | 68 | 64 | 63 | 60 | 59 | 56 | 54 | 50
82702 | 1 | 22 | 49 | 46 | 47 | 47 | 48 | 52 | 62 | 70 | 73 | 75 | 78 | 76
82702 | 2 |  | 76 | 78 | 76 | 73 | 69 | 65 | 63 | 60 | 59 | 56 | 53 | 50
82802 | 1 | 32 | 48 | 46 | 46 | 46 | 46 | 51 | 61 | 68 | 72 | 74 | 77 | 76
82802 | 2 |  | 74 | 76 | 74 | 71 | 67 | 61 | 60 | 58 | 58 | 55 | 52 | 49
82902 | 1 | 42 | 47 | 45 | 45 | 45 | 46 | 50 | 57 | 64 | 68 | 72 | 71 | 72
82902 | 2 |  | 73 | 74 | 72 | 68 | 64 | 61 | 60 | 57 | 55 | 54 | 51 | 49
83002 | 1 | 52 | 46 | 45 | 44 | 44 | 45 | 49 | 57 | 63 | 67 | 68 | 70 | 70
83002 | 2 |  | 70 | 69 | 67 | 64 | 62 | 59 | 58 | 56 | 55 | 52 | 46 | 42
83102 | 1 | 62 | 40 | 38 | 38 | 37 | 38 | 39 | 40 | 41 | 43 | 44 | 44 | 45
83102 | 2 |  | 44 | 44 | 43 | 43 | 41 | 40 | 39 | 39 | 39 | 37 | 35 | 33
90102 | 1 | 72 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 33 | 35 | 36 | 38 | 39
90102 | 2 |  | 39 | 40 | 40 | 40 | 39 | 39 | 37 | 38 | 37 | 36 | 35 | 34
90202 | 1 | 82 | 34 | 33 | 33 | 33 | 34 | 36 | 37 | 38 | 39 | 40 | 41 | 42
90202 | 2 |  | 42 | 42 | 42 | 41 | 41 | 41 | 41 | 42 | 42 | 41 | 39 | 39
90302 | 1 | 22 | 39 | 38 | 38 | 39 | 40 | 45 | 55 | 62 | 66 | 70 | 72 | 72
90302 | 2 |  | 72 | 73 | 71 | 68 | 63 | 60 | 59 | 58 | 57 | 54 | 52 | 50
90402 | 1 | 32 | 48 | 46 | 46 | 46 | 48 | 53 | 64 | 71 | 73 | 72 | 72 | 72
90402 | 2 |  | 71 | 73 | 71 | 67 | 63 | 60 | 59 | 57 | 56 | 54 | 52 | 50
90502 | 1 | 42 | 48 | 46 | 46 | 46 | 47 | 51 | 63 | 70 | 75 | 75 | 76 | 76
90502 | 2 |  | 75 | 76 | 75 | 74 | 70 | 66 | 64 | 62 | 60 | 58 | 55 | 50
90602 | 1 | 52 | 49 | 47 | 47 | 47 | 48 | 52 | 61 | 67 | 70 | 73 | 75 | 75
90602 | 2 |  | 75 | 75 | 74 | 69 | 62 | 59 | 55 | 53 | 51 | 48 | 45 | 42
90702 | 1 | 62 | 40 | 37 | 37 | 36 | 36 | 38 | 40 | 43 | 46 | 48 | 49 | 50
90702 | 2 |  | 50 | 49 | 49 | 47 | 47 | 46 | 45 | 46 | 45 | 43 | 41 | 38
90802 | 1 | 72 | 37 | 36 | 36 | 35 | 35 | 36 | 36 | 37 | 40 | 42 | 44 | 46
90802 | 2 |  | 47 | 49 | 49 | 49 | 48 | 48 | 47 | 48 | 48 | 48 | 47 | 46
90902 | 1 | 12 | 46 | 45 | 45 | 45 | 48 | 54 | 64 | 72 | 76 | 80 | 84 | 81
90902 | 2 |  | 81 | 85 | 84 | 78 | 74 | 70 | 67 | 64 | 61 | 58 | 55 | 52
91002 | 1 | 22 | 50 | 49 | 48 | 48 | 49 | 54 | 64 | 72 | 75 | 78 | 81 | 81
91002 | 2 |  | 81 | 82 | 81 | 77 | 72 | 68 | 66 | 63 | 61 | 59 | 57 | 54
91102 | 1 | 32 | 53 | 51 | 51 | 49 | 50 | 55 | 65 | 72 | 75 | 78 | 80 | 81
91102 | 2 |  | 79 | 78 | 75 | 70 | 64 | 59 | 57 | 55 | 54 | 52 | 49 | 47
91202 | 1 | 42 | 46 | 44 | 44 | 44 | 47 | 50 | 59 | 67 | 70 | 70 | 72 | 73
91202 | 2 |  | 72 | 73 | 72 | 68 | 64 | 60 | 58 | 56 | 55 | 53 | 50 | 47
91302 | 1 | 52 | 46 | 45 | 44 | 44 | 44 | 48 | 57 | 63 | 66 | 68 | 70 | 71
91302 | 2 |  | 70 | 71 | 69 | 66 | 62 | 59 | 57 | 56 | 53 | 51 | 47 | 44
91402 | 1 | 62 | 42 | 41 | 40 | 40 | 40 | 41 | 44 | 45 | 48 | 49 | 50 | 50
91402 | 2 |  | 50 | 50 | 50 | 49 | 48 | 47 | 48 | 48 | 47 | 45 | 42 | 41
91502 | 1 | 72 | 40 | 39 | 39 | 39 | 39 | 39 | 42 | 43 | 45 | 46 | 47 | 49
91502 | 2 |  | 49 | 49 | 46 | 48 | 48 | 48 | 45 | 46 | 46 | 45 | 45 | 44
91602 | 1 | 12 | 44 | 43 | 43 | 43 | 43 | 45 | 55 | 61 | 63 | 64 | 65 | 65
91602 | 2 |  | 64 | 65 | 64 | 61 | 57 | 54 | 54 | 53 | 52 | 50 | 47 | 45
91702 | 1 | 22 | 43 | 41 | 41 | 42 | 43 | 46 | 57 | 65 | 68 | 69 | 72 | 72
91702 | 2 |  | 71 | 70 | 69 | 65 | 61 | 57 | 56 | 54 | 52 | 50 | 47 | 45
91802 | 1 | 32 | 43 | 41 | 41 | 41 | 41 | 45 | 55 | 63 | 66 | 68 | 70 | 69
91802 | 2 |  | 69 | 69 | 68 | 64 | 60 | 55 | 54 | 52 | 51 | 48 | 45 | 43
91902 | 1 | 42 | 42 | 40 | 40 | 40 | 41 | 45 | 55 | 62 | 65 | 67 | 70 | 70
91902 | 2 |  | 71 | 72 | 72 | 67 | 62 | 58 | 58 | 55 | 53 | 51 | 48 | 46
92002 | 1 | 52 | 45 | 42 | 42 | 41 | 41 | 45 | 55 | 63 | 67 | 69 | 72 | 72
92002 | 2 |  | 72 | 73 | 70 | 65 | 61 | 59 | 58 | 57 | 55 | 54 | 50 | 46
92102 | 1 | 62 | 45 | 43 | 42 | 42 | 42 | 44 | 48 | 49 | 51 | 52 | 53 | 53
92102 | 2 |  | 54 | 54 | 53 | 52 | 51 | 50 | 49 | 50 | 49 | 47 | 45 | 43
92202 | 1 | 72 | 42 | 41 | 40 | 40 | 40 | 41 | 42 | 43 | 44 | 46 | 47 | 48
92202 | 2 |  | 49 | 50 | 50 | 50 | 51 | 50 | 50 | 50 | 49 | 48 | 48 | 47
92302 | 1 | 12 | 47 | 46 | 46 | 46 | 49 | 53 | 64 | 71 | 75 | 77 | 78 | 77
92302 | 2 |  | 77 | 76 | 74 | 71 | 66 | 62 | 62 | 60 | 59 | 57 | 53 | 49
92402 | 1 | 22 | 45 | 44 | 42 | 42 | 44 | 48 | 58 | 64 | 67 | 67 | 69 | 69
92402 | 2 |  | 69 | 70 | 68 | 66 | 62 | 59 | 58 | 56 | 54 | 52 | 49 | 47
92502 | 1 | 32 | 45 | 43 | 43 | 43 | 45 | 49 | 58 | 64 | 67 | 70 | 72 | 72
92502 | 2 |  | 72 | 72 | 70 | 67 | 62 | 58 | 57 | 55 | 53 | 52 | 50 | 48
92602 | 1 | 42 | 44 | 41 | 41 | 43 | 44 | 47 | 58 | 65 | 66 | 69 | 71 | 70
92602 | 2 |  | 70 | 70 | 67 | 64 | 60 | 56 | 56 | 54 | 54 | 52 | 49 | 47
92702 | 1 | 52 | 45 | 43 | 43 | 43 | 44 | 48 | 57 | 63 | 65 | 66 | 65 | 64
92702 | 2 |  | 63 | 62 | 60 | 58 | 55 | 53 | 53 | 51 | 51 | 49 | 46 | 44
92802 | 1 | 62 | 42 | 40 | 40 | 37 | 39 | 41 | 44 | 46 | 48 | 49 | 50 | 50
92802 | 2 |  | 50 | 49 | 49 | 48 | 48 | 46 | 45 | 45 | 44 | 43 | 41 | 39
92902 | 1 | 72 | 38 | 37 | 37 | 39 | 38 | 38 | 39 | 39 | 41 | 41 | 42 | 43
92902 | 2 |  | 42 | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 42 | 41 | 41 | 41
93002 | 1 | 12 | 41 | 40 | 40 | 38 | 39 | 43 | 53 | 60 | 62 | 64 | 66 | 66
93002 | 2 |  | 65 | 66 | 64 | 63 | 61 | 56 | 56 | 52 | 52 | 53 | 50 | 48
100102 | 1 | 22 | 48 | 45 | 45 | 44 | 46 | 50 | 61 | 68 | 71 | 74 | 76 | 76
100102 | 2 |  | 76 | 76 | 72 | 70 | 68 | 63 | 60 | 59 | 63 | 62 | 57 | 53
100202 | 1 | 32 | 51 | 49 | 49 | 49 | 50 | 56 | 67 | 73 | 77 | 80 | 82 | 81
100202 | 2 |  | 79 | 81 | 79 | 76 | 71 | 67 | 67 | 64 | 61 | 58 | 55 | 52
100302 | 1 | 42 | 51 | 49 | 49 | 49 | 50 | 53 | 64 | 70 | 71 | 72 | 74 | 72
100302 | 2 |  | 68 | 69 | 66 | 63 | 59 | 56 | 55 | 54 | 52 | 52 | 51 | 49
100402 | 1 | 52 | 46 | 45 | 44 | 44 | 45 | 49 | 60 | 65 | 69 | 69 | 70 | 68
100402 | 2 |  | 68 | 67 | 63 | 59 | 57 | 55 | 54 | 52 | 50 | 49 | 46 | 45
100502 | 1 | 62 | 44 | 43 | 41 | 39 | 39 | 40 | 44 | 47 | 47 | 49 | 50 | 50
100502 | 2 |  | 49 | 49 | 48 | 48 | 47 | 46 | 46 | 46 | 45 | 43 | 41 | 39
100602 | 1 | 72 | 37 | 37 | 37 | 36 | 37 | 38 | 38 | 39 | 41 | 41 | 42 | 42
100602 | 2 |  | 43 | 42 | 43 | 43 | 43 | 42 | 43 | 43 | 42 | 42 | 41 | 41
100702 | 1 | 12 | 41 | 40 | 40 | 41 | 43 | 47 | 57 | 66 | 69 | 71 | 70 | 69
100702 | 2 |  | 68 | 70 | 72 | 64 | 59 | 54 | 54 | 53 | 51 | 49 | 46 | 44
100802 | 1 | 22 | 42 | 40 | 40 | 40 | 41 | 45 | 56 | 63 | 66 | 66 | 67 | 67
100802 | 2 |  | 67 | 71 | 69 | 65 | 61 | 57 | 57 | 55 | 55 | 53 | 50 | 49
100902 | 1 | 32 | 47 | 45 | 45 | 45 | 46 | 50 | 62 | 69 | 71 | 72 | 73 | 72
100902 | 2 |  | 70 | 71 | 68 | 65 | 60 | 56 | 57 | 53 | 51 | 53 | 51 | 47
101002 | 1 | 42 | 47 | 45 | 45 | 45 | 45 | 50 | 61 | 69 | 69 | 69 | 70 | 69
101002 | 2 |  | 68 | 70 | 67 | 63 | 59 | 54 | 54 | 52 | 51 | 50 | 48 | 45
101102 | 1 | 52 | 43 | 41 | 41 | 42 | 46 | 50 | 59 | 67 | 68 | 70 | 71 | 69
101102 | 2 |  | 68 | 69 | 66 | 62 | 58 | 52 | 52 | 53 | 52 | 50 | 47 | 45
101202 | 1 | 62 | 43 | 41 | 41 | 40 | 42 | 44 | 47 | 48 | 48 | 49 | 50 | 49
101202 | 2 |  | 48 | 47 | 46 | 45 | 45 | 43 | 44 | 43 | 43 | 42 | 40 | 38
101302 | 1 | 72 | 37 | 37 | 37 | 36 | 37 | 37 | 38 | 39 | 40 | 41 | 41 | 42
101302 | 2 |  | 42 | 42 | 42 | 42 | 43 | 43 | 44 | 43 | 42 | 42 | 41 | 42
101402 | 1 | 82 | 42 | 41 | 41 | 41 | 42 | 46 | 55 | 60 | 62 | 62 | 61 | 62
101402 | 2 |  | 62 | 63 | 62 | 60 | 55 | 52 | 53 | 51 | 50 | 49 | 47 | 45
101502 | 1 | 22 | 44 | 43 | 43 | 43 | 44 | 48 | 58 | 66 | 67 | 68 | 71 | 69
101502 | 2 |  | 68 | 69 | 66 | 61 | 58 | 56 | 57 | 55 | 54 | 53 | 49 | 47
101602 | 1 | 32 | 47 | 45 | 45 | 45 | 46 | 50 | 59 | 67 | 69 | 69 | 70 | 69
101602 | 2 |  | 68 | 68 | 65 | 62 | 59 | 57 | 57 | 56 | 55 | 53 | 51 | 48
101702 | 1 | 42 | 47 | 45 | 45 | 45 | 46 | 49 | 59 | 66 | 66 | 68 | 70 | 70
101702 | 2 |  | 70 | 71 | 70 | 65 | 61 | 56 | 57 | 55 | 54 | 53 | 50 | 48
101802 | 1 | 52 | 46 | 44 | 44 | 43 | 45 | 49 | 60 | 65 | 67 | 67 | 68 | 66
101802 | 2 |  | 65 | 65 | 62 | 58 | 54 | 52 | 52 | 50 | 49 | 48 | 45 | 43
101902 | 1 | 62 | 42 | 40 | 40 | 40 | 41 | 43 | 45 | 47 | 47 | 47 | 48 | 47
101902 | 2 |  | 47 | 46 | 45 | 45 | 44 | 45 | 45 | 45 | 44 | 43 | 42 | 40
102002 | 1 | 72 | 39 | 36 | 35 | 35 | 35 | 36 | 37 | 37 | 38 | 39 | 39 | 40
102002 | 2 |  | 40 | 40 | 40 | 40 | 39 | 39 | 41 | 40 | 39 | 39 | 39 | 39
102102 | 1 | 12 | 39 | 39 | 39 | 39 | 41 | 46 | 56 | 62 | 66 | 66 | 67 | 66
102102 | 2 |  | 65 | 67 | 63 | 59 | 55 | 52 | 52 | 51 | 50 | 49 | 47 | 45
102202 | 1 | 22 | 43 | 41 | 41 | 40 | 42 | 46 | 56 | 64 | 66 | 66 | 67 | 66
102202 | 2 |  | 65 | 65 | 62 | 60 | 56 | 53 | 54 | 53 | 51 | 50 | 48 | 46
102302 | 1 | 32 | 44 | 43 | 43 | 42 | 43 | 48 | 60 | 67 | 69 | 69 | 69 | 68
102302 | 2 |  | 66 | 67 | 65 | 61 | 56 | 54 | 55 | 53 | 52 | 51 | 49 | 46
102402 | 1 | 42 | 44 | 42 | 42 | 42 | 44 | 48 | 59 | 65 | 68 | 69 | 69 | 67
102402 | 2 |  | 67 | 68 | 64 | 61 | 58 | 55 | 54 | 53 | 52 | 50 | 47 | 45
102502 | 1 | 52 | 43 | 42 | 42 | 42 | 42 | 47 | 57 | 61 | 64 | 64 | 64 | 63
102502 | 2 |  | 62 | 62 | 60 | 56 | 52 | 50 | 50 | 49 | 48 | 47 | 45 | 44
102602 | 1 | 62 | 42 | 40 | 40 | 40 | 40 | 41 | 44 | 45 | 46 | 46 | 47 | 47
102602 | 2 |  | 46 | 45 | 45 | 45 | 46 | 46 | 46 | 45 | 45 | 44 | 42 | 41
102702 | 1 | 71 | 40 | 40 | 40 | 40 | 40 | 41 | 41 | 41 | 42 | 43 | 47 | 46
102702 | 2 |  | 45 | 44 | 44 | 44 | 44 | 45 | 45 | 44 | 43 | 43 | 42 | 43
102802 | 1 | 11 | 42 | 42 | 42 | 43 | 45 | 50 | 59 | 66 | 68 | 69 | 72 | 70
102802 | 2 |  | 69 | 69 | 67 | 64 | 60 | 58 | 57 | 57 | 57 | 55 | 54 | 53
102902 | 1 | 21 | 54 | 54 | 56 | 56 | 59 | 64 | 68 | 70 | 71 | 72 | 73 | 72
102902 | 2 |  | 71 | 73 | 69 | 67 | 63 | 60 | 58 | 56 | 57 | 60 | 59 | 58
103002 | 1 | 31 | 60 | 60 | 58 | 56 | 57 | 63 | 68 | 67 | 68 | 69 | 72 | 72
103002 | 2 |  | 71 | 72 | 70 | 67 | 63 | 60 | 60 | 59 | 60 | 63 | 64 | 63
103102 | 1 | 41 | 62 | 61 | 61 | 61 | 63 | 67 | 71 | 72 | 73 | 72 | 72 | 72
103102 | 2 |  | 70 | 71 | 68 | 64 | 62 | 60 | 58 | 57 | 58 | 56 | 54 | 52
110102 | 1 | 51 | 51 | 50 | 50 | 50 | 51 | 55 | 63 | 67 | 70 | 71 | 71 | 67
110102 | 2 |  | 67 | 66 | 65 | 62 | 61 | 59 | 57 | 55 | 56 | 55 | 58 | 59
110202 | 1 | 61 | 59 | 57 | 57 | 58 | 60 | 62 | 64 | 65 | 67 | 67 | 67 | 65
110202 | 2 |  | 47 | 62 | 62 | 63 | 67 | 66 | 65 | 65 | 64 | 62 | 61 | 60
110302 | 1 | 71 | 58 | 58 | 57 | 58 | 58 | 58 | 58 | 59 | 57 | 56 | 56 | 55
110302 | 2 |  | 54 | 55 | 55 | 55 | 57 | 60 | 61 | 62 | 61 | 62 | 61 | 60
110402 | 1 | 11 | 59 | 60 | 59 | 60 | 62 | 66 | 76 | 82 | 82 | 83 | 85 | 83
110402 | 2 |  | 83 | 84 | 78 | 66 | 64 | 60 | 59 | 57 | 55 | 53 | 51 | 49
110502 | 1 | 21 | 47 | 46 | 44 | 43 | 44 | 49 | 57 | 65 | 69 | 66 | 66 | 66
110502 | 2 |  | 67 | 66 | 64 | 60 | 58 | 57 | 58 | 57 | 56 | 53 | 52 | 48
110602 | 1 | 31 | 45 | 44 | 44 | 47 | 48 | 52 | 60 | 66 | 68 | 68 | 69 | 68
110602 | 2 |  | 68 | 68 | 65 | 62 | 59 | 56 | 56 | 55 | 56 | 54 | 52 | 49
110702 | 1 | 41 | 48 | 46 | 46 | 48 | 48 | 53 | 62 | 68 | 72 | 76 | 81 | 82
110702 | 2 |  | 83 | 87 | 84 | 82 | 79 | 78 | 78 | 77 | 76 | 74 | 72 | 71
110802 | 1 | 51 | 70 | 69 | 68 | 68 | 69 | 73 | 82 | 85 | 86 | 87 | 82 | 71
110802 | 2 |  | 66 | 65 | 62 | 58 | 56 | 54 | 54 | 50 | 49 | 47 | 47 | 45
110902 | 1 | 61 | 46 | 45 | 44 | 44 | 45 | 47 | 49 | 50 | 49 | 49 | 51 | 50
110902 | 2 |  | 50 | 49 | 48 | 47 | 49 | 49 | 48 | 48 | 47 | 45 | 43 | 42
111002 | 1 | 71 | 42 | 41 | 41 | 40 | 41 | 41 | 43 | 43 | 42 | 43 | 43 | 45
111002 | 2 |  | 46 | 46 | 46 | 46 | 47 | 47 | 46 | 43 | 41 | 41 | 40 | 40
111102 | 1 | 81 | 39 | 39 | 39 | 40 | 41 | 45 | 55 | 60 | 62 | 63 | 64 | 63
111102 | 2 |  | 64 | 66 | 64 | 60 | 57 | 54 | 52 | 50 | 49 | 48 | 46 | 43
111202 | 1 | 21 | 41 | 40 | 42 | 41 | 43 | 48 | 57 | 65 | 69 | 69 | 71 | 70
111202 | 2 |  | 69 | 70 | 67 | 64 | 61 | 58 | 58 | 57 | 55 | 54 | 51 | 50
111302 | 1 | 31 | 49 | 48 | 47 | 47 | 48 | 52 | 61 | 67 | 69 | 70 | 72 | 73
111302 | 2 |  | 70 | 71 | 68 | 64 | 61 | 58 | 59 | 57 | 56 | 54 | 52 | 50
111402 | 1 | 41 | 48 | 45 | 45 | 45 | 46 | 50 | 60 | 68 | 71 | 71 | 72 | 72
111402 | 2 |  | 72 | 72 | 68 | 64 | 60 | 57 | 58 | 56 | 55 | 53 | 47 | 46
111502 | 1 | 51 | 46 | 45 | 44 | 44 | 45 | 48 | 57 | 64 | 66 | 69 | 69 | 69
111502 | 2 |  | 67 | 67 | 64 | 60 | 58 | 56 | 54 | 52 | 53 | 52 | 51 | 51
111602 | 1 | 61 | 55 | 56 | 58 | 60 | 60 | 62 | 65 | 65 | 65 | 66 | 66 | 66
111602 | 2 |  | 66 | 66 | 65 | 65 | 67 | 67 | 67 | 65 | 63 | 53 | 45 | 44
111702 | 1 | 71 | 44 | 43 | 42 | 42 | 43 | 43 | 45 | 46 | 47 | 48 | 48 | 48
111702 | 2 |  | 48 | 48 | 48 | 48 | 49 | 49 | 48 | 47 | 47 | 46 | 46 | 46
111802 | 1 | 11 | 46 | 45 | 45 | 45 | 48 | 52 | 60 | 66 | 71 | 72 | 75 | 73
111802 | 2 |  | 73 | 80 | 82 | 82 | 79 | 75 | 74 | 74 | 72 | 71 | 69 | 68
111902 | 1 | 21 | 67 | 66 | 66 | 66 | 68 | 72 | 81 | 86 | 89 | 89 | 86 | 76
111902 | 2 |  | 75 | 79 | 76 | 77 | 74 | 73 | 72 | 71 | 70 | 68 | 66 | 63
112002 | 1 | 31 | 61 | 60 | 59 | 56 | 51 | 55 | 64 | 70 | 71 | 72 | 72 | 72
112002 | 2 |  | 72 | 70 | 68 | 66 | 62 | 60 | 59 | 58 | 57 | 54 | 52 | 49
112102 | 1 | 41 | 48 | 47 | 46 | 46 | 48 | 52 | 58 | 66 | 70 | 71 | 70 | 67
112102 | 2 |  | 66 | 67 | 65 | 61 | 58 | 54 | 55 | 55 | 54 | 54 | 51 | 49
112202 | 1 | 51 | 48 | 47 | 47 | 46 | 47 | 51 | 60 | 66 | 68 | 69 | 70 | 68
112202 | 2 |  | 67 | 67 | 64 | 62 | 59 | 56 | 54 | 53 | 52 | 50 | 47 | 45
112302 | 1 | 61 | 44 | 42 | 42 | 41 | 42 | 43 | 46 | 47 | 48 | 48 | 49 | 48
112302 | 2 |  | 50 | 51 | 52 | 56 | 59 | 64 | 64 | 64 | 64 | 63 | 63 | 63
112402 | 1 | 71 | 63 | 62 | 62 | 61 | 61 | 61 | 63 | 60 | 61 | 54 | 55 | 54
112402 | 2 |  | 54 | 57 | 53 | 54 | 55 | 55 | 56 | 56 | 54 | 55 | 54 | 53
112502 | 1 | 11 | 52 | 52 | 52 | 52 | 53 | 58 | 66 | 72 | 75 | 75 | 75 | 75
112502 | 2 |  | 75 | 76 | 74 | 72 | 73 | 76 | 77 | 76 | 74 | 73 | 70 | 68
112602 | 1 | 21 | 66 | 65 | 65 | 65 | 65 | 69 | 72 | 75 | 77 | 78 | 81 | 82
112602 | 2 |  | 81 | 83 | 81 | 80 | 79 | 75 | 76 | 75 | 74 | 72 | 70 | 68
112702 | 1 | 31 | 67 | 66 | 65 | 65 | 66 | 71 | 77 | 82 | 84 | 84 | 85 | 85
112702 | 2 |  | 83 | 84 | 82 | 77 | 75 | 72 | 71 | 71 | 70 | 69 | 67 | 65
112802 | 1 | 81 | 63 | 62 | 62 | 62 | 61 | 62 | 63 | 62 | 61 | 60 | 61 | 60
112802 | 2 |  | 59 | 59 | 59 | 59 | 60 | 61 | 60 | 60 | 60 | 60 | 59 | 59
112902 | 1 | 51 | 59 | 58 | 59 | 60 | 61 | 64 | 66 | 65 | 63 | 66 | 69 | 68
112902 | 2 |  | 68 | 68 | 68 | 69 | 70 | 69 | 69 | 68 | 66 | 65 | 63 | 62
113002 | 1 | 61 | 60 | 59 | 58 | 55 | 48 | 47 | 47 | 44 | 43 | 43 | 43 | 43
113002 | 2 |  | 43 | 42 | 42 | 42 | 42 | 43 | 43 | 43 | 42 | 41 | 40 | 38
120102 | 1 | 71 | 38 | 38 | 38 | 38 | 38 | 39 | 41 | 42 | 46 | 53 | 58 | 58
120102 | 2 |  | 60 | 61 | 61 | 61 | 63 | 64 | 66 | 66 | 67 | 69 | 69 | 68
120202 | 1 | 11 | 68 | 67 | 68 | 67 | 67 | 72 | 84 | 91 | 92 | 93 | 98 | 97
120202 | 2 |  | 97 | 97 | 94 | 90 | 86 | 84 | 83 | 82 | 81 | 79 | 77 | 75
120302 | 1 | 21 | 74 | 73 | 73 | 73 | 74 | 78 | 86 | 92 | 95 | 94 | 95 | 94
120302 | 2 |  | 93 | 93 | 92 | 91 | 87 | 86 | 86 | 85 | 83 | 82 | 80 | 78
120402 | 1 | 31 | 76 | 75 | 75 | 75 | 76 | 80 | 86 | 87 | 89 | 90 | 93 | 92
120402 | 2 |  | 93 | 93 | 91 | 89 | 86 | 84 | 84 | 84 | 82 | 81 | 79 | 77
120502 | 1 | 41 | 75 | 74 | 74 | 73 | 74 | 78 | 87 | 93 | 95 | 96 | 97 | 97
120502 | 2 |  | 97 | 98 | 96 | 93 | 90 | 88 | 87 | 86 | 85 | 83 | 81 | 79
120602 | 1 | 51 | 78 | 76 | 76 | 76 | 78 | 81 | 89 | 93 | 93 | 80 | 95 | 94
120602 | 2 |  | 93 | 92 | 89 | 86 | 83 | 82 | 80 | 79 | 79 | 77 | 75 | 73
120702 | 1 | 61 | 74 | 71 | 71 | 71 | 73 | 76 | 78 | 73 | 71 | 71 | 69 | 63
120702 | 2 |  | 55 | 53 | 54 | 55 | 56 | 54 | 55 | 54 | 55 | 54 | 53 | 53
120802 | 1 | 71 | 51 | 50 | 50 | 50 | 50 | 52 | 54 | 56 | 57 | 58 | 58 | 58
120802 | 2 |  | 58 | 60 | 58 | 58 | 61 | 64 | 66 | 67 | 67 | 68 | 68 | 69
120902 | 1 | 11 | 69 | 68 | 68 | 69 | 72 | 76 | 85 | 89 | 92 | 92 | 94 | 92
120902 | 2 |  | 92 | 90 | 90 | 87 | 85 | 84 | 85 | 85 | 81 | 80 | 77 | 76
121002 | 1 | 21 | 74 | 72 | 72 | 72 | 74 | 78 | 86 | 91 | 92 | 91 | 81 | 78
121002 | 2 |  | 76 | 77 | 73 | 85 | 83 | 80 | 79 | 79 | 79 | 76 | 72 | 69
121102 | 1 | 31 | 68 | 66 | 66 | 67 | 70 | 75 | 84 | 88 | 92 | 92 | 90 | 87
121102 | 2 |  | 84 | 85 | 82 | 79 | 76 | 73 | 73 | 71 | 70 | 66 | 63 | 60
121202 | 1 | 41 | 59 | 59 | 58 | 58 | 55 | 56 | 63 | 68 | 69 | 72 | 74 | 70
121202 | 2 |  | 67 | 69 | 66 | 64 | 61 | 59 | 60 | 59 | 57 | 56 | 53 | 52
121302 | 1 | 51 | 50 | 49 | 48 | 48 | 49 | 53 | 60 | 65 | 66 | 68 | 69 | 67
121302 | 2 |  | 65 | 66 | 63 | 61 | 58 | 56 | 54 | 53 | 53 | 51 | 47 | 45
121402 | 1 | 61 | 44 | 42 | 41 | 41 | 42 | 44 | 46 | 46 | 46 | 47 | 47 | 49
121402 | 2 |  | 49 | 47 | 48 | 48 | 48 | 48 | 48 | 47 | 47 | 46 | 44 | 43
121502 | 1 | 71 | 42 | 41 | 42 | 41 | 42 | 43 | 45 | 45 | 47 | 50 | 51 | 52
121502 | 2 |  | 53 | 57 | 58 | 59 | 62 | 62 | 62 | 64 | 63 | 64 | 63 | 63
121602 | 1 | 11 | 63 | 63 | 64 | 65 | 67 | 71 | 77 | 81 | 84 | 86 | 91 | 91
121602 | 2 |  | 89 | 89 | 86 | 86 | 83 | 81 | 81 | 81 | 80 | 79 | 77 | 75
121702 | 1 | 21 | 74 | 73 | 73 | 73 | 73 | 76 | 84 | 88 | 88 | 89 | 90 | 90
121702 | 2 |  | 89 | 89 | 87 | 84 | 81 | 80 | 79 | 79 | 78 | 77 | 75 | 73
121802 | 1 | 31 | 74 | 73 | 72 | 71 | 73 | 78 | 83 | 81 | 84 | 88 | 86 | 83
121802 | 2 |  | 81 | 81 | 79 | 77 | 74 | 73 | 73 | 72 | 72 | 71 | 70 | 67
121902 | 1 | 41 | 67 | 65 | 65 | 65 | 66 | 70 | 75 | 72 | 74 | 74 | 71 | 68
121902 | 2 |  | 67 | 67 | 65 | 62 | 59 | 57 | 57 | 55 | 54 | 52 | 51 | 50
122002 | 1 | 51 | 50 | 48 | 47 | 47 | 48 | 52 | 59 | 65 | 67 | 68 | 68 | 66
122002 | 2 |  | 65 | 65 | 62 | 61 | 58 | 55 | 54 | 53 | 52 | 50 | 49 | 47
122102 | 1 | 61 | 44 | 43 | 43 | 43 | 43 | 46 | 50 | 52 | 54 | 59 | 60 | 62
122102 | 2 |  | 65 | 66 | 65 | 64 | 65 | 66 | 66 | 66 | 66 | 64 | 62 | 61
122202 | 1 | 71 | 61 | 60 | 60 | 60 | 60 | 61 | 63 | 57 | 56 | 57 | 57 | 56
122202 | 2 |  | 58 | 58 | 57 | 59 | 65 | 64 | 63 | 62 | 58 | 56 | 54 | 54
122302 | 1 | 11 | 59 | 59 | 60 | 61 | 64 | 67 | 72 | 76 | 79 | 79 | 81 | 80
122302 | 2 |  | 79 | 80 | 78 | 76 | 73 | 71 | 71 | 70 | 68 | 66 | 64 | 62
122402 | 1 | 21 | 61 | 60 | 59 | 59 | 61 | 64 | 68 | 67 | 70 | 69 | 68 | 69
122402 | 2 |  | 69 | 68 | 64 | 59 | 58 | 57 | 56 | 54 | 54 | 53 | 53 | 53
122502 | 1 | 81 | 52 | 52 | 52 | 52 | 53 | 53 | 50 | 49 | 47 | 46 | 45 | 44
122502 | 2 |  | 44 | 44 | 43 | 43 | 44 | 43 | 43 | 43 | 43 | 42 | 42 | 42
122602 | 1 | 41 | 42 | 42 | 42 | 43 | 44 | 47 | 52 | 56 | 59 | 62 | 65 | 62
122602 | 2 |  | 63 | 67 | 67 | 69 | 70 | 70 | 70 | 69 | 69 | 67 | 65 | 63
122702 | 1 | 51 | 63 | 62 | 62 | 62 | 64 | 68 | 73 | 74 | 74 | 75 | 76 | 76
122702 | 2 |  | 75 | 76 | 74 | 73 | 71 | 70 | 70 | 70 | 70 | 69 | 67 | 65
122802 | 1 | 61 | 64 | 63 | 63 | 63 | 64 | 65 | 68 | 67 | 61 | 60 | 58 | 57
122802 | 2 |  | 56 | 55 | 54 | 55 | 61 | 64 | 65 | 65 | 64 | 65 | 64 | 60
122902 | 1 | 71 | 59 | 60 | 59 | 60 | 63 | 61 | 62 | 61 | 59 | 59 | 60 | 60
122902 | 2 |  | 59 | 59 | 58 | 57 | 63 | 66 | 68 | 69 | 69 | 70 | 69 | 69
123002 | 1 | 11 | 69 | 69 | 70 | 71 | 73 | 76 | 76 | 74 | 76 | 80 | 81 | 81
123002 | 2 |  | 82 | 81 | 78 | 77 | 77 | 80 | 80 | 78 | 78 | 76 | 75 | 73
123102 | 1 | 21 | 72 | 70 | 70 | 69 | 71 | 72 | 70 | 65 | 64 | 64 | 65 | 63
123102 | 2 |  | 62 | 61 | 59 | 55 | 52 | 50 | 48 | 46 | 44 | 43 | 42 | 41
|  | Max | 97 | 98 | 96 | 93 | 90 | 88 | 89 | 93 | 95 | 96 | 98 | 97

## summary data
customer count
January |  | 167
February |  | 167
March |  | 167
April |  | 167
May |  | 167
June |  | 167
July |  | 167
August |  | 167
September |  | 167
October |  | 167
November |  | 167
December |  | 167
Market Definition of Hours
Monthly | Peak | Monthly MWh
| MW | on-peak | off-peak | Total
January | 87 | 23091 | 22394 | 45485
February | 79 | 19523 | 19621 | 39144
March | 79 | 21095 | 19438 | 40533
April | 73 | 20423 | 17154 | 37577
May | 76 | 21645 | 16444 | 38089
June | 82 | 20263 | 17770 | 38033
July | 83 | 22977 | 17952 | 40929
August | 82 | 23620 | 18860 | 42480
September | 85 | 20545 | 17870 | 38415
October | 82 | 21943 | 17997 | 39940
November | 89 | 20534 | 22470 | 43004
December | 98 | 25444 | 24760 | 50204
|  | 261103 | 232730 | 493833
CMP Definition of Hours
Monthly | Peak | Monthly MWh
| MW | on-peak | off-peak | shoulder | Total
January | 87 | 13211 | 21544 | 10730 | 45485
February | 79 | 11134 | 18640 | 9370 | 39144
March | 79 | 12074 | 18749 | 9710 | 40533
April | 73 | 11687 | 20374 | 5516 | 37577
May | 76 | 12386 | 19786 | 5917 | 38089
June | 82 | 11615 | 20853 | 5565 | 38033
July | 83 | 13112 | 21493 | 6324 | 40929
August | 82 | 13512 | 22454 | 6514 | 42480
September | 85 | 11744 | 21015 | 5656 | 38415
October | 82 | 12578 | 21457 | 5905 | 39940
November | 89 | 11770 | 25839 | 5395 | 43004
December | 98 | 14548 | 23893 | 11763 | 50204
|  | 149371 | 256097 | 88365 | 493833