## A
Large Standard Offer customers are billed based on CMP's definition of Time-of-use Hours. Demand Charges
are billed for On-Peak and/or Shoulder periods based on the highest 15-minute integrated kW demand registered.
The market definition of hours that will be used for bid analysis is as follows:
Monday Through Friday 7 a.m. until 11 p.m. are On Peak
Monday Through Friday 12 p.m. until 6 a.m. are Off Peak
Saturdays, Sundays and Holidays are all Off Peak
Bidder may also use the CMP defined hours for Large Standard Offer Customers defined as follows:
Bills to Large Standard Offer customers will be computed based on CMP's definition of Time-of-use hours.
The daily periods for weekdays (Monday through Friday, excluding holidays) shall be as follows:
On-Peak: | 7:00 a.m. to 12:00 p.m. and
4:00 p.m. to 8:00 p.m.
Shoulder: | 12:00 p.m. to 4:00 p.m.
Off-Peak: | 8:00 p.m. to 7:00 a.m.
Winter Saturdays, Sundays and holidays shall be treated as consisting of two shoulder periods,
from 7:00 a.m. to 12:00 p.m. and from 4:00 p.m. to 8:00 p.m., with the remainder to be designated as off-peak.
Saturdays, Sundays and holidays during the non-winter period shall be designated as all off-peak.
To get historical Load Enrollment Statistics - go to this site and chose the excel file.
http://www.cmpco.com/cep/sop/
To get CMP's loss file, go to this site.
http://www.cmpco.com/cep/profiles/loss.html
To get information on CMP's profiles used for Settlement, go to this site.
http://www.cmpco.com/cep/profiles/profiles.html

## hourly data
Hourly Loads in MW represent load at the customers meters for the Entire Large Class. | [14 empty] | % Load served by:
[6 empty] | The supplier would have to deliver energy metered load plus distribution level losses. | [8 empty] | Secondary | 15.9
Maximum Peak Load |  | 502 | MW |  |  | Average Losses for this mix of customers is: |  |  |  | 3.002% |  | Average Loss Factor is dependent upon the mix of customers taking |  |  | Primary | 28.4
occurred on 6/19/02 at 1:00 pm | [6 empty] | Metered Load times loss factor = delivered energy. |  |  |  |  | service. Eligible customers in the Large class take service from |  |  | Sub-Trans. | 33.1
Day Type: 1-5 Monday-Friday, 6-7 Sat-Sun, 8 Holidays | [5 empty] | Loss Example hour 1: |  | 288 | x loss factor = | 296.6458 | MW. | Transmission, Subtransmission, Secondary or Primary Voltage levels. |  |  | Transmission | 22.6
Date | Rows | Day Type | 2 Rows per day, row "1" is hour ending 1 am to hour ending 12 pm. Row "2" is hour ending 1 pm to hour ending 12 am.
10102 | 1 | 81 | 288 | 289 | 290 | 288 | 293 | 295 | 304 | 306 | 306 | 300 | 302 | 299
10102 | 2 |  | 307 | 302 | 302 | 301 | 312 | 315 | 313 | 320 | 326 | 327 | 331 | 334
10202 | 1 | 31 | 340 | 342 | 339 | 339 | 338 | 353 | 382 | 406 | 416 | 422 | 422 | 414
10202 | 2 |  | 410 | 415 | 425 | 407 | 403 | 395 | 393 | 413 | 416 | 401 | 396 | 393
10302 | 1 | 41 | 382 | 376 | 379 | 376 | 386 | 400 | 425 | 437 | 440 | 427 | 426 | 424
10302 | 2 |  | 424 | 425 | 424 | 402 | 394 | 394 | 398 | 403 | 403 | 398 | 391 | 385
10402 | 1 | 51 | 381 | 372 | 369 | 371 | 367 | 382 | 419 | 437 | 441 | 442 | 444 | 437
10402 | 2 |  | 435 | 438 | 436 | 422 | 411 | 399 | 401 | 398 | 403 | 395 | 383 | 374
10502 | 1 | 61 | 366 | 361 | 359 | 358 | 358 | 359 | 365 | 368 | 361 | 359 | 361 | 357
10502 | 2 |  | 354 | 350 | 339 | 342 | 349 | 346 | 342 | 344 | 345 | 338 | 329 | 325
10602 | 1 | 71 | 323 | 319 | 313 | 307 | 307 | 309 | 310 | 309 | 302 | 305 | 305 | 303
10602 | 2 |  | 309 | 310 | 298 | 292 | 294 | 293 | 297 | 299 | 310 | 314 | 316 | 319
10702 | 1 | 11 | 320 | 317 | 322 | 322 | 331 | 348 | 372 | 380 | 409 | 417 | 423 | 409
10702 | 2 |  | 417 | 426 | 427 | 418 | 405 | 388 | 389 | 387 | 401 | 411 | 406 | 399
10802 | 1 | 21 | 397 | 390 | 389 | 388 | 394 | 400 | 432 | 446 | 452 | 448 | 444 | 440
10802 | 2 |  | 439 | 445 | 435 | 416 | 409 | 385 | 386 | 403 | 404 | 403 | 402 | 391
10902 | 1 | 31 | 381 | 378 | 376 | 374 | 377 | 388 | 413 | 431 | 436 | 436 | 441 | 431
10902 | 2 |  | 432 | 434 | 427 | 417 | 405 | 399 | 394 | 393 | 395 | 391 | 385 | 374
11002 | 1 | 41 | 363 | 362 | 355 | 353 | 358 | 371 | 399 | 416 | 419 | 414 | 414 | 410
11002 | 2 |  | 411 | 416 | 412 | 397 | 389 | 379 | 370 | 378 | 372 | 369 | 358 | 346
11102 | 1 | 51 | 344 | 342 | 345 | 347 | 352 | 363 | 391 | 409 | 412 | 414 | 416 | 414
11102 | 2 |  | 413 | 411 | 400 | 390 | 385 | 381 | 380 | 377 | 375 | 373 | 361 | 355
11202 | 1 | 61 | 347 | 342 | 343 | 344 | 341 | 344 | 351 | 358 | 356 | 360 | 362 | 349
11202 | 2 |  | 355 | 339 | 353 | 356 | 350 | 352 | 352 | 346 | 343 | 340 | 337 | 329
11302 | 1 | 71 | 328 | 326 | 332 | 331 | 323 | 328 | 333 | 334 | 331 | 335 | 333 | 331
11302 | 2 |  | 327 | 336 | 322 | 325 | 327 | 319 | 312 | 316 | 314 | 317 | 319 | 319
11402 | 1 | 11 | 321 | 329 | 328 | 330 | 334 | 349 | 383 | 406 | 420 | 428 | 430 | 428
11402 | 2 |  | 433 | 430 | 424 | 414 | 400 | 376 | 386 | 386 | 382 | 380 | 372 | 366
11502 | 1 | 21 | 359 | 353 | 345 | 342 | 352 | 365 | 388 | 410 | 416 | 421 | 428 | 428
11502 | 2 |  | 426 | 427 | 411 | 404 | 403 | 400 | 396 | 391 | 399 | 385 | 381 | 385
11602 | 1 | 31 | 385 | 375 | 369 | 371 | 358 | 365 | 386 | 400 | 409 | 415 | 416 | 417
11602 | 2 |  | 417 | 416 | 405 | 397 | 402 | 409 | 405 | 410 | 412 | 405 | 400 | 392
11702 | 1 | 41 | 388 | 387 | 384 | 382 | 385 | 395 | 421 | 438 | 446 | 447 | 440 | 434
11702 | 2 |  | 440 | 438 | 425 | 413 | 405 | 403 | 398 | 400 | 396 | 393 | 392 | 386
11802 | 1 | 51 | 379 | 377 | 375 | 373 | 379 | 390 | 417 | 428 | 429 | 428 | 431 | 420
11802 | 2 |  | 419 | 417 | 410 | 405 | 401 | 401 | 398 | 397 | 393 | 388 | 375 | 363
11902 | 1 | 61 | 359 | 353 | 352 | 351 | 350 | 353 | 364 | 361 | 359 | 364 | 357 | 356
11902 | 2 |  | 348 | 351 | 338 | 339 | 343 | 349 | 350 | 347 | 342 | 342 | 337 | 332
12002 | 1 | 71 | 331 | 329 | 329 | 326 | 320 | 319 | 318 | 322 | 328 | 331 | 326 | 324
12002 | 2 |  | 326 | 333 | 325 | 329 | 329 | 333 | 333 | 334 | 332 | 329 | 332 | 330
12102 | 1 | 81 | 334 | 332 | 333 | 335 | 345 | 358 | 391 | 409 | 414 | 404 | 416 | 416
12102 | 2 |  | 418 | 419 | 414 | 407 | 397 | 365 | 369 | 379 | 381 | 376 | 375 | 367
12202 | 1 | 21 | 362 | 357 | 354 | 355 | 364 | 372 | 393 | 407 | 422 | 422 | 425 | 419
12202 | 2 |  | 420 | 424 | 421 | 410 | 400 | 398 | 392 | 391 | 393 | 390 | 385 | 379
12302 | 1 | 31 | 370 | 365 | 367 | 368 | 372 | 385 | 418 | 433 | 443 | 444 | 449 | 441
12302 | 2 |  | 445 | 446 | 440 | 425 | 418 | 415 | 406 | 403 | 400 | 395 | 390 | 381
12402 | 1 | 41 | 377 | 372 | 366 | 367 | 370 | 385 | 409 | 420 | 427 | 428 | 440 | 436
12402 | 2 |  | 439 | 443 | 432 | 411 | 409 | 401 | 399 | 396 | 400 | 398 | 398 | 398
12502 | 1 | 51 | 392 | 389 | 390 | 387 | 392 | 398 | 426 | 432 | 444 | 440 | 442 | 439
12502 | 2 |  | 434 | 428 | 418 | 391 | 387 | 389 | 376 | 367 | 361 | 352 | 337 | 323
12602 | 1 | 61 | 314 | 313 | 311 | 309 | 310 | 312 | 323 | 327 | 327 | 324 | 323 | 323
12602 | 2 |  | 320 | 318 | 321 | 317 | 314 | 322 | 321 | 320 | 318 | 317 | 324 | 315
12702 | 1 | 71 | 311 | 317 | 314 | 313 | 309 | 308 | 309 | 312 | 316 | 313 | 319 | 309
12702 | 2 |  | 309 | 309 | 313 | 311 | 309 | 320 | 319 | 311 | 319 | 319 | 322 | 327
12802 | 1 | 11 | 328 | 326 | 325 | 327 | 335 | 349 | 383 | 394 | 410 | 420 | 428 | 421
12802 | 2 |  | 423 | 419 | 414 | 403 | 391 | 385 | 382 | 383 | 381 | 382 | 378 | 368
12902 | 1 | 21 | 361 | 356 | 352 | 350 | 356 | 366 | 395 | 414 | 410 | 415 | 423 | 406
12902 | 2 |  | 404 | 407 | 395 | 388 | 380 | 374 | 376 | 374 | 378 | 375 | 363 | 349
13002 | 1 | 31 | 346 | 349 | 341 | 347 | 358 | 376 | 403 | 422 | 425 | 424 | 428 | 423
13002 | 2 |  | 420 | 418 | 410 | 399 | 387 | 382 | 388 | 382 | 394 | 394 | 388 | 380
13102 | 1 | 41 | 372 | 367 | 370 | 369 | 377 | 390 | 413 | 421 | 425 | 427 | 425 | 423
13102 | 2 |  | 422 | 428 | 420 | 412 | 391 | 369 | 361 | 368 | 371 | 375 | 372 | 366
20102 | 1 | 51 | 358 | 355 | 349 | 347 | 352 | 368 | 396 | 404 | 411 | 419 | 410 | 407
20102 | 2 |  | 412 | 404 | 396 | 383 | 380 | 375 | 371 | 363 | 365 | 361 | 356 | 344
20202 | 1 | 61 | 339 | 322 | 321 | 319 | 314 | 311 | 328 | 331 | 328 | 330 | 343 | 338
20202 | 2 |  | 340 | 345 | 346 | 341 | 344 | 353 | 348 | 339 | 333 | 329 | 330 | 327
20302 | 1 | 71 | 330 | 328 | 330 | 329 | 329 | 328 | 335 | 332 | 327 | 329 | 337 | 335
20302 | 2 |  | 336 | 340 | 329 | 327 | 320 | 322 | 309 | 318 | 319 | 314 | 318 | 324
20402 | 1 | 11 | 324 | 324 | 321 | 326 | 333 | 346 | 381 | 410 | 417 | 420 | 428 | 425
20402 | 2 |  | 422 | 424 | 419 | 401 | 384 | 365 | 364 | 373 | 402 | 396 | 390 | 385
20502 | 1 | 21 | 386 | 375 | 374 | 371 | 373 | 379 | 397 | 414 | 413 | 411 | 408 | 410
20502 | 2 |  | 424 | 427 | 429 | 415 | 396 | 369 | 370 | 370 | 387 | 383 | 394 | 391
20602 | 1 | 31 | 385 | 378 | 375 | 379 | 389 | 392 | 414 | 427 | 426 | 431 | 429 | 423
20602 | 2 |  | 427 | 438 | 430 | 416 | 415 | 420 | 419 | 419 | 415 | 416 | 411 | 403
20702 | 1 | 41 | 402 | 397 | 399 | 390 | 392 | 400 | 419 | 424 | 430 | 430 | 430 | 423
20702 | 2 |  | 426 | 423 | 421 | 412 | 408 | 402 | 389 | 392 | 391 | 389 | 379 | 374
20802 | 1 | 51 | 368 | 362 | 360 | 355 | 357 | 369 | 395 | 419 | 431 | 433 | 434 | 423
20802 | 2 |  | 418 | 423 | 413 | 400 | 396 | 391 | 393 | 392 | 399 | 388 | 378 | 367
20902 | 1 | 61 | 363 | 350 | 358 | 358 | 360 | 367 | 374 | 372 | 367 | 373 | 372 | 365
20902 | 2 |  | 362 | 359 | 354 | 358 | 356 | 362 | 361 | 358 | 352 | 359 | 353 | 348
21002 | 1 | 71 | 351 | 350 | 350 | 351 | 342 | 350 | 351 | 347 | 342 | 343 | 344 | 332
21002 | 2 |  | 333 | 329 | 330 | 332 | 326 | 327 | 325 | 327 | 324 | 322 | 323 | 328
21102 | 1 | 11 | 328 | 326 | 324 | 333 | 333 | 345 | 375 | 401 | 406 | 422 | 433 | 428
21102 | 2 |  | 421 | 420 | 410 | 397 | 378 | 375 | 372 | 378 | 395 | 408 | 399 | 391
21202 | 1 | 21 | 374 | 374 | 373 | 372 | 374 | 386 | 403 | 422 | 418 | 412 | 424 | 415
21202 | 2 |  | 416 | 409 | 400 | 388 | 363 | 348 | 343 | 347 | 368 | 376 | 378 | 373
21302 | 1 | 31 | 364 | 366 | 364 | 361 | 368 | 373 | 396 | 414 | 424 | 419 | 420 | 417
21302 | 2 |  | 419 | 415 | 404 | 403 | 362 | 342 | 347 | 370 | 390 | 398 | 396 | 385
21402 | 1 | 41 | 378 | 373 | 372 | 365 | 376 | 392 | 412 | 426 | 435 | 436 | 442 | 435
21402 | 2 |  | 433 | 433 | 425 | 423 | 400 | 380 | 381 | 393 | 389 | 391 | 388 | 379
21502 | 1 | 51 | 374 | 373 | 367 | 366 | 369 | 380 | 409 | 418 | 418 | 427 | 431 | 420
21502 | 2 |  | 425 | 413 | 404 | 385 | 374 | 384 | 376 | 372 | 367 | 361 | 353 | 340
21602 | 1 | 61 | 333 | 327 | 327 | 323 | 320 | 322 | 331 | 336 | 340 | 341 | 344 | 341
21602 | 2 |  | 325 | 336 | 332 | 327 | 323 | 321 | 323 | 327 | 326 | 322 | 318 | 314
21702 | 1 | 71 | 313 | 311 | 310 | 309 | 308 | 305 | 305 | 295 | 310 | 308 | 308 | 310
21702 | 2 |  | 310 | 309 | 309 | 311 | 312 | 319 | 319 | 315 | 311 | 304 | 308 | 310
21802 | 1 | 81 | 314 | 315 | 318 | 321 | 326 | 346 | 375 | 374 | 374 | 374 | 374 | 373
21802 | 2 |  | 368 | 367 | 368 | 364 | 347 | 355 | 363 | 354 | 359 | 369 | 357 | 353
21902 | 1 | 21 | 351 | 352 | 352 | 350 | 344 | 352 | 376 | 391 | 401 | 402 | 400 | 385
21902 | 2 |  | 383 | 384 | 383 | 362 | 352 | 348 | 350 | 347 | 358 | 366 | 357 | 349
22002 | 1 | 31 | 341 | 338 | 339 | 341 | 345 | 359 | 376 | 379 | 382 | 385 | 388 | 382
22002 | 2 |  | 380 | 382 | 377 | 363 | 359 | 355 | 355 | 350 | 356 | 356 | 351 | 332
22102 | 1 | 41 | 321 | 329 | 324 | 319 | 332 | 344 | 365 | 381 | 386 | 395 | 403 | 395
22102 | 2 |  | 396 | 396 | 388 | 374 | 364 | 365 | 361 | 354 | 360 | 355 | 352 | 348
22202 | 1 | 51 | 342 | 337 | 334 | 332 | 342 | 350 | 377 | 388 | 394 | 393 | 399 | 396
22202 | 2 |  | 395 | 392 | 382 | 365 | 355 | 348 | 353 | 352 | 357 | 361 | 353 | 344
22302 | 1 | 61 | 334 | 330 | 328 | 327 | 328 | 329 | 342 | 337 | 339 | 346 | 336 | 339
22302 | 2 |  | 332 | 328 | 327 | 319 | 317 | 331 | 325 | 323 | 323 | 326 | 324 | 327
22402 | 1 | 71 | 329 | 331 | 329 | 329 | 333 | 333 | 334 | 314 | 322 | 320 | 319 | 314
22402 | 2 |  | 321 | 323 | 318 | 307 | 291 | 295 | 298 | 288 | 290 | 295 | 299 | 304
22502 | 1 | 11 | 309 | 313 | 309 | 310 | 320 | 338 | 369 | 401 | 394 | 386 | 377 | 385
22502 | 2 |  | 385 | 386 | 377 | 375 | 357 | 347 | 339 | 342 | 356 | 368 | 367 | 358
22602 | 1 | 21 | 355 | 348 | 347 | 343 | 349 | 353 | 384 | 404 | 420 | 431 | 428 | 417
22602 | 2 |  | 415 | 420 | 411 | 392 | 380 | 376 | 378 | 372 | 376 | 375 | 373 | 365
22702 | 1 | 31 | 358 | 354 | 350 | 352 | 357 | 367 | 400 | 423 | 423 | 428 | 432 | 421
22702 | 2 |  | 403 | 409 | 397 | 392 | 386 | 376 | 368 | 356 | 382 | 389 | 383 | 374
22802 | 1 | 41 | 368 | 366 | 362 | 360 | 364 | 380 | 403 | 423 | 431 | 431 | 416 | 411
22802 | 2 |  | 420 | 421 | 400 | 395 | 383 | 380 | 383 | 362 | 362 | 370 | 365 | 362
30102 | 1 | 51 | 348 | 341 | 337 | 340 | 338 | 353 | 384 | 393 | 394 | 393 | 393 | 389
30102 | 2 |  | 388 | 393 | 390 | 382 | 360 | 363 | 369 | 361 | 361 | 370 | 359 | 358
30202 | 1 | 61 | 349 | 342 | 338 | 339 | 332 | 337 | 349 | 344 | 338 | 334 | 334 | 339
30202 | 2 |  | 329 | 323 | 312 | 306 | 306 | 307 | 296 | 297 | 291 | 284 | 279 | 288
30302 | 1 | 71 | 290 | 291 | 289 | 298 | 293 | 286 | 293 | 302 | 301 | 302 | 298 | 302
30302 | 2 |  | 293 | 281 | 297 | 289 | 295 | 289 | 293 | 291 | 290 | 293 | 294 | 304
30402 | 1 | 11 | 302 | 305 | 306 | 298 | 301 | 310 | 339 | 369 | 380 | 382 | 382 | 375
30402 | 2 |  | 379 | 376 | 378 | 370 | 356 | 350 | 356 | 351 | 364 | 433 | 435 | 429
30502 | 1 | 21 | 410 | 400 | 402 | 408 | 416 | 428 | 454 | 472 | 469 | 460 | 456 | 442
30502 | 2 |  | 444 | 445 | 438 | 434 | 414 | 413 | 419 | 429 | 427 | 430 | 448 | 448
30602 | 1 | 31 | 374 | 362 | 356 | 351 | 357 | 371 | 392 | 407 | 398 | 403 | 404 | 398
30602 | 2 |  | 400 | 415 | 400 | 389 | 386 | 359 | 361 | 364 | 357 | 360 | 357 | 346
30702 | 1 | 41 | 339 | 336 | 332 | 333 | 400 | 419 | 436 | 459 | 447 | 433 | 444 | 451
30702 | 2 |  | 431 | 448 | 444 | 435 | 421 | 431 | 431 | 424 | 427 | 423 | 422 | 423
30802 | 1 | 51 | 361 | 323 | 322 | 315 | 317 | 326 | 354 | 373 | 381 | 383 | 385 | 380
30802 | 2 |  | 376 | 375 | 374 | 358 | 341 | 332 | 331 | 329 | 336 | 330 | 320 | 315
30902 | 1 | 61 | 311 | 308 | 302 | 293 | 289 | 296 | 305 | 313 | 325 | 322 | 316 | 320
30902 | 2 |  | 312 | 307 | 304 | 292 | 283 | 287 | 290 | 286 | 288 | 281 | 274 | 282
31002 | 1 | 71 | 296 | 297 | 295 | 295 | 289 | 281 | 276 | 262 | 245 | 255 | 266 | 264
31002 | 2 |  | 256 | 256 | 261 | 277 | 278 | 284 | 287 | 296 | 290 | 285 | 292 | 297
31102 | 1 | 11 | 301 | 308 | 309 | 309 | 311 | 330 | 355 | 380 | 388 | 380 | 379 | 372
31102 | 2 |  | 377 | 378 | 379 | 375 | 354 | 345 | 354 | 350 | 364 | 366 | 362 | 358
31202 | 1 | 21 | 348 | 333 | 323 | 329 | 341 | 360 | 380 | 395 | 407 | 400 | 406 | 390
31202 | 2 |  | 388 | 395 | 387 | 373 | 362 | 354 | 355 | 351 | 353 | 343 | 341 | 327
31302 | 1 | 31 | 327 | 324 | 324 | 325 | 331 | 344 | 350 | 371 | 393 | 391 | 392 | 381
31302 | 2 |  | 382 | 377 | 371 | 367 | 365 | 346 | 342 | 350 | 348 | 366 | 356 | 345
31402 | 1 | 41 | 337 | 331 | 331 | 329 | 328 | 338 | 364 | 385 | 392 | 393 | 393 | 391
31402 | 2 |  | 390 | 394 | 384 | 370 | 366 | 359 | 357 | 353 | 355 | 345 | 331 | 318
31502 | 1 | 51 | 320 | 310 | 315 | 308 | 317 | 334 | 359 | 376 | 381 | 383 | 387 | 385
31502 | 2 |  | 372 | 372 | 375 | 365 | 349 | 336 | 328 | 333 | 337 | 340 | 331 | 324
31602 | 1 | 61 | 315 | 315 | 310 | 311 | 306 | 311 | 315 | 323 | 325 | 337 | 342 | 344
31602 | 2 |  | 338 | 337 | 338 | 337 | 327 | 323 | 327 | 329 | 330 | 326 | 327 | 325
31702 | 1 | 71 | 320 | 318 | 319 | 315 | 312 | 316 | 313 | 310 | 312 | 320 | 309 | 304
31702 | 2 |  | 297 | 290 | 292 | 294 | 295 | 296 | 297 | 295 | 294 | 293 | 298 | 296
31802 | 1 | 11 | 298 | 299 | 296 | 298 | 300 | 308 | 335 | 358 | 367 | 373 | 360 | 368
31802 | 2 |  | 360 | 356 | 355 | 349 | 344 | 331 | 313 | 307 | 316 | 331 | 328 | 323
31902 | 1 | 21 | 320 | 312 | 310 | 306 | 307 | 322 | 347 | 356 | 374 | 370 | 368 | 364
31902 | 2 |  | 370 | 369 | 363 | 352 | 335 | 333 | 339 | 337 | 338 | 343 | 338 | 329
32002 | 1 | 31 | 326 | 320 | 314 | 311 | 321 | 329 | 357 | 368 | 387 | 378 | 384 | 377
32002 | 2 |  | 376 | 382 | 367 | 346 | 343 | 335 | 328 | 322 | 335 | 335 | 331 | 299
32102 | 1 | 41 | 301 | 300 | 295 | 298 | 299 | 305 | 327 | 351 | 357 | 360 | 368 | 361
32102 | 2 |  | 373 | 367 | 363 | 349 | 340 | 337 | 347 | 345 | 342 | 344 | 343 | 331
32202 | 1 | 51 | 320 | 323 | 313 | 316 | 320 | 322 | 352 | 358 | 373 | 376 | 383 | 372
32202 | 2 |  | 374 | 377 | 370 | 364 | 338 | 334 | 335 | 326 | 338 | 326 | 314 | 310
32302 | 1 | 61 | 299 | 298 | 296 | 288 | 287 | 298 | 308 | 312 | 317 | 327 | 321 | 308
32302 | 2 |  | 297 | 305 | 296 | 289 | 281 | 284 | 288 | 293 | 289 | 290 | 289 | 282
32402 | 1 | 71 | 280 | 285 | 284 | 282 | 276 | 281 | 275 | 289 | 296 | 288 | 284 | 282
32402 | 2 |  | 271 | 265 | 266 | 269 | 270 | 275 | 282 | 276 | 276 | 273 | 285 | 280
32502 | 1 | 11 | 289 | 287 | 292 | 291 | 297 | 310 | 340 | 357 | 366 | 370 | 372 | 356
32502 | 2 |  | 356 | 361 | 357 | 353 | 352 | 344 | 341 | 341 | 345 | 349 | 348 | 337
32602 | 1 | 21 | 331 | 329 | 325 | 327 | 330 | 344 | 371 | 390 | 384 | 399 | 394 | 395
32602 | 2 |  | 395 | 390 | 389 | 380 | 355 | 346 | 349 | 356 | 361 | 366 | 358 | 354
32702 | 1 | 31 | 344 | 342 | 335 | 339 | 335 | 344 | 370 | 396 | 407 | 413 | 410 | 398
32702 | 2 |  | 393 | 398 | 402 | 391 | 385 | 378 | 381 | 379 | 380 | 378 | 375 | 368
32802 | 1 | 41 | 361 | 353 | 350 | 347 | 350 | 365 | 387 | 408 | 412 | 414 | 418 | 418
32802 | 2 |  | 433 | 422 | 408 | 391 | 381 | 364 | 368 | 360 | 365 | 369 | 361 | 345
32902 | 1 | 51 | 343 | 344 | 338 | 342 | 346 | 355 | 371 | 390 | 397 | 388 | 404 | 398
32902 | 2 |  | 399 | 394 | 389 | 376 | 368 | 352 | 348 | 345 | 357 | 352 | 342 | 331
33002 | 1 | 61 | 330 | 316 | 321 | 316 | 309 | 314 | 310 | 325 | 329 | 316 | 323 | 318
33002 | 2 |  | 313 | 315 | 315 | 308 | 304 | 299 | 298 | 297 | 291 | 288 | 287 | 281
33102 | 1 | 71 | 277 | 277 | 276 | 274 | 273 | 271 | 262 | 260 | 258 | 251 | 250 | 256
33102 | 2 |  | 263 | 260 | 258 | 257 | 255 | 258 | 262 | 259 | 257 | 261 | 261 | 266
40102 | 1 | 11 | 270 | 272 | 270 | 272 | 282 | 301 | 335 | 372 | 393 | 395 | 395 | 385
40102 | 2 |  | 387 | 397 | 394 | 377 | 358 | 344 | 334 | 329 | 341 | 358 | 350 | 339
40202 | 1 | 21 | 334 | 329 | 323 | 320 | 323 | 334 | 356 | 373 | 389 | 391 | 397 | 390
40202 | 2 |  | 391 | 395 | 388 | 359 | 356 | 348 | 352 | 348 | 355 | 356 | 349 | 340
40302 | 1 | 31 | 328 | 328 | 324 | 322 | 332 | 342 | 370 | 389 | 402 | 403 | 403 | 392
40302 | 2 |  | 398 | 400 | 398 | 388 | 363 | 364 | 357 | 352 | 346 | 342 | 336 | 330
40402 | 1 | 41 | 335 | 332 | 330 | 329 | 334 | 340 | 361 | 381 | 388 | 390 | 389 | 388
40402 | 2 |  | 392 | 391 | 385 | 370 | 358 | 360 | 357 | 355 | 360 | 359 | 351 | 345
40502 | 1 | 51 | 335 | 334 | 332 | 328 | 331 | 344 | 367 | 385 | 396 | 400 | 403 | 397
40502 | 2 |  | 384 | 376 | 368 | 349 | 343 | 340 | 338 | 334 | 334 | 344 | 331 | 324
40602 | 1 | 61 | 318 | 314 | 318 | 311 | 300 | 298 | 305 | 307 | 307 | 311 | 306 | 308
40602 | 2 |  | 303 | 304 | 299 | 287 | 282 | 275 | 278 | 293 | 283 | 285 | 283 | 276
40702 | 1 | 72 | 267 | 268 |  | 262 | 259 | 261 | 258 | 256 | 260 | 260 | 260 | 261
40702 | 2 |  | 264 | 260 | 257 | 259 | 259 | 262 | 263 | 282 | 286 | 288 | 294 | 300
40802 | 1 | 12 | 299 | 300 | 302 | 304 | 307 | 318 | 353 | 382 | 395 | 396 | 396 | 372
40802 | 2 |  | 383 | 395 | 391 | 379 | 355 | 342 | 336 | 343 | 352 | 353 | 346 | 336
40902 | 1 | 22 | 332 | 329 | 329 | 328 | 333 | 347 | 371 | 397 | 399 | 398 | 400 | 400
40902 | 2 |  | 401 | 404 | 380 | 377 | 370 | 365 | 366 | 359 | 354 | 346 | 339 | 330
41002 | 1 | 32 | 325 | 319 | 318 | 321 | 326 | 335 | 370 | 392 | 394 | 401 | 406 | 401
41002 | 2 |  | 397 | 398 | 394 | 370 | 364 | 343 | 340 | 339 | 338 | 338 | 331 | 324
41102 | 1 | 42 | 319 | 315 | 313 | 316 | 320 | 330 | 357 | 382 | 388 | 388 | 388 | 383
41102 | 2 |  | 384 | 399 | 394 | 376 | 357 | 338 | 344 | 352 | 350 | 348 | 347 | 340
41202 | 1 | 52 | 329 | 313 | 314 | 319 | 324 | 339 | 362 | 391 | 393 | 389 | 395 | 388
41202 | 2 |  | 384 | 377 | 366 | 349 | 344 | 338 | 333 | 332 | 340 | 336 | 322 | 309
41302 | 1 | 62 | 303 | 300 | 302 | 299 | 291 | 293 | 299 | 307 | 310 | 318 | 324 | 323
41302 | 2 |  | 314 | 311 | 307 | 299 | 300 | 299 | 298 | 300 | 302 | 296 | 289 | 286
41402 | 1 | 72 | 287 | 279 | 283 | 283 | 281 | 280 | 275 | 290 | 293 | 293 | 301 | 306
41402 | 2 |  | 309 | 315 | 316 | 319 | 314 | 308 | 314 | 318 | 314 | 300 | 300 | 306
41502 | 1 | 82 | 305 | 303 | 301 | 301 | 306 | 317 | 346 | 370 | 371 | 375 | 382 | 378
41502 | 2 |  | 382 | 382 | 377 | 371 | 370 | 360 | 358 | 361 | 359 | 354 | 356 | 349
41602 | 1 | 22 | 341 | 331 | 328 | 327 | 331 | 343 | 369 | 393 | 398 | 398 | 403 | 397
41602 | 2 |  | 404 | 417 | 410 | 404 | 394 | 379 | 369 | 372 | 376 | 379 | 372 | 364
41702 | 1 | 32 | 363 | 357 | 353 | 352 | 357 | 367 | 382 | 410 | 423 | 427 | 426 | 406
41702 | 2 |  | 419 | 393 | 396 | 382 | 382 | 369 | 374 | 375 | 369 | 365 | 354 | 351
41802 | 1 | 42 | 342 | 339 | 334 | 335 | 342 | 352 | 373 | 396 | 403 | 403 | 407 | 400
41802 | 2 |  | 404 | 416 | 414 | 399 | 390 | 381 | 376 | 377 | 376 | 372 | 364 | 355
41902 | 1 | 52 | 351 | 347 | 344 | 342 | 342 | 344 | 360 | 382 | 387 | 384 | 386 | 378
41902 | 2 |  | 375 | 371 | 377 | 366 | 360 | 356 | 347 | 346 | 344 | 341 | 335 | 323
42002 | 1 | 62 | 319 | 310 | 308 | 309 | 303 | 304 | 312 | 322 | 318 | 321 | 326 | 321
42002 | 2 |  | 314 | 313 | 311 | 308 | 302 | 301 | 299 | 302 | 316 | 312 | 304 | 298
42102 | 1 | 72 | 292 | 290 | 286 | 286 | 287 | 288 | 278 | 282 | 284 | 284 | 284 | 284
42102 | 2 |  | 279 | 281 | 280 | 284 | 285 | 281 | 278 | 282 | 291 | 291 | 288 | 295
42202 | 1 | 12 | 296 | 301 | 299 | 297 | 306 | 318 | 355 | 381 | 389 | 400 | 395 | 395
42202 | 2 |  | 394 | 402 | 387 | 371 | 360 | 344 | 328 | 333 | 341 | 340 | 338 | 329
42302 | 1 | 22 | 317 | 316 | 314 | 313 | 316 | 334 | 360 | 385 | 391 | 382 | 389 | 382
42302 | 2 |  | 383 | 381 | 380 | 365 | 356 | 340 | 338 | 335 | 336 | 331 | 328 | 319
42402 | 1 | 32 | 316 | 313 | 308 | 308 | 311 | 329 | 353 | 369 | 379 | 392 | 396 | 386
42402 | 2 |  | 386 | 388 | 378 | 363 | 353 | 349 | 344 | 337 | 345 | 336 | 336 | 324
42502 | 1 | 42 | 329 | 333 | 339 | 336 | 340 | 358 | 390 | 406 | 411 | 414 | 416 | 413
42502 | 2 |  | 415 | 414 | 403 | 395 | 382 | 369 | 358 | 356 | 354 | 354 | 343 | 346
42602 | 1 | 52 | 334 | 336 | 331 | 331 | 333 | 335 | 366 | 376 | 399 | 398 | 400 | 392
42602 | 2 |  | 390 | 388 | 368 | 365 | 358 | 345 | 334 | 326 | 329 | 322 | 314 | 304
42702 | 1 | 62 | 299 | 295 | 299 | 299 | 293 | 295 | 299 | 312 | 316 | 314 | 311 | 306
42702 | 2 |  | 303 | 298 | 300 | 299 | 295 | 288 | 271 | 267 | 273 | 275 | 277 | 273
42802 | 1 | 72 | 285 | 290 | 284 | 283 | 284 | 278 | 273 | 283 | 291 | 299 | 295 | 292
42802 | 2 |  | 294 | 296 | 301 | 302 | 302 | 302 | 302 | 301 | 303 | 299 | 297 | 308
42902 | 1 | 12 | 308 | 310 | 311 | 308 | 309 | 321 | 353 | 369 | 384 | 388 | 395 | 390
42902 | 2 |  | 393 | 393 | 381 | 369 | 366 | 353 | 349 | 351 | 364 | 367 | 362 | 354
43002 | 1 | 22 | 351 | 343 | 342 | 338 | 347 | 353 | 379 | 402 | 409 | 410 | 419 | 410
43002 | 2 |  | 409 | 408 | 406 | 391 | 377 | 365 | 365 | 357 | 358 | 359 | 359 | 345
50102 | 1 | 32 | 336 | 331 | 335 | 331 | 321 | 326 | 346 | 365 | 373 | 378 | 378 | 377
50102 | 2 |  | 380 | 381 | 384 | 379 | 373 | 369 | 370 | 369 | 368 | 366 | 360 | 344
50202 | 1 | 42 | 338 | 336 | 339 | 341 | 353 | 359 | 378 | 393 | 402 | 404 | 402 | 396
50202 | 2 |  | 396 | 396 | 383 | 365 | 362 | 347 | 342 | 365 | 371 | 370 | 361 | 351
50302 | 1 | 52 | 348 | 344 | 341 | 343 | 345 | 357 | 379 | 406 | 415 | 418 | 420 | 408
50302 | 2 |  | 406 | 404 | 400 | 390 | 380 | 371 | 365 | 360 | 352 | 344 | 344 | 327
50402 | 1 | 62 | 320 | 322 | 321 | 301 | 299 | 303 | 302 | 306 | 310 | 318 | 329 | 329
50402 | 2 |  | 325 | 327 | 326 | 325 | 322 | 316 | 314 | 313 | 314 | 314 | 308 | 304
50502 | 1 | 72 | 302 | 299 | 300 | 297 | 299 | 298 | 301 | 302 | 309 | 316 | 314 | 316
50502 | 2 |  | 314 | 317 | 311 | 308 | 309 | 303 | 303 | 302 | 289 | 292 | 297 | 304
50602 | 1 | 12 | 307 | 308 | 309 | 312 | 316 | 330 | 360 | 380 | 391 | 405 | 408 | 410
50602 | 2 |  | 414 | 408 | 403 | 381 | 380 | 368 | 362 | 357 | 355 | 355 | 344 | 336
50702 | 1 | 22 | 332 | 327 | 322 | 315 | 312 | 329 | 356 | 378 | 385 | 398 | 400 | 397
50702 | 2 |  | 399 | 399 | 394 | 386 | 381 | 368 | 361 | 358 | 356 | 367 | 366 | 360
50802 | 1 | 32 | 352 | 346 | 340 | 335 | 340 | 344 | 349 | 362 | 371 | 371 | 362 | 355
50802 | 2 |  | 371 | 388 | 393 | 389 | 381 | 370 | 360 | 352 | 351 | 352 | 346 | 331
50902 | 1 | 42 | 316 | 314 | 317 | 324 | 329 | 341 | 368 | 353 | 369 | 371 | 373 | 372
50902 | 2 |  | 382 | 386 | 375 | 367 | 367 | 357 | 345 | 341 | 343 | 345 | 339 | 329
51002 | 1 | 52 | 327 | 321 | 316 | 311 | 313 | 327 | 355 | 391 | 397 | 400 | 400 | 406
51002 | 2 |  | 401 | 395 | 393 | 387 | 377 | 362 | 359 | 352 | 347 | 334 | 323 | 312
51102 | 1 | 62 | 308 | 306 | 299 | 299 | 296 | 302 | 301 | 304 | 311 | 314 | 321 | 310
51102 | 2 |  | 307 | 305 | 304 | 304 | 306 | 300 | 292 | 290 | 284 | 278 | 278 | 281
51202 | 1 | 72 | 282 | 280 | 283 | 282 | 287 | 291 | 284 | 280 | 296 | 295 | 298 | 297
51202 | 2 |  | 295 | 298 | 297 | 297 | 301 | 299 | 295 | 294 | 296 | 301 | 301 | 300
51302 | 1 | 12 | 302 | 305 | 296 | 299 | 308 | 320 | 348 | 365 | 374 | 384 | 388 | 382
51302 | 2 |  | 386 | 386 | 387 | 380 | 366 | 365 | 362 | 359 | 353 | 349 | 347 | 335
51402 | 1 | 22 | 334 | 331 | 319 | 316 | 321 | 317 | 339 | 364 | 374 | 376 | 379 | 368
51402 | 2 |  | 376 | 376 | 374 | 374 | 375 | 358 | 359 | 344 | 357 | 358 | 355 | 347
51502 | 1 | 32 | 340 | 338 | 337 | 333 | 339 | 345 | 371 | 389 | 393 | 400 | 404 | 397
51502 | 2 |  | 396 | 397 | 389 | 377 | 366 | 366 | 363 | 365 | 363 | 363 | 359 | 354
51602 | 1 | 42 | 346 | 344 | 342 | 345 | 348 | 360 | 389 | 406 | 419 | 421 | 432 | 410
51602 | 2 |  | 408 | 413 | 405 | 398 | 393 | 378 | 374 | 378 | 372 | 373 | 365 | 358
51702 | 1 | 52 | 355 | 351 | 345 | 345 | 349 | 359 | 385 | 407 | 421 | 426 | 426 | 407
51702 | 2 |  | 404 | 410 | 384 | 396 | 388 | 376 | 369 | 364 | 358 | 353 | 347 | 334
51802 | 1 | 62 | 327 | 319 | 309 | 305 | 303 | 305 | 315 | 318 | 324 | 305 | 304 | 297
51802 | 2 |  | 299 | 316 | 312 | 309 | 310 | 305 | 301 | 300 | 302 | 302 | 297 | 294
51902 | 1 | 72 | 293 | 291 | 291 | 288 | 289 | 288 | 291 | 296 | 296 | 298 | 303 | 298
51902 | 2 |  | 300 | 302 | 302 | 302 | 299 | 296 | 295 | 293 | 288 | 292 | 300 | 303
52002 | 1 | 12 | 303 | 310 | 309 | 308 | 317 | 327 | 357 | 383 | 396 | 379 | 394 | 373
52002 | 2 |  | 375 | 384 | 383 | 361 | 354 | 332 | 330 | 323 | 326 | 331 | 326 | 315
52102 | 1 | 22 | 314 | 307 | 316 | 310 | 313 | 320 | 353 | 358 | 362 | 364 | 368 | 355
52102 | 2 |  | 344 | 342 | 357 | 362 | 358 | 348 | 341 | 334 | 333 | 332 | 329 | 325
52202 | 1 | 32 | 315 | 311 | 310 | 310 | 313 | 322 | 353 | 383 | 390 | 394 | 396 | 393
52202 | 2 |  | 393 | 405 | 396 | 376 | 356 | 353 | 362 | 352 | 348 | 339 | 335 | 330
52302 | 1 | 42 | 324 | 316 | 315 | 315 | 320 | 332 | 353 | 366 | 376 | 385 | 392 | 393
52302 | 2 |  | 394 | 397 | 396 | 406 | 389 | 391 | 382 | 366 | 359 | 345 | 333 | 332
52402 | 1 | 52 | 326 | 321 | 315 | 314 | 320 | 330 | 357 | 373 | 384 | 389 | 394 | 383
52402 | 2 |  | 369 | 371 | 367 | 366 | 356 | 362 | 354 | 351 | 350 | 333 | 331 | 319
52502 | 1 | 62 | 310 | 303 | 298 | 290 | 288 | 281 | 278 | 283 | 275 | 276 | 292 | 294
52502 | 2 |  | 293 | 297 | 295 | 291 | 285 | 286 | 289 | 283 | 281 | 276 | 276 | 266
52602 | 1 | 72 | 272 | 272 | 271 | 272 | 266 | 265 | 269 | 276 | 282 | 284 | 291 | 288
52602 | 2 |  | 287 | 297 | 302 | 302 | 302 | 297 | 290 | 292 | 298 | 291 | 286 | 285
52702 | 1 | 82 | 288 | 283 | 281 | 281 | 280 | 275 | 277 | 287 | 287 | 283 | 277 | 278
52702 | 2 |  | 280 | 284 | 286 | 286 | 283 | 283 | 282 | 278 | 271 | 271 | 281 | 285
52802 | 1 | 22 | 283 | 282 | 283 | 287 | 291 | 310 | 343 | 354 | 369 | 393 | 404 | 392
52802 | 2 |  | 389 | 399 | 409 | 383 | 378 | 360 | 358 | 355 | 347 | 347 | 344 | 334
52902 | 1 | 32 | 322 | 324 | 343 | 343 | 344 | 355 | 385 | 413 | 418 | 419 | 426 | 419
52902 | 2 |  | 423 | 431 | 419 | 411 | 395 | 376 | 365 | 372 | 370 | 358 | 367 | 360
53002 | 1 | 42 | 356 | 351 | 347 | 345 | 355 | 361 | 392 | 415 | 418 | 414 | 415 | 412
53002 | 2 |  | 417 | 413 | 410 | 413 | 401 | 385 | 384 | 373 | 363 | 361 | 350 | 334
53102 | 1 | 52 | 326 | 322 | 318 | 324 | 350 | 365 | 391 | 413 | 428 | 437 | 437 | 436
53102 | 2 |  | 432 | 409 | 420 | 401 | 392 | 383 | 387 | 378 | 370 | 363 | 347 | 339
60102 | 1 | 62 | 338 | 331 | 322 | 314 | 306 | 306 | 317 | 332 | 333 | 331 | 335 | 335
60102 | 2 |  | 333 | 332 | 329 | 326 | 323 | 317 | 317 | 320 | 317 | 318 | 309 | 304
60202 | 1 | 72 | 296 | 291 | 291 | 287 | 293 | 296 | 294 | 305 | 305 | 292 | 304 | 306
60202 | 2 |  | 295 | 296 | 295 | 299 | 301 | 301 | 296 | 301 | 298 | 298 | 299 | 305
60302 | 1 | 12 | 306 | 308 | 309 | 309 | 308 | 319 | 355 | 379 | 400 | 405 | 407 | 401
60302 | 2 |  | 408 | 421 | 425 | 405 | 393 | 382 | 373 | 368 | 363 | 363 | 356 | 347
60402 | 1 | 22 | 338 | 330 | 327 | 329 | 333 | 342 | 360 | 400 | 417 | 423 | 419 | 415
60402 | 2 |  | 416 | 412 | 397 | 375 | 376 | 362 | 351 | 348 | 341 | 338 | 337 | 334
60502 | 1 | 32 | 329 | 326 | 324 | 315 | 311 | 325 | 348 | 376 | 377 | 421 | 429 | 400
60502 | 2 |  | 387 | 395 | 386 | 376 | 367 | 360 | 361 | 361 | 360 | 365 | 362 | 353
60602 | 1 | 42 | 355 | 345 | 339 | 343 | 346 | 361 | 372 | 402 | 408 | 404 | 407 | 398
60602 | 2 |  | 405 | 417 | 397 | 404 | 386 | 382 | 370 | 363 | 360 | 358 | 353 | 345
60702 | 1 | 52 | 335 | 333 | 334 | 330 | 337 | 349 | 377 | 395 | 403 | 400 | 411 | 398
60702 | 2 |  | 399 | 402 | 394 | 381 | 374 | 368 | 360 | 351 | 350 | 346 | 336 | 324
60802 | 1 | 62 | 316 | 316 | 313 | 316 | 316 | 318 | 314 | 324 | 320 | 335 | 334 | 332
60802 | 2 |  | 328 | 329 | 326 | 323 | 322 | 316 | 312 | 310 | 314 | 310 | 308 | 303
60902 | 1 | 72 | 296 | 289 | 291 | 295 | 298 | 294 | 295 | 297 | 303 | 307 | 320 | 326
60902 | 2 |  | 325 | 327 | 328 | 320 | 322 | 346 | 324 | 318 | 317 | 313 | 315 | 316
61002 | 1 | 12 | 318 | 319 | 318 | 318 | 325 | 329 | 366 | 393 | 398 | 413 | 421 | 420
61002 | 2 |  | 437 | 436 | 425 | 414 | 401 | 390 | 381 | 377 | 366 | 363 | 355 | 342
61102 | 1 | 22 | 334 | 334 | 329 | 322 | 337 | 344 | 372 | 389 | 399 | 403 | 401 | 394
61102 | 2 |  | 396 | 390 | 382 | 362 | 353 | 367 | 371 | 365 | 363 | 359 | 357 | 348
61202 | 1 | 32 | 336 | 327 | 331 | 344 | 343 | 357 | 383 | 403 | 412 | 408 | 411 | 399
61202 | 2 |  | 408 | 412 | 398 | 393 | 383 | 381 | 379 | 377 | 379 | 386 | 376 | 366
61302 | 1 | 42 | 361 | 358 | 350 | 346 | 341 | 353 | 359 | 381 | 402 | 404 | 413 | 400
61302 | 2 |  | 417 | 426 | 417 | 405 | 397 | 384 | 380 | 374 | 364 | 366 | 359 | 352
61402 | 1 | 52 | 346 | 342 | 336 | 328 | 332 | 336 | 363 | 379 | 391 | 400 | 399 | 392
61402 | 2 |  | 399 | 399 | 387 | 372 | 361 | 359 | 350 | 346 | 345 | 356 | 407 | 394
61502 | 1 | 62 | 361 | 356 | 349 | 351 | 349 | 349 | 360 | 367 | 368 | 364 | 348 | 359
61502 | 2 |  | 352 | 361 | 359 | 362 | 347 | 341 | 340 | 339 | 352 | 348 | 348 | 341
61602 | 1 | 72 | 333 | 337 | 331 | 334 | 331 | 330 | 333 | 338 | 341 | 341 | 345 | 336
61602 | 2 |  | 327 | 329 | 334 | 337 | 339 | 338 | 354 | 359 | 360 | 356 | 359 | 360
61702 | 1 | 12 | 394 | 393 | 402 | 398 | 405 | 413 | 450 | 429 | 408 | 421 | 430 | 423
61702 | 2 |  | 420 | 427 | 420 | 411 | 392 | 389 | 387 | 375 | 370 | 368 | 362 | 352
61802 | 1 | 22 | 348 | 337 | 335 | 332 | 339 | 355 | 386 | 409 | 407 | 414 | 408 | 402
61802 | 2 |  | 409 | 419 | 422 | 420 | 414 | 404 | 392 | 382 | 374 | 373 | 362 | 354
61902 | 1 | 32 | 351 | 343 | 343 | 338 | 341 | 360 | 391 | 434 | 496 | 500 | 484 | 498
61902 | 2 |  | 502 | 495 | 482 | 433 | 412 | 407 | 399 | 384 | 378 | 385 | 365 | 349
62002 | 1 | 42 | 343 | 335 | 335 | 334 | 335 | 342 | 369 | 392 | 419 | 422 | 434 | 428
62002 | 2 |  | 420 | 416 | 417 | 412 | 405 | 395 | 390 | 379 | 372 | 373 | 363 | 352
62102 | 1 | 52 | 347 | 336 | 338 | 335 | 343 | 352 | 373 | 401 | 416 | 432 | 424 | 404
62102 | 2 |  | 403 | 410 | 403 | 400 | 405 | 398 | 389 | 374 | 372 | 369 | 357 | 346
62202 | 1 | 62 | 338 | 333 | 336 | 330 | 329 | 320 | 337 | 347 | 349 | 352 | 334 | 322
62202 | 2 |  | 318 | 320 | 335 | 340 | 335 | 336 | 327 | 322 | 323 | 320 | 313 | 308
62302 | 1 | 72 | 312 | 307 | 307 | 309 | 310 | 309 | 309 | 318 | 319 | 315 | 316 | 316
62302 | 2 |  | 315 | 310 | 304 | 310 | 309 | 305 | 301 | 299 | 297 | 299 | 310 | 312
62402 | 1 | 12 | 316 | 315 | 316 | 318 | 324 | 326 | 357 | 380 | 401 | 396 | 400 | 397
62402 | 2 |  | 397 | 394 | 397 | 385 | 358 | 352 | 343 | 342 | 347 | 339 | 341 | 334
62502 | 1 | 22 | 325 | 322 | 317 | 309 | 314 | 313 | 355 | 383 | 398 | 394 | 402 | 394
62502 | 2 |  | 392 | 397 | 396 | 388 | 378 | 365 | 362 | 358 | 357 | 356 | 351 | 343
62602 | 1 | 32 | 338 | 333 | 331 | 332 | 341 | 356 | 388 | 409 | 410 | 410 | 423 | 416
62602 | 2 |  | 416 | 417 | 399 | 390 | 389 | 392 | 386 | 387 | 375 | 367 | 369 | 372
62702 | 1 | 42 | 368 | 362 | 355 | 354 | 368 | 389 | 417 | 440 | 449 | 444 | 439 | 433
62702 | 2 |  | 442 | 446 | 435 | 427 | 412 | 398 | 394 | 398 | 392 | 385 | 385 | 374
62802 | 1 | 52 | 372 | 361 | 355 | 353 | 359 | 375 | 404 | 425 | 435 | 441 | 445 | 443
62802 | 2 |  | 441 | 436 | 430 | 415 | 406 | 400 | 392 | 379 | 374 | 367 | 357 | 342
62902 | 1 | 62 | 337 | 347 | 348 | 345 | 340 | 306 | 326 | 340 | 335 | 331 | 353 | 353
62902 | 2 |  | 357 | 353 | 351 | 352 | 353 | 345 | 341 | 336 | 335 | 340 | 334 | 330
63002 | 1 | 72 | 321 | 316 | 317 | 322 | 321 | 304 | 325 | 335 | 344 | 346 | 352 | 342
63002 | 2 |  | 349 | 342 | 336 | 338 | 338 | 337 | 334 | 333 | 323 | 321 | 326 | 328
70102 | 1 | 12 | 326 | 318 | 319 | 306 | 313 | 335 | 361 | 371 | 375 | 386 | 391 | 393
70102 | 2 |  | 372 | 384 | 380 | 380 | 367 | 355 | 353 | 358 | 360 | 365 | 360 | 354
70202 | 1 | 22 | 349 | 344 | 340 | 340 | 351 | 363 | 394 | 406 | 381 | 382 | 391 | 405
70202 | 2 |  | 382 | 390 | 374 | 363 | 357 | 354 | 352 | 352 | 354 | 348 | 351 | 351
70302 | 1 | 32 | 344 | 335 | 339 | 333 | 345 | 356 | 381 | 405 | 421 | 414 | 407 | 393
70302 | 2 |  | 380 | 375 | 362 | 351 | 353 | 339 | 329 | 325 | 345 | 342 | 314 | 318
70402 | 1 | 82 | 311 | 302 | 286 | 291 | 292 | 290 | 286 | 306 | 307 | 308 | 288 | 297
70402 | 2 |  | 293 | 297 | 315 | 314 | 315 | 314 | 308 | 307 | 303 | 303 | 297 | 293
70502 | 1 | 52 | 289 | 284 | 281 | 281 | 286 | 292 | 305 | 324 | 334 | 331 | 343 | 341
70502 | 2 |  | 336 | 335 | 332 | 331 | 335 | 330 | 326 | 319 | 314 | 305 | 303 | 298
70602 | 1 | 62 | 300 | 302 | 300 | 296 | 280 | 277 | 290 | 305 | 310 | 317 | 321 | 319
70602 | 2 |  | 314 | 309 | 312 | 308 | 306 | 300 | 292 | 292 | 293 | 292 | 290 | 285
70702 | 1 | 72 | 281 | 280 | 278 | 274 | 273 | 263 | 282 | 286 | 293 | 293 | 296 | 295
70702 | 2 |  | 298 | 304 | 311 | 312 | 316 | 311 | 307 | 304 | 306 | 306 | 306 | 306
70802 | 1 | 12 | 306 | 308 | 304 | 301 | 313 | 333 | 363 | 384 | 405 | 412 | 427 | 430
70802 | 2 |  | 445 | 445 | 443 | 431 | 430 | 418 | 411 | 401 | 382 | 380 | 389 | 382
70902 | 1 | 22 | 369 | 368 | 360 | 359 | 366 | 383 | 416 | 419 | 427 | 432 | 440 | 447
70902 | 2 |  | 452 | 451 | 445 | 441 | 432 | 410 | 407 | 399 | 408 | 398 | 394 | 385
71002 | 1 | 32 | 378 | 370 | 361 | 358 | 338 | 333 | 356 | 371 | 382 | 370 | 381 | 376
71002 | 2 |  | 362 | 379 | 380 | 380 | 378 | 368 | 359 | 362 | 356 | 362 | 359 | 355
71102 | 1 | 42 | 354 | 348 | 341 | 344 | 340 | 355 | 369 | 404 | 401 | 414 | 401 | 393
71102 | 2 |  | 400 | 415 | 422 | 407 | 399 | 378 | 373 | 367 | 370 | 365 | 353 | 346
71202 | 1 | 52 | 346 | 343 | 329 | 332 | 334 | 347 | 375 | 399 | 412 | 420 | 429 | 423
71202 | 2 |  | 427 | 426 | 412 | 404 | 398 | 394 | 385 | 376 | 369 | 364 | 339 | 340
71302 | 1 | 62 | 338 | 332 | 329 | 325 | 317 | 309 | 337 | 339 | 342 | 358 | 364 | 360
71302 | 2 |  | 360 | 361 | 359 | 354 | 352 | 349 | 344 | 344 | 340 | 341 | 333 | 321
71402 | 1 | 72 | 314 | 315 | 322 | 314 | 300 | 300 | 307 | 313 | 330 | 334 | 337 | 344
71402 | 2 |  | 346 | 345 | 349 | 349 | 345 | 344 | 347 | 335 | 336 | 335 | 336 | 331
71502 | 1 | 12 | 332 | 331 | 334 | 330 | 336 | 353 | 382 | 415 | 422 | 445 | 452 | 447
71502 | 2 |  | 441 | 435 | 446 | 435 | 432 | 400 | 387 | 392 | 390 | 392 | 382 | 367
71602 | 1 | 22 | 358 | 356 | 352 | 347 | 349 | 362 | 392 | 416 | 421 | 429 | 437 | 440
71602 | 2 |  | 441 | 443 | 439 | 434 | 422 | 404 | 379 | 388 | 384 | 391 | 385 | 370
71702 | 1 | 32 | 364 | 362 | 355 | 356 | 366 | 377 | 407 | 428 | 436 | 445 | 447 | 445
71702 | 2 |  | 449 | 450 | 455 | 437 | 424 | 411 | 404 | 399 | 395 | 392 | 386 | 382
71802 | 1 | 42 | 375 | 373 | 364 | 375 | 376 | 390 | 428 | 456 | 465 | 472 | 477 | 457
71802 | 2 |  | 465 | 469 | 458 | 448 | 432 | 420 | 406 | 401 | 398 | 388 | 380 | 372
71902 | 1 | 52 | 372 | 367 | 363 | 365 | 356 | 367 | 397 | 417 | 424 | 432 | 424 | 410
71902 | 2 |  | 415 | 405 | 395 | 404 | 404 | 406 | 394 | 395 | 390 | 384 | 372 | 360
72002 | 1 | 62 | 354 | 345 | 346 | 347 | 352 | 358 | 358 | 359 | 353 | 360 | 365 | 364
72002 | 2 |  | 365 | 366 | 367 | 366 | 348 | 356 | 352 | 349 | 349 | 341 | 334 | 331
72102 | 1 | 72 | 324 | 322 | 321 | 319 | 318 | 322 | 322 | 311 | 323 | 335 | 347 | 356
72102 | 2 |  | 369 | 367 | 363 | 359 | 345 | 340 | 337 | 328 | 331 | 335 | 333 | 335
72202 | 1 | 12 | 337 | 335 | 335 | 338 | 343 | 364 | 394 | 420 | 432 | 445 | 453 | 434
72202 | 2 |  | 431 | 449 | 445 | 431 | 421 | 405 | 389 | 400 | 395 | 388 | 394 | 384
72302 | 1 | 22 | 376 | 375 | 379 | 384 | 393 | 409 | 432 | 434 | 431 | 442 | 447 | 437
72302 | 2 |  | 437 | 429 | 405 | 393 | 389 | 398 | 388 | 385 | 388 | 389 | 381 | 374
72402 | 1 | 32 | 361 | 359 | 364 | 362 | 366 | 384 | 414 | 444 | 451 | 446 | 454 | 449
72402 | 2 |  | 458 | 463 | 452 | 437 | 420 | 386 | 402 | 399 | 399 | 393 | 381 | 366
72502 | 1 | 42 | 360 | 346 | 347 | 344 | 349 | 356 | 377 | 412 | 428 | 443 | 443 | 437
72502 | 2 |  | 439 | 442 | 434 | 420 | 406 | 399 | 389 | 372 | 379 | 378 | 366 | 358
72602 | 1 | 52 | 352 | 343 | 331 | 334 | 346 | 362 | 388 | 413 | 423 | 426 | 408 | 421
72602 | 2 |  | 420 | 417 | 407 | 402 | 396 | 386 | 375 | 371 | 369 | 361 | 354 | 340
72702 | 1 | 62 | 328 | 324 | 314 | 323 | 322 | 327 | 335 | 341 | 351 | 356 | 349 | 352
72702 | 2 |  | 348 | 346 | 347 | 341 | 345 | 339 | 332 | 329 | 332 | 325 | 322 | 317
72802 | 1 | 72 | 319 | 319 | 318 | 317 | 316 | 316 | 319 | 323 | 332 | 336 | 339 | 338
72802 | 2 |  | 338 | 340 | 344 | 340 | 336 | 335 | 336 | 339 | 338 | 335 | 337 | 347
72902 | 1 | 12 | 346 | 348 | 352 | 355 | 361 | 373 | 409 | 436 | 439 | 445 | 459 | 451
72902 | 2 |  | 454 | 465 | 456 | 438 | 423 | 409 | 407 | 401 | 390 | 392 | 390 | 368
73002 | 1 | 22 | 360 | 350 | 350 | 361 | 382 | 403 | 431 | 457 | 461 | 465 | 468 | 455
73002 | 2 |  | 457 | 452 | 456 | 447 | 429 | 420 | 416 | 407 | 406 | 414 | 412 | 402
73102 | 1 | 32 | 393 | 385 | 379 | 376 | 376 | 386 | 420 | 439 | 449 | 452 | 460 | 450
73102 | 2 |  | 425 | 429 | 426 | 415 | 395 | 401 | 407 | 399 | 396 | 400 | 397 | 391
80102 | 1 | 42 | 381 | 387 | 386 | 390 | 395 | 405 | 436 | 461 | 468 | 443 | 445 | 435
80102 | 2 |  | 453 | 451 | 443 | 426 | 412 | 398 | 399 | 405 | 415 | 409 | 396 | 383
80202 | 1 | 52 | 373 | 372 | 371 | 371 | 377 | 387 | 399 | 432 | 440 | 443 | 450 | 447
80202 | 2 |  | 452 | 446 | 435 | 437 | 427 | 427 | 414 | 409 | 404 | 397 | 374 | 366
80302 | 1 | 62 | 361 | 362 | 361 | 354 | 352 | 353 | 353 | 359 | 370 | 380 | 385 | 375
80302 | 2 |  | 369 | 367 | 361 | 354 | 344 | 342 | 347 | 357 | 353 | 354 | 351 | 344
80402 | 1 | 72 | 337 | 330 | 329 | 334 | 332 | 335 | 336 | 346 | 350 | 362 | 357 | 332
80402 | 2 |  | 320 | 333 | 344 | 352 | 351 | 357 | 352 | 353 | 352 | 345 | 349 | 350
80502 | 1 | 12 | 351 | 346 | 346 | 349 | 352 | 370 | 393 | 421 | 422 | 417 | 432 | 431
80502 | 2 |  | 428 | 425 | 425 | 401 | 400 | 391 | 381 | 377 | 364 | 384 | 389 | 384
80602 | 1 | 22 | 376 | 373 | 369 | 367 | 366 | 370 | 406 | 442 | 440 | 423 | 419 | 417
80602 | 2 |  | 415 | 439 | 420 | 408 | 400 | 388 | 385 | 380 | 386 | 381 | 374 | 365
80702 | 1 | 32 | 364 | 380 | 382 | 384 | 388 | 396 | 423 | 445 | 457 | 457 | 447 | 446
80702 | 2 |  | 449 | 453 | 450 | 434 | 426 | 418 | 414 | 423 | 423 | 421 | 412 | 402
80802 | 1 | 42 | 395 | 386 | 386 | 385 | 386 | 397 | 434 | 457 | 470 | 474 | 469 | 454
80802 | 2 |  | 464 | 469 | 460 | 446 | 435 | 418 | 413 | 407 | 416 | 411 | 405 | 397
80902 | 1 | 52 | 392 | 387 | 383 | 383 | 390 | 401 | 420 | 440 | 458 | 475 | 479 | 468
80902 | 2 |  | 468 | 466 | 434 | 430 | 416 | 415 | 410 | 408 | 400 | 392 | 381 | 376
81002 | 1 | 62 | 371 | 368 | 360 | 361 | 360 | 350 | 347 | 360 | 367 | 370 | 370 | 375
81002 | 2 |  | 364 | 352 | 361 | 357 | 355 | 355 | 341 | 335 | 341 | 340 | 335 | 330
81102 | 1 | 72 | 332 | 340 | 343 | 336 | 338 | 336 | 338 | 347 | 346 | 355 | 363 | 365
81102 | 2 |  | 370 | 370 | 366 | 364 | 365 | 361 | 353 | 357 | 353 | 347 | 355 | 359
81202 | 1 | 12 | 352 | 350 | 352 | 351 | 347 | 364 | 399 | 435 | 454 | 458 | 461 | 450
81202 | 2 |  | 464 | 464 | 458 | 447 | 435 | 418 | 407 | 407 | 405 | 406 | 399 | 388
81302 | 1 | 22 | 383 | 372 | 370 | 371 | 375 | 393 | 425 | 440 | 437 | 441 | 458 | 490
81302 | 2 |  | 471 | 478 | 449 | 436 | 424 | 409 | 402 | 405 | 400 | 394 | 402 | 401
81402 | 1 | 32 | 389 | 384 | 380 | 382 | 382 | 398 | 433 | 448 | 467 | 477 | 469 | 462
81402 | 2 |  | 460 | 457 | 445 | 427 | 415 | 401 | 396 | 403 | 401 | 401 | 396 | 397
81502 | 1 | 42 | 386 | 387 | 381 | 385 | 390 | 403 | 426 | 446 | 452 | 456 | 470 | 460
81502 | 2 |  | 458 | 464 | 453 | 438 | 428 | 418 | 406 | 399 | 409 | 402 | 380 | 375
81602 | 1 | 52 | 379 | 375 | 362 | 369 | 393 | 410 | 434 | 441 | 455 | 455 | 452 | 447
81602 | 2 |  | 446 | 452 | 436 | 418 | 411 | 397 | 388 | 385 | 387 | 375 | 379 | 376
81702 | 1 | 62 | 377 | 370 | 371 | 364 | 364 | 361 | 370 | 380 | 376 | 374 | 373 | 398
81702 | 2 |  | 391 | 392 | 390 | 399 | 384 | 383 | 376 | 373 | 376 | 375 | 374 | 368
81802 | 1 | 72 | 337 | 334 | 329 | 335 | 346 | 348 | 346 | 352 | 351 | 353 | 345 | 348
81802 | 2 |  | 357 | 350 | 344 | 357 | 362 | 366 | 361 | 362 | 364 | 359 | 364 | 363
81902 | 1 | 12 | 360 | 366 | 367 | 372 | 380 | 397 | 426 | 441 | 449 | 456 | 452 | 446
81902 | 2 |  | 449 | 454 | 443 | 429 | 409 | 407 | 401 | 399 | 386 | 386 | 400 | 395
82002 | 1 | 22 | 388 | 382 | 382 | 385 | 391 | 408 | 436 | 443 | 453 | 454 | 450 | 446
82002 | 2 |  | 450 | 446 | 454 | 442 | 427 | 415 | 414 | 410 | 407 | 407 | 400 | 379
82102 | 1 | 32 | 377 | 369 | 361 | 363 | 360 | 385 | 412 | 433 | 438 | 451 | 458 | 443
82102 | 2 |  | 453 | 446 | 443 | 419 | 417 | 401 | 388 | 380 | 377 | 375 | 370 | 363
82202 | 1 | 42 | 355 | 350 | 350 | 348 | 346 | 375 | 402 | 409 | 405 | 432 | 440 | 426
82202 | 2 |  | 431 | 442 | 437 | 436 | 419 | 404 | 388 | 383 | 390 | 398 | 399 | 389
82302 | 1 | 52 | 372 | 349 | 354 | 357 | 365 | 392 | 407 | 405 | 398 | 420 | 428 | 429
82302 | 2 |  | 428 | 428 | 425 | 414 | 415 | 406 | 388 | 385 | 365 | 377 | 373 | 357
82402 | 1 | 62 | 349 | 347 | 352 | 349 | 345 | 350 | 356 | 359 | 363 | 369 | 354 | 356
82402 | 2 |  | 349 | 355 | 358 | 358 | 354 | 337 | 331 | 331 | 335 | 332 | 343 | 337
82502 | 1 | 72 | 331 | 332 | 328 | 328 | 323 | 325 | 330 | 337 | 341 | 329 | 359 | 357
82502 | 2 |  | 360 | 365 | 363 | 345 | 341 | 335 | 334 | 334 | 338 | 337 | 336 | 349
82602 | 1 | 12 | 354 | 349 | 353 | 359 | 367 | 378 | 398 | 422 | 429 | 436 | 439 | 439
82602 | 2 |  | 441 | 439 | 435 | 428 | 416 | 407 | 410 | 395 | 387 | 383 | 391 | 388
82702 | 1 | 22 | 383 | 376 | 369 | 375 | 378 | 396 | 415 | 436 | 429 | 439 | 444 | 439
82702 | 2 |  | 436 | 437 | 435 | 414 | 411 | 395 | 397 | 394 | 390 | 384 | 390 | 384
82802 | 1 | 32 | 372 | 364 | 363 | 363 | 363 | 382 | 397 | 406 | 426 | 447 | 429 | 423
82802 | 2 |  | 444 | 442 | 446 | 439 | 428 | 416 | 410 | 400 | 390 | 393 | 390 | 383
82902 | 1 | 42 | 375 | 368 | 367 | 365 | 369 | 380 | 393 | 416 | 416 | 403 | 415 | 411
82902 | 2 |  | 436 | 447 | 483 | 457 | 417 | 411 | 403 | 383 | 373 | 392 | 387 | 376
83002 | 1 | 52 | 375 | 372 | 370 | 367 | 368 | 382 | 409 | 427 | 428 | 439 | 450 | 444
83002 | 2 |  | 447 | 443 | 432 | 445 | 430 | 428 | 421 | 414 | 403 | 387 | 377 | 364
83102 | 1 | 62 | 359 | 353 | 354 | 355 | 353 | 360 | 363 | 353 | 365 | 365 | 367 | 358
83102 | 2 |  | 345 | 345 | 347 | 348 | 345 | 339 | 325 | 326 | 309 | 325 | 317 | 310
90102 | 1 | 72 | 312 | 308 | 306 | 309 | 307 | 311 | 312 | 313 | 318 | 323 | 334 | 337
90102 | 2 |  | 337 | 339 | 345 | 342 | 336 | 333 | 327 | 331 | 326 | 316 | 312 | 312
90202 | 1 | 82 | 311 | 308 | 304 | 292 | 300 | 303 | 309 | 309 | 304 | 309 | 324 | 325
90202 | 2 |  | 326 | 327 | 320 | 334 | 334 | 321 | 326 | 327 | 329 | 327 | 337 | 339
90302 | 1 | 22 | 333 | 335 | 335 | 338 | 342 | 362 | 405 | 426 | 440 | 446 | 457 | 451
90302 | 2 |  | 454 | 455 | 437 | 434 | 420 | 418 | 419 | 412 | 407 | 408 | 401 | 396
90402 | 1 | 32 | 388 | 385 | 380 | 374 | 377 | 388 | 397 | 432 | 443 | 423 | 421 | 414
90402 | 2 |  | 416 | 423 | 419 | 415 | 405 | 396 | 391 | 399 | 396 | 391 | 392 | 388
90502 | 1 | 42 | 377 | 376 | 373 | 372 | 374 | 381 | 401 | 421 | 428 | 429 | 458 | 439
90502 | 2 |  | 427 | 426 | 439 | 424 | 413 | 398 | 398 | 396 | 388 | 384 | 382 | 379
90602 | 1 | 52 | 375 | 367 | 366 | 364 | 364 | 380 | 390 | 407 | 422 | 427 | 438 | 433
90602 | 2 |  | 434 | 449 | 450 | 432 | 423 | 410 | 403 | 396 | 396 | 389 | 381 | 366
90702 | 1 | 62 | 360 | 356 | 344 | 343 | 343 | 344 | 344 | 354 | 364 | 373 | 383 | 380
90702 | 2 |  | 378 | 381 | 377 | 378 | 372 | 368 | 353 | 357 | 353 | 347 | 340 | 325
90802 | 1 | 72 | 318 | 326 | 321 | 326 | 325 | 332 | 329 | 330 | 339 | 346 | 349 | 349
90802 | 2 |  | 351 | 363 | 366 | 369 | 363 | 360 | 355 | 362 | 359 | 361 | 365 | 368
90902 | 1 | 12 | 371 | 371 | 370 | 370 | 378 | 389 | 418 | 441 | 455 | 476 | 482 | 475
90902 | 2 |  | 477 | 477 | 458 | 446 | 422 | 415 | 409 | 404 | 413 | 411 | 405 | 387
91002 | 1 | 22 | 376 | 371 | 373 | 374 | 376 | 386 | 407 | 424 | 444 | 444 | 453 | 443
91002 | 2 |  | 447 | 462 | 457 | 453 | 408 | 406 | 407 | 409 | 414 | 415 | 411 | 398
91102 | 1 | 32 | 395 | 386 | 395 | 387 | 379 | 387 | 416 | 446 | 459 | 457 | 450 | 457
91102 | 2 |  | 461 | 463 | 450 | 434 | 419 | 410 | 390 | 393 | 394 | 382 | 376 | 366
91202 | 1 | 42 | 355 | 362 | 364 | 362 | 376 | 390 | 409 | 426 | 439 | 439 | 425 | 422
91202 | 2 |  | 432 | 437 | 443 | 437 | 421 | 411 | 405 | 391 | 394 | 391 | 382 | 376
91302 | 1 | 52 | 370 | 364 | 359 | 362 | 367 | 385 | 407 | 421 | 427 | 442 | 454 | 436
91302 | 2 |  | 430 | 441 | 438 | 424 | 421 | 409 | 405 | 402 | 392 | 383 | 378 | 370
91402 | 1 | 62 | 359 | 352 | 349 | 347 | 337 | 344 | 349 | 342 | 354 | 352 | 352 | 343
91402 | 2 |  | 341 | 335 | 342 | 341 | 331 | 331 | 324 | 327 | 319 | 320 | 319 | 314
91502 | 1 | 72 | 327 | 329 | 329 | 329 | 332 | 339 | 340 | 338 | 340 | 341 | 353 | 358
91502 | 2 |  | 352 | 359 | 356 | 359 | 345 | 344 | 337 | 348 | 353 | 345 | 351 | 363
91602 | 1 | 12 | 372 | 366 | 364 | 360 | 365 | 373 | 403 | 428 | 432 | 438 | 442 | 436
91602 | 2 |  | 436 | 436 | 437 | 423 | 417 | 405 | 398 | 400 | 391 | 393 | 387 | 367
91702 | 1 | 22 | 361 | 361 | 362 | 363 | 368 | 371 | 387 | 407 | 418 | 422 | 423 | 429
91702 | 2 |  | 429 | 431 | 426 | 412 | 402 | 388 | 381 | 376 | 367 | 367 | 369 | 365
91802 | 1 | 32 | 357 | 350 | 349 | 351 | 359 | 372 | 384 | 409 | 415 | 413 | 410 | 412
91802 | 2 |  | 415 | 426 | 430 | 424 | 415 | 397 | 398 | 393 | 390 | 386 | 376 | 368
91902 | 1 | 42 | 361 | 361 | 361 | 358 | 366 | 380 | 403 | 407 | 433 | 424 | 433 | 432
91902 | 2 |  | 436 | 441 | 440 | 431 | 415 | 404 | 395 | 396 | 400 | 397 | 390 | 387
92002 | 1 | 52 | 378 | 372 | 370 | 369 | 375 | 387 | 408 | 434 | 445 | 448 | 453 | 451
92002 | 2 |  | 457 | 460 | 448 | 437 | 419 | 412 | 408 | 406 | 399 | 393 | 435 | 440
92102 | 1 | 62 | 396 | 389 | 376 | 381 | 384 | 384 | 394 | 406 | 412 | 413 | 417 | 417
92102 | 2 |  | 415 | 415 | 410 | 409 | 406 | 399 | 390 | 401 | 396 | 393 | 391 | 379
92202 | 1 | 72 | 376 | 368 | 375 | 375 | 378 | 378 | 386 | 388 | 373 | 379 | 360 | 351
92202 | 2 |  | 362 | 366 | 369 | 367 | 369 | 365 | 356 | 357 | 353 | 368 | 366 | 371
92302 | 1 | 12 | 375 | 371 | 374 | 379 | 382 | 397 | 424 | 442 | 453 | 467 | 480 | 459
92302 | 2 |  | 484 | 485 | 477 | 462 | 444 | 431 | 425 | 425 | 418 | 421 | 407 | 387
92402 | 1 | 22 | 386 | 376 | 367 | 360 | 361 | 372 | 401 | 426 | 426 | 424 | 428 | 430
92402 | 2 |  | 438 | 441 | 434 | 428 | 410 | 396 | 394 | 392 | 390 | 387 | 383 | 369
92502 | 1 | 32 | 360 | 358 | 354 | 356 | 359 | 387 | 402 | 420 | 441 | 456 | 452 | 451
92502 | 2 |  | 457 | 457 | 447 | 433 | 420 | 411 | 404 | 400 | 393 | 395 | 386 | 378
92602 | 1 | 42 | 367 | 360 | 356 | 353 | 362 | 380 | 393 | 419 | 425 | 416 | 422 | 415
92602 | 2 |  | 415 | 417 | 422 | 393 | 386 | 382 | 378 | 376 | 376 | 376 | 381 | 375
92702 | 1 | 52 | 366 | 360 | 356 | 354 | 365 | 380 | 398 | 427 | 434 | 408 | 410 | 413
92702 | 2 |  | 436 | 437 | 423 | 396 | 393 | 402 | 407 | 397 | 396 | 389 | 373 | 357
92802 | 1 | 62 | 347 | 344 | 342 | 332 | 335 | 340 | 361 | 357 | 360 | 368 | 377 | 373
92802 | 2 |  | 373 | 375 | 374 | 367 | 365 | 350 | 344 | 330 | 334 | 313 | 318 | 309
92902 | 1 | 72 | 308 | 305 | 303 | 295 | 292 | 295 | 296 | 301 | 302 | 304 | 318 | 319
92902 | 2 |  | 320 | 322 | 322 | 321 | 324 | 325 | 317 | 305 | 308 | 317 | 331 | 330
93002 | 1 | 12 | 332 | 327 | 331 | 327 | 331 | 346 | 375 | 397 | 408 | 405 | 424 | 422
93002 | 2 |  | 427 | 433 | 420 | 401 | 400 | 389 | 387 | 376 | 375 | 380 | 391 | 381
100102 | 1 | 22 | 373 | 368 | 362 | 361 | 366 | 385 | 410 | 419 | 438 | 433 | 426 | 449
100102 | 2 |  | 459 | 445 | 429 | 425 | 414 | 405 | 402 | 403 | 406 | 401 | 398 | 392
100202 | 1 | 32 | 386 | 375 | 370 | 372 | 375 | 396 | 425 | 444 | 454 | 458 | 470 | 465
100202 | 2 |  | 446 | 447 | 437 | 429 | 420 | 407 | 404 | 405 | 399 | 398 | 389 | 381
100302 | 1 | 42 | 368 | 361 | 364 | 370 | 372 | 383 | 404 | 421 | 430 | 434 | 437 | 433
100302 | 2 |  | 426 | 420 | 404 | 396 | 385 | 373 | 377 | 383 | 380 | 380 | 385 | 376
100402 | 1 | 52 | 365 | 357 | 354 | 349 | 360 | 368 | 390 | 397 | 421 | 425 | 428 | 411
100402 | 2 |  | 403 | 407 | 402 | 387 | 380 | 373 | 373 | 366 | 360 | 363 | 351 | 336
100502 | 1 | 62 | 331 | 327 | 326 | 324 | 323 | 333 | 348 | 348 | 349 | 341 | 334 | 329
100502 | 2 |  | 318 | 332 | 337 | 333 | 329 | 321 | 322 | 318 | 314 | 309 | 309 | 303
100602 | 1 | 72 | 298 | 298 | 300 | 296 | 298 | 299 | 301 | 314 | 310 | 295 | 297 | 298
100602 | 2 |  | 293 | 289 | 293 | 293 | 309 | 316 | 317 | 315 | 312 | 312 | 316 | 334
100702 | 1 | 12 | 341 | 343 | 341 | 342 | 353 | 359 | 389 | 418 | 431 | 434 | 438 | 436
100702 | 2 |  | 436 | 443 | 438 | 423 | 407 | 394 | 395 | 386 | 380 | 376 | 373 | 361
100802 | 1 | 22 | 347 | 354 | 359 | 362 | 364 | 379 | 402 | 412 | 408 | 420 | 424 | 403
100802 | 2 |  | 415 | 420 | 416 | 411 | 392 | 380 | 378 | 378 | 379 | 386 | 392 | 384
100902 | 1 | 32 | 378 | 374 | 370 | 371 | 377 | 392 | 420 | 437 | 448 | 451 | 458 | 452
100902 | 2 |  | 448 | 454 | 441 | 426 | 415 | 406 | 408 | 406 | 401 | 400 | 391 | 380
101002 | 1 | 42 | 375 | 370 | 366 | 367 | 372 | 391 | 420 | 439 | 437 | 445 | 436 | 430
101002 | 2 |  | 431 | 429 | 419 | 408 | 403 | 390 | 380 | 372 | 372 | 378 | 381 | 375
101102 | 1 | 52 | 370 | 366 | 366 | 373 | 379 | 395 | 412 | 431 | 436 | 432 | 440 | 434
101102 | 2 |  | 432 | 428 | 422 | 401 | 387 | 378 | 382 | 375 | 376 | 383 | 374 | 357
101202 | 1 | 62 | 340 | 335 | 345 | 344 | 347 | 345 | 351 | 367 | 356 | 355 | 361 | 350
101202 | 2 |  | 350 | 348 | 349 | 346 | 345 | 343 | 340 | 336 | 334 | 330 | 332 | 334
101302 | 1 | 72 | 331 | 332 | 332 | 330 | 330 | 338 | 329 | 332 | 331 | 328 | 330 | 331
101302 | 2 |  | 333 | 321 | 322 | 324 | 318 | 317 | 320 | 319 | 313 | 322 | 342 | 338
101402 | 1 | 82 | 348 | 344 | 343 | 342 | 344 | 356 | 381 | 402 | 410 | 409 | 409 | 408
101402 | 2 |  | 403 | 412 | 413 | 405 | 394 | 383 | 385 | 381 | 378 | 377 | 382 | 380
101502 | 1 | 22 | 375 | 370 | 371 | 367 | 370 | 372 | 388 | 406 | 422 | 425 | 431 | 424
101502 | 2 |  | 423 | 426 | 418 | 406 | 396 | 389 | 393 | 391 | 387 | 373 | 385 | 375
101602 | 1 | 32 | 372 | 375 | 372 | 370 | 373 | 382 | 398 | 421 | 425 | 429 | 435 | 441
101602 | 2 |  | 427 | 429 | 422 | 416 | 406 | 383 | 388 | 384 | 390 | 401 | 394 | 393
101702 | 1 | 42 | 374 | 357 | 352 | 351 | 349 | 356 | 371 | 389 | 398 | 400 | 401 | 397
101702 | 2 |  | 399 | 397 | 402 | 389 | 387 | 365 | 365 | 362 | 360 | 357 | 356 | 355
101802 | 1 | 52 | 346 | 334 | 338 | 339 | 347 | 365 | 398 | 405 | 410 | 407 | 405 | 408
101802 | 2 |  | 400 | 413 | 402 | 383 | 372 | 363 | 359 | 354 | 353 | 389 | 412 | 401
101902 | 1 | 62 | 361 | 360 | 357 | 353 | 354 | 357 | 365 | 371 | 364 | 362 | 365 | 365
101902 | 2 |  | 362 | 364 | 355 | 354 | 361 | 359 | 357 | 354 | 353 | 351 | 349 | 344
102002 | 1 | 72 | 344 | 340 | 336 | 334 | 336 | 336 | 347 | 341 | 342 | 347 | 343 | 345
102002 | 2 |  | 343 | 340 | 343 | 347 | 334 | 334 | 333 | 327 | 330 | 337 | 351 | 354
102102 | 1 | 12 | 389 | 390 | 333 | 318 | 327 | 350 | 378 | 383 | 400 | 400 | 401 | 394
102102 | 2 |  | 397 | 401 | 397 | 392 | 379 | 366 | 356 | 348 | 339 | 353 | 352 | 348
102202 | 1 | 22 | 346 | 343 | 338 | 327 | 327 | 345 | 357 | 366 | 392 | 386 | 390 | 379
102202 | 2 |  | 387 | 398 | 389 | 389 | 390 | 383 | 376 | 373 | 371 | 381 | 385 | 377
102302 | 1 | 32 | 373 | 365 | 351 | 349 | 354 | 368 | 383 | 390 | 402 | 407 | 406 | 403
102302 | 2 |  | 400 | 405 | 402 | 388 | 378 | 370 | 359 | 357 | 360 | 359 | 367 | 365
102402 | 1 | 42 | 355 | 353 | 348 | 350 | 357 | 376 | 408 | 433 | 441 | 431 | 441 | 421
102402 | 2 |  | 428 | 436 | 422 | 408 | 391 | 389 | 388 | 388 | 387 | 384 | 380 | 373
102502 | 1 | 52 | 363 | 361 | 355 | 353 | 352 | 367 | 388 | 397 | 400 | 413 | 411 | 395
102502 | 2 |  | 395 | 401 | 393 | 379 | 371 | 365 | 366 | 363 | 356 | 349 | 343 | 337
102602 | 1 | 62 | 330 | 325 | 324 | 322 | 321 | 327 | 335 | 343 | 335 | 330 | 334 | 334
102602 | 2 |  | 331 | 324 | 325 | 321 | 324 | 319 | 312 | 311 | 304 | 308 | 316 | 312
102702 | 1 | 71 | 310 | 307 | 308 | 305 | 304 | 308 | 313 | 306 | 319 | 311 | 309 | 310
102702 | 2 |  | 322 | 325 | 318 | 318 | 313 | 326 | 325 | 323 | 321 | 325 | 334 | 337
102802 | 1 | 11 | 336 | 337 | 338 | 331 | 338 | 357 | 380 | 396 | 410 | 402 | 412 | 419
102802 | 2 |  | 426 | 433 | 426 | 401 | 399 | 390 | 379 | 375 | 371 | 366 | 379 | 381
102902 | 1 | 21 | 376 | 375 | 374 | 372 | 380 | 393 | 408 | 427 | 428 | 426 | 424 | 415
102902 | 2 |  | 419 | 428 | 414 | 403 | 395 | 391 | 392 | 392 | 388 | 397 | 400 | 392
103002 | 1 | 31 | 388 | 384 | 381 | 378 | 384 | 401 | 417 | 423 | 433 | 434 | 439 | 431
103002 | 2 |  | 439 | 447 | 429 | 414 | 408 | 402 | 397 | 397 | 393 | 391 | 398 | 402
103102 | 1 | 41 | 397 | 392 | 394 | 392 | 398 | 412 | 426 | 439 | 443 | 447 | 451 | 449
103102 | 2 |  | 452 | 453 | 430 | 416 | 415 | 396 | 394 | 387 | 389 | 393 | 394 | 385
110102 | 1 | 51 | 380 | 376 | 371 | 368 | 375 | 389 | 410 | 400 | 415 | 419 | 423 | 409
110102 | 2 |  | 413 | 404 | 399 | 387 | 379 | 371 | 370 | 368 | 372 | 365 | 364 | 359
110202 | 1 | 61 | 353 | 356 | 357 | 354 | 344 | 354 | 361 | 360 | 362 | 364 | 369 | 367
110202 | 2 |  | 338 | 354 | 354 | 360 | 366 | 364 | 356 | 357 | 359 | 355 | 365 | 360
110302 | 1 | 71 | 356 | 355 | 359 | 360 | 358 | 359 | 365 | 370 | 366 | 368 | 370 | 372
110302 | 2 |  | 367 | 364 | 362 | 362 | 359 | 345 | 352 | 355 | 351 | 356 | 366 | 368
110402 | 1 | 11 | 369 | 369 | 370 | 372 | 380 | 401 | 432 | 463 | 467 | 468 | 475 | 470
110402 | 2 |  | 462 | 459 | 448 | 432 | 421 | 409 | 403 | 397 | 413 | 412 | 405 | 397
110502 | 1 | 21 | 384 | 384 | 380 | 376 | 381 | 398 | 421 | 434 | 447 | 443 | 436 | 423
110502 | 2 |  | 428 | 431 | 435 | 430 | 416 | 409 | 407 | 397 | 389 | 387 | 385 | 375
110602 | 1 | 31 | 364 | 373 | 377 | 377 | 373 | 390 | 410 | 412 | 406 | 405 | 410 | 386
110602 | 2 |  | 395 | 401 | 405 | 389 | 372 | 362 | 359 | 367 | 372 | 377 | 383 | 377
110702 | 1 | 41 | 371 | 358 | 361 | 363 | 369 | 385 | 412 | 422 | 428 | 411 | 420 | 435
110702 | 2 |  | 444 | 442 | 450 | 444 | 432 | 408 | 413 | 403 | 411 | 414 | 409 | 393
110802 | 1 | 51 | 391 | 394 | 380 | 385 | 388 | 401 | 411 | 425 | 430 | 421 | 413 | 399
110802 | 2 |  | 406 | 413 | 411 | 396 | 382 | 362 | 364 | 370 | 375 | 369 | 362 | 350
110902 | 1 | 61 | 347 | 342 | 336 | 333 | 328 | 335 | 343 | 351 | 353 | 358 | 362 | 354
110902 | 2 |  | 348 | 345 | 346 | 344 | 343 | 342 | 327 | 326 | 324 | 331 | 319 | 314
111002 | 1 | 71 | 312 | 310 | 312 | 319 | 315 | 319 | 324 | 333 | 329 | 328 | 333 | 336
111002 | 2 |  | 338 | 337 | 340 | 345 | 343 | 340 | 338 | 337 | 334 | 327 | 325 | 320
111102 | 1 | 81 | 312 | 312 | 321 | 329 | 334 | 346 | 377 | 393 | 389 | 398 | 401 | 397
111102 | 2 |  | 389 | 401 | 395 | 398 | 384 | 381 | 362 | 353 | 364 | 366 | 364 | 360
111202 | 1 | 21 | 354 | 349 | 349 | 349 | 347 | 365 | 394 | 413 | 418 | 418 | 428 | 416
111202 | 2 |  | 416 | 423 | 413 | 402 | 387 | 376 | 367 | 362 | 361 | 374 | 370 | 360
111302 | 1 | 31 | 349 | 347 | 341 | 343 | 347 | 363 | 380 | 388 | 405 | 410 | 412 | 396
111302 | 2 |  | 385 | 389 | 385 | 374 | 374 | 353 | 353 | 355 | 361 | 363 | 349 | 336
111402 | 1 | 41 | 332 | 331 | 330 | 332 | 339 | 357 | 375 | 401 | 395 | 412 | 415 | 409
111402 | 2 |  | 404 | 405 | 397 | 387 | 378 | 357 | 356 | 354 | 346 | 361 | 351 | 345
111502 | 1 | 51 | 343 | 335 | 333 | 334 | 338 | 360 | 376 | 396 | 406 | 406 | 414 | 403
111502 | 2 |  | 402 | 405 | 395 | 385 | 381 | 366 | 356 | 345 | 346 | 360 | 348 | 339
111602 | 1 | 61 | 338 | 345 | 344 | 344 | 343 | 350 | 361 | 361 | 365 | 367 | 363 | 360
111602 | 2 |  | 358 | 352 | 351 | 349 | 345 | 338 | 343 | 341 | 339 | 324 | 316 | 319
111702 | 1 | 71 | 320 | 316 | 308 | 309 | 311 | 314 | 320 | 313 | 325 | 329 | 335 | 343
111702 | 2 |  | 340 | 319 | 321 | 332 | 331 | 330 | 323 | 324 | 311 | 307 | 320 | 327
111802 | 1 | 11 | 331 | 328 | 325 | 326 | 328 | 350 | 377 | 396 | 406 | 392 | 399 | 397
111802 | 2 |  | 404 | 414 | 412 | 406 | 394 | 401 | 398 | 385 | 391 | 393 | 384 | 378
111902 | 1 | 21 | 367 | 365 | 363 | 359 | 364 | 372 | 406 | 417 | 442 | 438 | 441 | 430
111902 | 2 |  | 433 | 438 | 430 | 417 | 405 | 387 | 376 | 386 | 388 | 384 | 388 | 381
112002 | 1 | 31 | 380 | 375 | 370 | 361 | 343 | 355 | 379 | 390 | 400 | 394 | 399 | 381
112002 | 2 |  | 395 | 397 | 383 | 375 | 361 | 346 | 347 | 341 | 339 | 345 | 352 | 350
112102 | 1 | 41 | 339 | 345 | 340 | 345 | 354 | 368 | 381 | 397 | 412 | 423 | 402 | 385
112102 | 2 |  | 389 | 388 | 405 | 391 | 389 | 373 | 379 | 385 | 371 | 377 | 368 | 357
112202 | 1 | 51 | 363 | 356 | 350 | 349 | 358 | 365 | 391 | 414 | 425 | 426 | 425 | 404
112202 | 2 |  | 409 | 415 | 407 | 392 | 386 | 372 | 373 | 374 | 374 | 366 | 352 | 341
112302 | 1 | 61 | 330 | 332 | 329 | 319 | 316 | 317 | 328 | 330 | 317 | 310 | 319 | 332
112302 | 2 |  | 333 | 316 | 317 | 320 | 314 | 309 | 313 | 318 | 323 | 323 | 322 | 329
112402 | 1 | 71 | 322 | 315 | 298 | 298 | 302 | 310 | 309 | 314 | 316 | 310 | 308 | 309
112402 | 2 |  | 309 | 310 | 306 | 309 | 309 | 298 | 298 | 301 | 299 | 298 | 296 | 289
112502 | 1 | 11 | 288 | 295 | 308 | 312 | 319 | 334 | 349 | 374 | 383 | 380 | 385 | 377
112502 | 2 |  | 375 | 376 | 371 | 364 | 356 | 352 | 356 | 366 | 366 | 367 | 363 | 348
112602 | 1 | 21 | 341 | 342 | 341 | 342 | 347 | 362 | 368 | 374 | 383 | 382 | 385 | 385
112602 | 2 |  | 395 | 405 | 404 | 397 | 380 | 365 | 361 | 369 | 373 | 369 | 366 | 356
112702 | 1 | 31 | 346 | 347 | 341 | 344 | 352 | 368 | 385 | 394 | 400 | 394 | 390 | 389
112702 | 2 |  | 389 | 407 | 395 | 379 | 366 | 353 | 348 | 350 | 352 | 350 | 340 | 327
112802 | 1 | 81 | 326 | 316 | 316 | 316 | 313 | 318 | 311 | 299 | 297 | 299 | 315 | 312
112802 | 2 |  | 309 | 309 | 309 | 308 | 311 | 312 | 316 | 318 | 318 | 317 | 319 | 317
112902 | 1 | 51 | 323 | 324 | 322 | 326 | 335 | 337 | 339 | 341 | 338 | 340 | 346 | 347
112902 | 2 |  | 340 | 332 | 327 | 329 | 338 | 332 | 335 | 329 | 327 | 323 | 316 | 311
113002 | 1 | 61 | 301 | 302 | 300 | 298 | 293 | 294 | 298 | 303 | 309 | 309 | 308 | 301
113002 | 2 |  | 298 | 294 | 292 | 288 | 310 | 312 | 313 | 312 | 310 | 307 | 306 | 303
120102 | 1 | 71 | 303 | 303 | 303 | 303 | 302 | 303 | 312 | 313 | 318 | 324 | 338 | 337
120102 | 2 |  | 336 | 336 | 339 | 340 | 347 | 339 | 339 | 342 | 345 | 351 | 360 | 360
120202 | 1 | 11 | 361 | 366 | 368 | 370 | 378 | 395 | 431 | 446 | 454 | 453 | 471 | 462
120202 | 2 |  | 465 | 470 | 464 | 447 | 432 | 427 | 426 | 421 | 418 | 422 | 414 | 411
120302 | 1 | 21 | 409 | 403 | 402 | 398 | 392 | 408 | 426 | 441 | 453 | 452 | 454 | 445
120302 | 2 |  | 446 | 448 | 445 | 436 | 430 | 419 | 417 | 399 | 400 | 408 | 412 | 404
120402 | 1 | 31 | 389 | 379 | 384 | 393 | 400 | 406 | 417 | 428 | 436 | 436 | 438 | 428
120402 | 2 |  | 446 | 451 | 454 | 443 | 447 | 429 | 418 | 410 | 407 | 412 | 412 | 417
120502 | 1 | 41 | 408 | 405 | 400 | 399 | 408 | 416 | 434 | 437 | 431 | 437 | 471 | 438
120502 | 2 |  | 440 | 449 | 449 | 444 | 432 | 414 | 408 | 449 | 457 | 450 | 460 | 454
120602 | 1 | 51 | 451 | 454 | 417 | 398 | 404 | 408 | 436 | 436 | 434 | 435 | 458 | 454
120602 | 2 |  | 445 | 449 | 449 | 434 | 417 | 394 | 389 | 387 | 387 | 390 | 384 | 380
120702 | 1 | 61 | 374 | 370 | 372 | 372 | 377 | 382 | 385 | 385 | 371 | 369 | 367 | 359
120702 | 2 |  | 355 | 352 | 350 | 344 | 348 | 331 | 330 | 339 | 331 | 334 | 336 | 337
120802 | 1 | 71 | 333 | 334 | 332 | 330 | 331 | 336 | 344 | 347 | 339 | 350 | 337 | 325
120802 | 2 |  | 320 | 333 | 331 | 334 | 333 | 319 | 324 | 326 | 333 | 342 | 349 | 354
120902 | 1 | 11 | 363 | 363 | 365 | 368 | 380 | 384 | 419 | 449 | 459 | 459 | 462 | 459
120902 | 2 |  | 462 | 450 | 448 | 441 | 415 | 412 | 413 | 407 | 391 | 398 | 402 | 399
121002 | 1 | 21 | 403 | 396 | 397 | 388 | 391 | 405 | 422 | 432 | 434 | 434 | 475 | 414
121002 | 2 |  | 406 | 412 | 429 | 431 | 413 | 405 | 397 | 405 | 423 | 423 | 412 | 404
121102 | 1 | 31 | 402 | 398 | 396 | 401 | 398 | 410 | 434 | 438 | 444 | 439 | 449 | 443
121102 | 2 |  | 451 | 449 | 438 | 433 | 418 | 391 | 383 | 399 | 409 | 405 | 396 | 390
121202 | 1 | 41 | 384 | 386 | 385 | 381 | 387 | 397 | 415 | 427 | 423 | 421 | 417 | 411
121202 | 2 |  | 405 | 407 | 406 | 409 | 393 | 375 | 365 | 362 | 366 | 382 | 384 | 380
121302 | 1 | 51 | 368 | 363 | 363 | 362 | 366 | 380 | 394 | 399 | 403 | 406 | 407 | 408
121302 | 2 |  | 417 | 422 | 415 | 405 | 393 | 375 | 383 | 376 | 371 | 368 | 352 | 341
121402 | 1 | 61 | 336 | 330 | 334 | 332 | 329 | 335 | 346 | 347 | 347 | 343 | 336 | 333
121402 | 2 |  | 334 | 327 | 324 | 330 | 334 | 326 | 315 | 305 | 316 | 326 | 317 | 319
121502 | 1 | 71 | 317 | 317 | 314 | 313 | 303 | 292 | 301 | 290 | 306 | 308 | 315 | 318
121502 | 2 |  | 319 | 328 | 335 | 339 | 344 | 341 | 336 | 333 | 325 | 335 | 345 | 348
121602 | 1 | 11 | 352 | 354 | 359 | 359 | 368 | 382 | 414 | 425 | 435 | 439 | 446 | 430
121602 | 2 |  | 413 | 417 | 424 | 423 | 420 | 403 | 394 | 389 | 389 | 381 | 373 | 377
121702 | 1 | 21 | 376 | 370 | 369 | 374 | 383 | 394 | 407 | 418 | 420 | 414 | 429 | 425
121702 | 2 |  | 425 | 424 | 416 | 413 | 395 | 390 | 385 | 383 | 385 | 384 | 379 | 373
121802 | 1 | 31 | 372 | 374 | 371 | 368 | 369 | 396 | 411 | 399 | 394 | 412 | 415 | 418
121802 | 2 |  | 418 | 422 | 410 | 412 | 407 | 386 | 390 | 394 | 398 | 396 | 392 | 395
121902 | 1 | 41 | 383 | 377 | 370 | 365 | 380 | 394 | 416 | 416 | 406 | 395 | 402 | 392
121902 | 2 |  | 396 | 389 | 376 | 362 | 375 | 377 | 372 | 363 | 367 | 372 | 364 | 359
122002 | 1 | 51 | 355 | 349 | 346 | 342 | 348 | 364 | 389 | 385 | 384 | 381 | 383 | 384
122002 | 2 |  | 389 | 394 | 380 | 376 | 375 | 366 | 353 | 328 | 336 | 330 | 327 | 319
122102 | 1 | 61 | 307 | 300 | 311 | 317 | 316 | 319 | 331 | 335 | 348 | 350 | 349 | 352
122102 | 2 |  | 349 | 347 | 344 | 333 | 335 | 318 | 306 | 304 | 304 | 310 | 326 | 331
122202 | 1 | 71 | 322 | 320 | 318 | 320 | 324 | 327 | 337 | 330 | 320 | 320 | 322 | 316
122202 | 2 |  | 324 | 318 | 320 | 329 | 334 | 309 | 313 | 320 | 320 | 314 | 325 | 323
122302 | 1 | 11 | 326 | 327 | 330 | 330 | 338 | 350 | 371 | 385 | 394 | 399 | 403 | 396
122302 | 2 |  | 390 | 397 | 390 | 379 | 372 | 355 | 351 | 346 | 342 | 344 | 346 | 341
122402 | 1 | 21 | 333 | 332 | 328 | 329 | 315 | 325 | 332 | 311 | 316 | 326 | 328 | 317
122402 | 2 |  | 311 | 306 | 289 | 280 | 272 | 259 | 259 | 266 | 272 | 267 | 270 | 270
122502 | 1 | 81 | 269 | 270 | 270 | 272 | 270 | 274 | 270 | 271 | 265 | 264 | 258 | 248
122502 | 2 |  | 255 | 259 | 260 | 258 | 263 | 262 | 261 | 262 | 262 | 259 | 259 | 256
122602 | 1 | 41 | 256 | 257 | 260 | 253 | 265 | 282 | 307 | 328 | 329 | 333 | 341 | 343
122602 | 2 |  | 344 | 356 | 357 | 356 | 353 | 344 | 353 | 349 | 350 | 342 | 338 | 347
122702 | 1 | 51 | 345 | 343 | 337 | 342 | 348 | 358 | 377 | 384 | 386 | 388 | 385 | 381
122702 | 2 |  | 389 | 384 | 376 | 377 | 376 | 367 | 364 | 364 | 377 | 366 | 355 | 352
122802 | 1 | 61 | 356 | 353 | 349 | 348 | 351 | 352 | 364 | 362 | 353 | 351 | 337 | 331
122802 | 2 |  | 334 | 338 | 338 | 338 | 339 | 321 | 327 | 339 | 340 | 340 | 331 | 328
122902 | 1 | 71 | 326 | 330 | 330 | 339 | 339 | 341 | 348 | 343 | 337 | 339 | 342 | 337
122902 | 2 |  | 336 | 337 | 337 | 335 | 338 | 340 | 343 | 347 | 348 | 353 | 354 | 356
123002 | 1 | 11 | 349 | 348 | 351 | 354 | 361 | 370 | 394 | 404 | 411 | 416 | 417 | 420
123002 | 2 |  | 424 | 423 | 415 | 406 | 400 | 391 | 386 | 378 | 367 | 361 | 356 | 357
123102 | 1 | 21 | 349 | 348 | 348 | 351 | 351 | 360 | 369 | 369 | 372 | 374 | 383 | 373
123102 | 2 |  | 363 | 362 | 353 | 341 | 333 | 325 | 322 | 312 | 307 | 304 | 299 | 294
|  | Max | 502 | 495 | 483 | 462 | 447 | 431 | 454 | 472 | 496 | 500 | 484 | 498

## summary data
customer count
January |  | 381
February |  | 381
March |  | 382
April |  | 382
May |  | 383
June |  | 383
July |  | 383
August |  | 384
September |  | 384
October |  | 384
November |  | 384
December |  | 385
Market Definition of Hours
Monthly | Peak | Monthly MWh
| MW | on-peak | off-peak | Total
January | 452 | 137258 | 142068 | 279326
February | 442 | 119795 | 126899 | 246694
March | 472 | 125870 | 128041 | 253911
April | 427 | 125657 | 120337 | 245994
May | 437 | 132924 | 122669 | 255593
June | 502 | 126209 | 133535 | 259744
July | 477 | 142309 | 132976 | 275285
August | 490 | 149274 | 143063 | 292337
September | 485 | 134242 | 142701 | 276943
October | 470 | 142062 | 137743 | 279805
November | 475 | 118687 | 142636 | 261323
December | 475 | 133394 | 141011 | 274405
|  | 1587681 | 1613679 | 3201360
CMP Definition of Hours
Monthly | Peak | Monthly MWh
| MW | on-peak | off-peak | shoulder | Total
January | 452 | 77637 | 136229 | 65460 | 279326
February | 442 | 67544 | 121288 | 57862 | 246694
March | 472 | 70973 | 123793 | 59145 | 253911
April | 427 | 71144 | 142252 | 32598 | 245994
May | 437 | 75342 | 145837 | 34414 | 255593
June | 502 | 71557 | 155329 | 32858 | 259744
July | 477 | 80650 | 157746 | 36889 | 275285
August | 490 | 84434 | 168960 | 38943 | 292337
September | 485 | 75690 | 166214 | 35039 | 276943
October | 470 | 80336 | 162777 | 36692 | 279805
November | 475 | 67073 | 163674 | 30576 | 261323
December | 475 | 75386 | 135228 | 63791 | 274405
|  | 897766 | 1779327 | 524267 | 3201360