10-144		DEPARTMENT OF HUMAN SERVICES

BUREAU OF HEALTH

Chapter 233:		RULES RELATING TO TESTING OF PRIVATE WATER SYSTEMS FOR POTENTIALLY HAZARDOUS CONTAMINANTS

Department of Human Services

Division of Health Engineering

10 State House, Station

Augusta, Maine 04330

TABLE OF CONTENTS

1	GENERAL

2.	DEFINITIONS

3	FEES FOR TESTING WATER SUPPLIES

4.	DEPARTMENTAL REVIEW CRITERIA

5.	COOPERATION WITH LOCAL HEALTH OFFICER

6	RECOVERY OF TESTING COSTS

7.	INFORMATION ON PRIVATE WATER SUPPLY CONTAMINATION

*Page numbers left blank due to different print format and resultant different page numbers of printed Rules.

Rules Relating to Testing

of Private Water Systems For

Potentially Hazardous Contaminants

Department of Human Services

Bureau of Health

State House Station 10

Augusta, Maine 04333

1.	GENERAL

1.1.	Purpose and Intent

The purpose and intent of these rules are to establish criteria to determine eligibility for the waiving of fees incurred with testing of private residential water supplies for potentially hazardous contaminants.

1.2	Effective Date

These Rules shall become effective December 1, 1984.

1.3	Authority

22 MRSA §2602-A, c.837 PL 1984.

1.4	Severability

The provisions of the Rules are severable.  If any provision of the Rules is found to be invalid, or if the application of the Rules to any person or circumstance is invalid, such invalidity shall not affect other provisions or applications which can be given effect without the invalid provision or application.

1.5	Right of Entry

Upon request for assistance to determine the possible existence of a potentially hazardous contaminant, the applicant shall be informed by the Department and agree in writing to grant the Department and any duly designated representative or employee thereof, including the local health officer, permission to:

1.5.1	Enter any property during reasonable hours; or

1.5.2	Inspect the property or structure for the presence of potentially hazardous contaminants; or

1.5.3	Inspect or collect samples from wells, springs or piping systems of a water supply.

1.5.4	Upon the request of the applicant, the Department's representative or local health officer shall present proper credentials prior to entering the premises.

1.5.5	Should entry be denied and a sample be taken by anyone other than a Department representative or employee, the Department may refuse to waive the cost of testing.

2.	DEFINITIONS

2.1	Action Level

An action level is a contaminant level used by departmental staff in its decision making process.

2.2	Applicant

The legal owner of a water supply or the inhabitants of a residential dwelling served by a water supply.

2.3	Department

Maine Department of Human Services.

2.4	Director

The Director of the Bureau of Health, Maine Department of Human Services.

2.5	EPA

The U.S. Environmental Protection Agency.

2.6	Maximum Exposure Guidelines

The maximum contaminant level (MCL) or health advisory of a chemical or man-made radiological contaminant in drinking water established by EPA and/or the Director.  MCL's established by the Director may be stricter than but not less strict than the EPA MCLs.

2.7	Potentially Hazardous Contaminant

Any chemical or man-made radiological substance or material considered by the Department to be a potential danger to the health of an individual.  For purposes of this definition coliform group bacteria or protozoans are not classified as a potentially hazardous contaminant unless determined to be from a known man-made source.

2.8	Private Residential Water Supply

A water supply serving less than 25 people and/or less than 15 service connections with at least one of these service connections providing water to a residence occupied by a single family at least nine months of a calendar year.

2.9	Public Health  Laboratory

The Public Health Laboratory, Maine Department of Human Services

2.10	Water Supply

See Private Residential Water Supply.

3.	FEES FOR TESTING WATER SUPPLIES

3.1	Analysis Fees

The Public Health Laboratory charges the average cost for any examination, testing or analysis for water supplies.  These fees are listed in appendix A and may be updated periodically.

3.2	Waiving Analysis Fees

The Department will waive the cost of the water analysis if it determines that additional water analyses are essential to establish whether a water supply contains contamination potentially hazardous to human health and the maintenance of public health, and:

3.2.1	Initial testing or screening performed at the expense of the applicant has exceeded $150.00 and meets the time criteria in section 4.3.3, or;

3.2.2	The applicant furnishes proof of food stamp eligibility as determined by the Department of Human Services, Bureau of Income Maintenance.

3.2.3	Any person receiving a free analysis under these rules shall pay the necessary return shipping charges or otherwise arranges transport of the sample to the Public Health laboratory.

3.3	Contact

Any request to waive the cost of water analysis are to be directed to the Division of Health Engineering, Drinking Water Program, telephone number 287-3826.

4.	DEPARTMENTAL REVIEW CRITERIA

The Department will use the following criteria in its determinations of whether or not to waive the cost of analyses:

4.1	Water Supply Inventory Form

The Department will review the "Water Supply Inventory Form" completed by the applicant (See Appendix D) and will take into consideration;

4.1.1	Information provided by the owner or user of the water supply voluntarily, or in response to questions, asked by personnel of the Department.

4.1.2	The proximity of the water supply to a known or suspected source(s) of contamination, or other water supply known to be, contaminated,

4.2	Physician Requests

The Department will consider all written information or requests provided by a physician who has seen or treated a person and who has identified contaminated drinking water as a possible cause of the person's condition or symptoms.

4.3	Previous water analyses

The Department will consider previous water analyses which indicate the presence of potentially hazardous contamination.

4.3.1	These analyses shall have been performed by a laboratory certified by the Department for the contaminants in question, or by the Public Health Laboratory.  See Appendix B

4.3.2	The Department reserves the right to interpret all analyses.

4.3.3	The Department in establishing the $ 150.00 maximum analysis expenditure, will consider;

4.3.3.1	until 6/30/85 analyses less than five years old, and

4.3.3.2	after 7/l/85, analyses less than three years old.

4.3.4	The Department will give no credit towards the $150.00 maximum expenditure for analyses determined by the Department as not being useful in resolving whether a water supply is affected by potentially hazardous contaminants.

4.4	Potentially hazardous contaminant determination

The Department in making a determination whether a contaminant is potentially hazardous, will utilize the action levels indicated in Appendix C. Any contaminants not included in Appendix C will be evaluated by the Department based on available scientific information.

4.5	Hydrological studies

The Department will consider hydrological studies performed for or by other state agencies.

4.6	Appropriate analysis

The Department reserves the right to select the most appropriate analysis and sampling frequency.

4.7	TERMINATION OF SAMPLING

When two consecutive tests indicate a level of contamination less than the action level and is stable any further testing shall be at the expense of the applicant unless there is clear upward trend.

5.	COOPERATION WITH LOCAL HEALTH OFFICER

The Department and the Department of Environmental Protection, to the extent possible, shall notify and utilize the services of local health officers in collecting and evaluating information relating to actual or potential ground water contamination.

6.	RECOVERY OF TESTING COSTS

Whenever the cost of testing a water supply exceeds $150.00 and that testing is conducted pursuant to section 22 MRSA §2602-A, the Department shall seek to recover the costs of the testing above $150.00 from the person responsible for contaminating the water supply, or from the recipient of any compensation for contamination of the well.

7.	INFORMATION ON PRIVATE WATER SUPPLY CONTAMINATION

7.1	The Department shall make available to all persons reporting potential contamination an application for private water supply testing, which application clearly states the type and cost of tests designed to determine whether such contamination exists.

7.2	The Department shall make available informational materials which will assist in educating the general public about symptoms or indications of contamination, and which will describe the availability and scope of this testing program.

EFFECTIVE DATE:  November 18, 1994

EFFECTIVE DATE (ELECTRONIC CONVERSION):  May 5, 1996

APPENDIX A

DEPARTMENT OF HUMAN SERVICES

PUBLIC HEALTH LABORATORY

WATER ANALYSES FEES

BACTERIOLOGY	$ 6.00

Total coliform, fecal coliform or fecal strep

SAFETY ANALYSIS	$ 12.00

Total coliform bacteria, nitrate N and nitrite N.

NEW WATER SUPPLY	$ 25.00

Total coliform bacteria, nitrate N, nitrites N, chlorides,

hardness, copper and iron. Manganese, and pH are included

if iron is present.

COMPLETE ANALYSIS	$ 40.00

Total coliform bacteria, nitrate N, nitrites N, chlorides,

hardness, copper, iron, magnanese, pH, color, turbidity,

zinc, cadmium, lead, sodium, fluoride and detergents.

PESTICIDE SCREENING (EPA)	$150.00

Endrin, Lindane, Methoxychlor, Toxaphene, 2,4-D and 2,4,5

TP/Silvex

TRIHALOMETHANES	$ 35.00

Total Trihalomethanes which includes chloroform, bromoform,

dibromochloromethane, bromodichloromethane, etc.

VOLATILE ORGANICS	$ 70.00

Tetrachloroethylene, trichloroethylene, methylene chloride,

1,1,1-trichloroethane, 1,1-dichloroethylene, carbon

tetrachloride, trans-1,2-dichloroethylene, and

cis-1,2-dichloroethylene

HYDROCARBON SCREEN	$ 25.00

Gasoline, fuel oil, etc.

ANALYSIS FOR SPECIFIC HYDROCARBON	$ 25.00

RADON	$ 22.00

APPENDIX B

CERTIFIED LABORATORIES

These are laboratories analyzing drinking water samples for the general public covered under the Safe Drinking Water Act.

Laboratory	Certified for

A & L Laboratory	Total Coliform

422 Washington Street	Nitrate-Nitrogen

Auburn, Maine 04210

Phone #784-5354

Aroostook Testing & Consulting	Total Coliform

Laboratories

Skyway Industrial Park

P.O. Box #1274

Presque Isle, Maine 04769

Phone #762-5771

Dairy Laboratory	Total Coliform

Old Fields Road

South Berwick, Maine 03908

Phone #384-2436

John Fancy, Inc.	Total Coliform

Box #152	Nitrate-Nitrogen

Waldoboro, Maine   04572	Fluoride

Phone #832-7584

Great Northern Paper Co.	Total Coliform

Analytical Research Laboratory	Nitrate-Nitrogen

Millinocket, Maine 04462	Barium

Phone #723-5131	Cadmium

Chromium

Lead

Selenium

Silver

E. C. Jordan Co., Inc.	Total Coliform

Downtown Station	Nitrate-Nitrogen

P.O. Box #7040	Arsenic

Portland, Maine 04412	Cadmium

Phone #775-5401	Selenium

Chromium

Lead

Mercury

Silver

Trihalmethanes

Pesticides

Herbicides

Barium

Fluoride

Turbidity

Chlorine Residual

McFarland Associates	Total Coliform

47 Gray Road	Nitrate-Nitrogen

P.O. Box #400	Trace Metals

North Windham, Maine 04062	Fluoride

Phone 1892-4485	Turbidity

Chlorine Residual

Northeast Laboratory Service	Total Coliform

P.O. Box #262	Nitrate-Nitrogen

Waterville, Maine 04901	Arsenic

Phone #873-7711	Cadmium

Chromium

Lead

Mercury

Selemium

Silver

Herbicides

Pesticides

Trihalomethanes

Northern Maine Water Testing	Total Coliform

Service	Nitrate-Nitrogen

25 Rose Street

Caribou, Maine 04736

Phone #493-3963

Peck Laboratories, Inc.	Total Coliform

Route #l, Box 947	Nitrate-Nitrogen

Kennebunk, Maine 04043	Chromium

Phone #985-6116	Silver

Barium

Cadmium

Selenium

Demers Laboratory, Inc.	Total Coliform

71 Main Street, P.O. Box #42S	Nitrate-Nitrogen

Springvale, Maine 04083

Phone #324-2074

Aqua Tech Environmental	Total Coliform

Consultants, Inc.	Nitrate-Nitrogen

St. Rt. 100	Fluoride

P.O. Box #76	Arsenic

Melmore, Ohio 44845	Barium

Phone (419) 397-26S9	Cadmium

Selenium

Chromium

Lead

Mercury

Silver

Environmental Data Inc.	Total Coliform

611 Cascade W. Parkway SE	Arsenic

P.O. Box #6510	Barium

Grand Rapids, Michigan 49506	Cadmium

Phone (616) 942-0970	Chromium

Lead

Mercury

Selenium

Nitrate-Nitrogen

Fluoride

Pesticides

Herbicides

Turbidity

Silver

James M. Montgomery	Total Coliform

Consulting Engineers Inc.	Nitrate-Nitrogen

155 East Walnut Street	Fluoride

Pasadena, CA 91101	Chlorine Residual

Trace Metals

Pesticides

Herbicides

Trihalomethanes

Mount Desert Island Water	Total Coliform

Testing Laboratory

Dow Point Road, Box #45

Seal Cove, Maine 04674

Phone 244-9066

National Sea Product, Inc. 	Total Coliform

Laboratory

Tilson Avenue, Box #309

Rockland, Maine 04841

Phone #594-8401 Ext. #141

Public Health Laboratory	Total Coliform

Station #12	Nitrate

221 State Street	Fluoride

Augusta, Maine 04333	Trace Metals

Pesticides

Herbicides

Turbidity

Chlorine Residual

Trihalomethanes

Radioactivity

Corrosivity

APPENDIX C

MAX EXPOSURE GUIDELINE	ACTION LEVEL

CONTAMINANT					(mg/liter)		(mg/1 liter)

A.	INORGANIC CHEMICALS

Aluminum	1.43	0.36

Arsenic (As)	0.05	0.025

Barium (Ba)	1.0	0.50

Cadmium (Cd)	0.010	0.005

Chromium (Cr)	0.05	0.025

Fluoride (F)	2.4	1.2

Lead (Pb)	0.05	0.025

Mercury (Hg)	0.002	0.001

Nitrate (NO3)	10.0	5.0

Nitrite (NO2)	1.0	0.5

Selenium (Se)	0.01	0.005

Silver (Ag)	0.05	0.025

Strontium	2.4	0.6

B.	PESTICIDES

2,4,5 TP/Silvex	0.001	0.0005

2,4,6-Trichlorophenol	0.7	0.18

2,4-D	0.1	0.05

2,4-Dichlorophenol	0.2	0.1

Alachlor	0.2	0.1

Aldicarb	0.002	0.001

Alpha-BHC	0.007	0.0035

Amiben	0.5	0.25

Atrazine	0.043	0.021

Azinophosmethyl	0.025	0.0125

Beta-BHC	0.0024	0.0012

Bis(2-chloroethyl)ether	0.0083	0.0042

Bromacil	0.025	0.0125

Butachlor	0.02	0.01

Captan	0.1	0.05

Carbaryl	0.164	0.082

Chlordane,	0.00055	0.00027

DDT	0.00083	0.00042

Diazinon	0.004	0.002

Dicamba	0.009	0.0045

Dinitrophenol	0.031	0.015

Dinoseb	0.011	0.005

ETU	0.0044	0.0022

Endrin	0.0002	0.0001

Folpet	0.32	0.16

Heptachlor	0.00023	0.00011

Hexachlorobenzene	0.0054	0.0027

Hexachlorophene	0.002	0.001

Lindane	0.004	0.002

MCPA	0.0025	0.00125

Malathion	0.04	0.02

Maneb (and Zineb)	0.01	0.005

Methomyl	0.05	0.025

Methoxychlor	0.1	0.05

Nitrophenol	0.083	0.021

PCNB	0.071	0.035

Paraquat	0.017	0.0085

Parathion (and methyl form)	0.0086	0.0043

Pentachlorophenol	0.006	0.003

Phorate-	0.0002	0.0001

Pichloram	0.3	0.15

Propachlor	0.2	0.1

Propanil	0.04	0.02

Propazine	0.093	0.046

Resorcinol	0.14	0.035

Rotenone	0.004	0.002

Simazine	0.43	0.21

Thiram	0.01	0.005

Toxaphene	0.005	0.0025

Trifluralin	0.2	0.1

Trinitrophenol	0.057	0.014

Ziram (and Ferbam)	0.025	0.0125

C.	HALOGENATED COMPOUNDS

1,1,1-Trichloroethane	0.33	0.17

1,1-Dichloroethylene	0.028	0.014

1,2-Dichloroethane	0.014	0.007

Bromide	0.66	0.33

Carbon Tetrachloride	0.02	0.005

Chloramine	0.035	0.009

Chlorate	0.035	0.009

Chlorine dioxide	0.11	0.055

Chlorite	0.035	0.009

Chlorobenzene	0.047	0.023

Cis-1,2-Dichloroethylene	0.4	0.1

Dichlorodifluoromethane	1.6	0.4

Epichlorohydrin	0.15	0.038

Ethylene dibromide	0.001	0.0005

Iodide	0.34	0.17

Methylene Chloride	0.15	0.075

Polychlorinated Biphenyls	0.003	0.0015

Tetrachlorodibenzo-dioxin	2.0xl0-7	1.0x10-7

Tetrachloroethylene	0.035	0.017

Trans-1,2-Dichloroethylene	0.27	0.067

Trichloroethylene	0.045	0.022

Trichlorofluoromethane	2.3	0.57

Vinyl chloride	0.02	0.01

o-Dichlorobenzene	0.085	0.042

p-Dichlorobenzene	0.027	0.013

D.	NONHALOGENATED COMPOUNDS

Benzene	0.07	0.035

Di-(2-ethylhexy1)phtha1ate	1.2	0.6

Di-n-butyl phthalate	0.22	0.11

Ethylene glycol	5.5	2.8

Formaldehyde	0.03	0.003

Fuel Oil #2	0.1	0.05

Gasoline	0.1	0.05

Methyl Ethyl Ketone	0.75	0.19

Methyl methacrylate	0.2	0.1

Nitrobenzene	0.0014	0.00035

Polyaromatic hydrocarbons	0.025	0.0125

Styrene	0.27	0.13

Toliene	0.1	0.05

Xylene	0.62	0.31

n-Hexane	4.0	1.0

E.	TRIHALOMETHANES

Total Trihalomethanes	0.1	0.05

a.	Chloroform	0.006	0.003

b.	Bromoform

c.	Dibromochloromethane

d.	Bromodichloromethane

APPENDIX D

PRIVATE WATER SYSTEMS REPORT INVENTORY

------------------------------------------------------------------------

Case #_____

Name								Date

Mailing address (street)

City/town						Zip

Telephone #

Water system owner

Analysis done			Date			Lab & Serial

Analytical levels

Total costs for analysis to date:				over the last 12 months?

Alleged problem

Does water have taste		odor		?  If so, give details

Specific location of water source - (please refer to reverse side of page)

Water source type:	dug		drilled		spring		well point	surface

age		depth		covering		above grade

Casing type/condition

# buildings connected		# consumers

Type of treatment: filtration (type)			chlorinator		softener

iron removal		ultra-violet		other

Source of pollution			Distance from water source (in feet)

0-50	50-100	100-150	150-200

Landfill

Hazardous waste site

Industrial

Highway

Garden

Septic system/privy

Barnyard/stable

Underground storage tank

Leak suspected		?

Are other State agencies involved and/or reporting contamination in the area?

Yes		No		Name of agencies

Disease incidence?					Epidemiology notified?

Physician involved?  Documentation

DEP notified				Local Health Officer notified

Recommended analytical tests to be done:

Is applicant eligible for food stamps?			Social Security #

Drinking Water Form HHE-A, June 1984

Please draw a map of the area locating the water source, buildings, major routes, north arrow (N), slope of land and any alleged sources of pollution.