16		DEPARTMENT OF PUBLIC SAFETY

163		BUREAU OF EMERGENCY MEDICAL SERVICES (MAINE EMS)

Chapter 17:	EQUIPMENT LISTS FOR MAINE EMS SERVICES AND REGIONAL EMS RADIO FREQUENCIES

Maine EMS may accept other equipment or supplies that it judges to be equivalent to these listed, however, specific approval from Maine EMS must be obtained before such a substitution is made.

§1.	Equipment list for Non -Transporting Services

1.	A non transporting service must possess, at a minimum, the equipment listed in this section and must maintain a system to ensure the availability of this equipment on any call.

A.	As of August 1, 2004, all medical equipment and medical supplies required in this section must be natural-rubber latex free.

B.	The Equipment list for Non-Transporting Services follows:

1.	4 Airways, Oral - One each of sizes: Large adult; adult; child; infant

2.	4 Airways, Nasal – One each of sizes; Large adult; adult; child; infant

3.	1 Aluminum foil – 18 inches by 25 feet roll or both an occlusive dressing and a device for wrapping the newborn, such as a "space blanket".

4.	1 Aspirator, Small Bulb

5.	1 Automatic External Defibrillator (AED) – Must be a semi –automatic defibrillator with 1 set of pediatric and 2 sets of adult defibrillator pads.

6.	1 Bag Valve Mask, Adult - Automatic, pressure cycled resuscitators are not acceptable.

7.	1 Bag Valve Mask, Child

8.	1 Bag Valve Mask, Infant

9.	6 Bandages, Roller - self-adhering 3 inches minimum width

10.	4 Bandages, Triangular

11.	Band aids - Box of assorted sizes

12.	1 Blanket

13.	1 Burn sheet - Sterile

14.	4 Collars, Extrication, Rigid - Pediatric, small, medium and large sizes required. Soft Collars are not acceptable.

15.	24 Disaster Tags - Tag type must be Maine EMS approved.

16.	6 Dressings, Surgical - Minimum 5 inches by 9 inches

17.	2 Dressings, Universal – 8 inches by 30 inches minimum

18.	1 Flashlight - Battery operated containing at least 2 "D-Cell" batteries or equivalent. Penlights not acceptable.

19.	10 (Pair) Gloves

20.	1 Glucose Preparation - Commercially packaged - for emergency medical administration

21.	2 (Pair) Goggles, Protective

22.	1 Head Immobilization Device - Any device that may be attached to a long spinal immobilization device for the purpose of immobilizing the head and cervical spine.

23.	1 Mask, Pocket -with oxygen inlet and one way valve

24.	4 Masks - Surgical type

25.	Oxygen, Portable - At least one operable "D" cylinder, at a minimum 1500 psi, or its equivalent, equipped with a flow meter which will operate in all positions. Must have adult and child non-rebreather mask, adult nasal cannula, and infant mask.

26.	Saline, Sterile - Commercially sealed container(s) must total no less than 500 ml and must not have passed expiration date.

27.	1 Shears, Trauma

28.	Sphygmomanometers - Adult, large adult, child, and infant sizes

29.	1 Spinal Immobilization Device, Long - Long spine board or similar device providing adequate spinal immobilization acceptable.

30.	4 Splints, Padded Board - 2 (3 inches by 36 inches) and 2 (3 inches by 15 inches). Similar splints such as cardboard, plastic, wire-ladder, or canvas with rigid inserts of like length and width may be carried in place of the 36 inch and 15 inch boards. Air splints or vacuum splints may be carried in place of one of the required padded board splints of each length.

31.	12 Sponges, Sterile - 4 inches by 4 inches

32.	Stethoscopes, 1- adult, 1- pediatric

33.	6 Straps – 9 feet in length; 2 inches minimum width; with buckles. Quick-clip and other commercial straps are acceptable; however, at least three 9 foot straps are required.

34.	1 Suction apparatus - Portable unit to provide pharyngeal suction of at least 11.8 inches mercury (300mm Hg) within 4 seconds after the suction tube is clamped closed. Unit must have trap bottle, and be equipped with rigid pharyngeal suction tip and appropriate catheters.

35.	2 Tape, Adhesive, Roll - At least 1 inch wide

36.	1 Tourniquet – Must be commercially prepared for hemorrhage control.

37.	2 Towels - Medium size

38.	2 Vests, reflective

§2.	Equipment List for Ground Ambulance Services

1.	As of August 1, 2004, all medical equipment and medical supplies required in this section must be natural-rubber latex free.

A.	The Equipment list for Ground Ambulance Services follows:

1.	4 Airways, Oral - One each of sizes: Large adult; adult; child; infant

2.	4 Airways, Nasal – One each of sizes; Large adult; adult; child; infant

3.	1 Aluminum foil – 18 inches by 25 feet roll or both an occlusive dressing and a device for wrapping the newborn, such as a "Space Blanket"

4.	1 Automatic External Defibrillator (AED) - Must be a semi –automatic defibrillator with 1 set of pediatric and 2 sets of adult defibrillator pads.

5.	1 Bag Valve Mask, Adult - Automatic, pressure cycled resuscitators are not acceptable.

6.	1 Bag Valve Mask, Child

7.	1 Bag Valve Mask, Infant

8.	6 Bandages, Roller - self-adhering 3 inches minimum width

9.	4 Bandages Triangular

10.	Band aids - Box of assorted sizes

11.	2 Emesis basins - Alternative containers acceptable

12.	4 Blankets

13.	2 Burn sheets - Sterile

14.	4 Collars, Extrication, Rigid - Pediatric, small, medium and large sizes required. Soft Collars are not acceptable.

15.	24 Disaster Tags - Tag type must be Maine EMS approved.

16.	6 Dressings, Surgical - Minimum 5 inches by 9 inches

17.	4 Dressings, Universal - 8 inches by 30 inches minimum

18.	1 Fire extinguisher - A-B-C or B-C rated. Five pound size equivalent or larger. Must be secured in vehicle. Professionally inspected on annual basis.

19.	2 Flashlights - Battery operated containing at least at least 2 "D-Cell" batteries or equivalent. Penlights are not acceptable. One flashlight must be in the patient compartment

20.	10 (Pair) Gloves

21.	1 Glucometer

22.	2 Glucose Preparation - Commercially packaged - for emergency medical administration.

23.	4 (Pair) Goggles, Protective

24.	4 Gowns/Overalls - Of adequate material and design to provide a protective barrier against contact with patient's body fluids.

25.	1 Head Immobilization Device - Any device, which may be attached to a long spinal immobilization device for the purpose of immobilizing the head and cervical spine.

26.	1 Mask, Pocket -With oxygen inlet and one way valve

27.	4 Masks - Surgical type

28.	1 Obstetrical Kit - To contain sterile gloves, scalpel or scissors, umbilical clamps or tape, sterile dressings, towels, small bulb-aspirator, plastic bag, and receiving blanket. Kit must be sealed in plastic to prevent contamination.

29.	Oxygen - "M" (also known as "DEY") cylinder or equivalent number of other size tanks to achieve a minimum storage capacity of 3000 liters (@ 2000 psi pressure, 70 degree temperature). "E" cylinders hold 685 liters when full (2000 psi). "D" cylinders hold 410 liters when full (2000 psi). A response-available ambulance must carry, as a minimum, the volume of portable oxygen required below plus the equivalent of an "M" cylinder at no less than 500 psi. All cylinders must be adequately secured in vehicle.

30.	Oxygen Masks - 2 each: adult non rebreather; adult nasal cannula; pediatric non rebreather; and, infant mask

31.	Oxygen, Portable - At least two operable "D" cylinders (410 liters each), one of which indicates a minimum pressure of 1500 psi and the other which indicates a minimum pressure of 500 psi. At least one of the two required tanks shall be equipped with a flow meter that will operate in all positions.

32.	2 Pillows

33.	1 Pulse Oximeter

34.	Saline, Sterile - Commercially sealed container(s) must total no less than 2000 ml and must not have passed expiration date.

35.	1 Sharps Container - Must be secured.

36.	2 Shears, Trauma

37.	4 Sheets

38.	Sphygmomanometers - Adult, large adult, child and infant sizes.

39.	1 Spinal Immobilization Device, Long - Long spine board or similar device providing adequate spinal immobilization acceptable.

40.	1 Spinal Immobilization Device, Short - short spine board or similar device providing adequate spinal immobilization acceptable.

41.	4 Splints, Padded Board - 2 (3 inches by 36 inches) and 2 (3 inches by 15 inches). Similar splints such as cardboard, plastic, wire-ladder, or canvas with rigid inserts of like length and width may be carried in place of the 36 inch and 15 inch boards. Air splints or vacuum splints may be carried in place of one of the required padded board splints of each length.

42.	1 Splint, Traction - Adult size. Additional pediatric recommended.

43.	12 Sponges, Sterile – 4 inches by 4 inches

44.	Stethoscopes, 1-adult, 1-pediatric

45.	6 Straps – 9 feet in length; 2 inches minimum width with buckles. Quick-clip and other commercial straps are acceptable; however, at least three 9 foot straps are required.

46.	Stretcher - as specified in Ch. 3§13(1)(E). All restraining straps must be used during patient transport unless they interfere with patient care, or a Child Protective Seat is in place

47.	1 Stretcher, Folding - Any of the following are acceptable: stair chair converting to full-length cot; army D-ring stretcher; ambulance folding stretcher; scoop stretcher.

48.	1 Suction device, Portable, capable to provide pharyngeal suction of at least 11.8 inches mercury (300mm Hg) within 4 seconds after the suction tube is clamped closed. Unit must have trap bottle, and be equipped with rigid pharyngeal suction tip and appropriate catheters. The unit must be electrically powered - capable of operating from its own (internal) battery.

49.	3 Tape, Adhesive - Assorted size rolls

50.	Thermometer(s) - Non-glass fever type. Hyperthermic and hypothermic ranges should be available.

51.	1 Tourniquet – Must be commercially prepared for hemorrhage control.

52.	4 Towels cloth type

53.	2 Vests, reflective striping on crew member uniforms and outerwear are acceptable if the reflective striping provides 360º visibility.

§3.	Equipment List For Scene Response Air Ambulances

1.	As of August 1, 2004, all medical equipment and medical supplies required in this section must be natural-rubber latex free.

A.	The Basic Life Support equipment list for scene response air ambulances follows:

1.	4 Airways, Oral - One each of sizes: Large adult; adult; child; infant

2.	4 Airways, Nasal – One each of sizes; Large adult; adult; child; infant

3.	1 Aluminum foil – 18 inches by 25 feet roll or both an occlusive dressing and a device for wrapping the newborn, such as a "Space Blanket".

4.	1 Bag Valve Mask, Adult - Automatic, pressure cycled resuscitators are not acceptable.

5.	1 Bag Valve Mask, Child

6.	1 Bag Valve Mask, Infant

7.	6 Bandages, Roller - self-adhering 3 inches minimum width

8.	2 Emesis basins - Alternative containers acceptable.

9.	2 Blankets or equivalent patient thermal covering

10.	2 Burn sheet - Sterile

11.	3 Collars, Extrication, Rigid - of which 2 must be adjustable to small, medium or large size, with the third being pediatric size. Soft Collars are not acceptable.

12.	1 Doppler

13.	3 Dressings, Surgical - Minimum 5 inches by 9 inches

14.	3 Dressings, Universal - 8 inches by 30 inches minimum

15.	1 Fire Extinguisher - FAA approved A-B-C or B-C rated. Five pound size equivalent or larger. Must be secured in vehicle. Professionally inspected on annual basis

16.	2 Flashlights - Battery operated containing at least 2 "D-Cell" size batteries or equivalent. Penlights not acceptable. One must be in the patient compartment.

17.	10 (Pair) Gloves

18.	2 (Pair) Goggles, Protective

19.	2 Gowns/Overalls - Of adequate material and design to provide a protective barrier against contact with patient's body fluids.

20.	1 Head Immobilization Device - Any device that may be attached to a long spinal immobilization device for the purpose of immobilizing the head and cervical spine.

21.	1 Mask, Pocket -With oxygen inlet and one way valve

22.	2 Masks - Surgical type

23.	1 Obstetrical Kit - To contain sterile gloves, scalpel or scissors, umbilical clamps or tape, sterile dressings, towels, small bulb-aspirator, plastic bag, and receiving blanket. Kit must be sealed in plastic to prevent contamination.

24.	Oxygen System - Comprised of a portable "D" cylinder with regulator and a craft mounted cylinder with regulator with a total volume 2740 liters. Must have 2 each adult and child non-rebreather masks, adult nasal cannulas, and (simple) infant masks.

25.	2 Pillows

26.	1 Pulse Oximeter

27.	Saline, Sterile - Commercially sealed container (s) must total no less than 2000 ml and must not have passed expiration date.

28.	2 Shears, Trauma

29.	4 Sheets

30.	Sphygmomanometers - Adult, large adult, child and infant sizes

31.	1 Spinal Immobilization Device, Long - Long spine board or similar device (such as a rigid flight litter) providing adequate spinal immobilization acceptable.

32.	1 Spinal Immobilization Device, Short - Short spine board, or similar device providing adequate spinal immobilization is acceptable.

33.	2 Splints - any type - each being 24 inches in length

34.	1 Splint, Traction - Adult size

35.	12 Sponges, Sterile - 4 inches by 4 inches

36.	Stethoscopes 1-adult, 1-pediatric

37.	3 Straps – 9 feet in length; 1 ¾ inches minimum width with buckles. Quick-clip and other commercial straps may substitute for 3 of the required 6 straps.

38.	1 multi-point strap system

39.	1 Stretcher, Ambulance - With a minimum 3 inch foam pad and must have FAA approved latching mechanism to secure the stretcher during flight. Head must elevate.

40.	1 Suction Device - portable type - capable of providing pharyngeal suction of at least 11.8 inches mercury (300mm Hg) within 4 seconds after the suction tube is clamped closed. Unit must have trap bottle, and be equipped with rigid pharyngeal suction tip and appropriate catheters.

41.	3 Tape, Adhesive – 1 inch minimum width

42.	1 Thermometer(s) - Non-glass fever type. Hyperthermic and hypothermic ranges should be available.

43.	4 Towels, cloth type

44.	2 Vests, - Reflective - reflective striping on crew member uniforms and outerwear are acceptable if the reflective striping provides 360º visibility.

B.	The Advanced Life Support equipment list for scene response air ambulances follows:

1.	1 Cardiac Monitor/ Defibrillator - Capable of pediatric and adult defibrillation and cardioversion, manually selectable joule settings, 12 lead ECG monitoring, and paper strip ECG recordings. Must have one set of pediatric and two sets of adult monitor defibrillator pads.

2.	1 Drug Storage Container - Must be capable of securing ALS drugs in a manner that is consistent with Chapter 6 of these Rules.

3.	1 each Endotracheal Tube, Cuffed - Sizes 5.0, 6.0, 7.0, 8.0.

4.	1 each Endotracheal Tube, Uncuffed - Sizes 2.5, 3.0, 4.0

5.	1 End Tidal CO2 Monitor continuous waveform device

6.	1 Logbook, for the Drug Storage Container - Must meet the logbook requirements of Chapter 6 of the Rules.

7.	1 Forceps, Magill, Large

8.	1 Forceps, Magill, Small

9.	1- Glucometer

10.	2 Intraosseous Needles - 15 ga. or equivalent

11.	3 Intravenous (IV) Administration Set, Macrodrip

12.	4 IV Fluid, Volume Replacement - to total 4000 ml

13.	2 IV Pressure bags

14.	2 each IV Needle/Catheters - Sizes 14, 16, 18, 20, catheter over-the-needle type

15.	Laryngoscope Blades - Sizes 0, 1, 2, 3, 4

16.	1 Laryngoscope Handle

17.	Periglottic Devices sizes 1, 1.5, 2, 2.5, 3, 4, 5 or, Transglottic Devices sizes 2, 2.5, 3, 4, 5

18.	1 Sharps Container - Must be specifically designed for needle disposal and be securely attached to prevent spillage.

19.	1 each Stylet - Capable of use with ET tubes sizes 2.5 to 8.0

20.	1 Surgical Airway/Chest Decompression Set containing:

(a)	1 each tracheostomy tube

(b)	1 each tracheal retractor

(c)	1 each Kelley clamp

(d)	6 each sterile 4 inches by 4 inches sterile sponges

(e)	2 each #11 scalpel blades

(f)	1 each scalpel blade handle

(g)	2 each sterile surgical gloves

(h)	1 each 10 ml syringe

(i)	1 each transtracheal inflation tubing

(j)	2 each 14 ga. 2 inch IV catheters

(k)	2 each 14 ga. 3.25 inch IV catheters

(l)	4 each betadine swabs or any equivalent surgical antiseptic

(m)	2 each 20 ml syringes

(n)	2 each one way type valve assembly, or Maine EMS approved equivalent.

21.	1 Ventilator with external continuous waveform end tidal Carbon Dioxide monitoring

§4.	Equipment List for Transfer Air Ambulances

1.	As of August 1, 2004, all medical equipment and medical supplies required in this section must be natural-rubber latex free.

A.	The equipment list for transfer air ambulances follows:

1.	4 Airways, Oral

2.	1 Bag Valve Mask, Adult

3.	1 Bag Valve Mask, Child

4.	1 Bag Valve Mask, Infant

5.	4 Bandages, Roller

6.	2 Blankets

7.	1 Cardiac Monitor/ Defibrillator - Capable of pediatric and adult defibrillation and cardioversion, manually selectable joule settings, 12 Lead ECG monitoring, and paper strip ECG recordings. Must have 1 set of pediatric and 2 sets of adult monitor defibrillator pads.

8.	4 Dressings, Surgical

9.	2 Dressing, Universal

10.	1 Drug Storage Container - Must be capable of securing ALS drugs in a manner that is consistent with Chapter 6 of these Rules.

11.	1 each Endotracheal Tube, Cuffed - Sizes 5.0, 6.0, 7.0, 8.0

12.	1 each Endotracheal Tube, Uncuffed - Sizes 2.5, 3.0, 4.0

13.	1 End Tidal CO2 Monitor, continuous waveform device

14.	1 Glucometer

15.	6 (Pair) Gloves

16.	2 (Pair) Goggles, Protective

17.	2 Gowns/Overalls

18.	2 Intravenous (IV) Administration Set, Macrodrip

19.	4 IV Fluid, Volume Replacement - to total 2000 ml

20.	2 each IV Needle/Catheters - Sizes 14, 16, 18, 20, catheter over-the-needle type

21.	Laryngoscope Blades, Sizes 0, 1, 2, 3, 4

22.	2 Laryngoscope Handles

23.	1 Logbook, for the Drug Storage Container - Must meet the logbook requirements of Chapter 6 of the Rules.

24.	4 Masks - Surgical type

25.	1 Obstetrical Kit

26.	Oxygen Equipment - 2 E cylinders or equivalent; 2 flow meters; 1 adult non-rebreather mask; 1 nasal cannula; and 1 pediatric non-rebreather mask

27.	Periglottic Devices sizes 1, 1.5, 2, 2.5, 3, 4, 5 or, Transglottic Devices sizes 2, 2.5, 3, 4, 5

28.	1 Pillow

29.	1 Pulse Oximeter

30.	Saline, Sterile – 2000 ml total

31.	1 Sharps Container

32.	1 Shears, Trauma

33.	2 Sheets

34.	Sphygmomanometers – Adult, large adult, pediatric and infant

35.	4 Sponges, Sterile - 4 inches by 4 inches

36.	Stethoscopes, 1 adult, 1 pediatric

37.	1 Stretcher, Ambulance - With a minimum 3 inch foam pad and must have FAA approved latching mechanism to secure the stretcher during flight. Head must elevate.

38.	1 each Stylet - Capable of use with ET tubes sizes 2.5 to 8.0

39.	1 Suction Device, portable type - capable of providing pharyngeal suction of at least 11.8 inches mercury (300mm Hg) within 4 seconds after the suction tube is clamped closed. Unit must have trap bottle, and be equipped with rigid pharyngeal suction tip and appropriate catheters.

40.	1 Surgical Airway/Chest Decompression Set containing:

(a)	1 tracheostomy tube

(b)	1 tracheal retractor

(c)	1 Kelley clamp

(d)	6 sterile 4 inches by 4 inches sterile sponges

(e)	2 #11 scalpel blades

(f)	1 scalpel blade handle

(g)	2 pair, size 7 1/2 sterile surgical gloves

(h)	1 10 ml syringe

(i)	1 transtracheal inflation tubing

(j)	2 14 ga. 2 inch IV catheters

(k)	2 14 ga 3.25 inch IV catheters

(l)	4 betadine swabs or any equivalent surgical antiseptic

(m)	2 20 ml syringes

(n)	2 one way type valve assemblies, or Maine EMS approved equivalent

41.	2 Tape, Adhesive, Roll – 1 inch minimum width

42.	2 Towels

§5.	Advanced Life Support Equipment List

1.	As of August 1, 2004, all medical equipment and medical supplies required in this section must be natural-rubber latex free.

A.	The Advanced Life Support equipment list for the Advanced Emergency Medical Technician (AEMT) level follows:

1.	1 Cardiac Monitor/Defibrillator – Must be capable of pediatric and adult defibrillation and cardioversion, manually selectable joule settings, 12 Lead ECG monitoring, and paper strip recordings. Must have one set of pediatric and two sets of adult monitor defibrillator pads.

2.	1 End Tidal Carbon Dioxide Monitor, continuous waveform device

3.	2 Intraosseous Needles - 15 ga. or equivalent

4.	3 Intravenous (IV) Administration Set, Macrodrip

5.	IV Administration Set, Microdrip - As needed for medicated drips, or otherwise locally required.

6.	6 - IV Fluid, Volume Replacement - Total of 6000 ml. Type(s) of fluids stocked (e.g. Normal Saline, Lactated Ringers) shall be in accordance with the Maine EMS Protocols.

7.	2 each IV Needle/Catheters - Sizes 14, 16, 18, 20, 22 catheter over needle type

8.	Periglottic Devices sizes 1, 1.5, 2, 2.5, 3, 4, 5 or, Transglottic Devices sizes 2, 2.5, 3, 4, 5

9.	Phlebotomy equipment - Local/regional dictate

10.	1 Sharps Container - Must be specifically designed for needle disposal and be securely attached to prevent spillage.

B.	The Advanced Life Support equipment list for the EMT- Critical Care level includes all of the equipment required at the Advanced Emergency Medical Technician (AEMT) level with the addition of the following equipment:

1.	1 Drug Storage Container - Must be capable of securing ALS drugs in a manner that is consistent with Chapter 6 of these Rules.

2.	IV Fluid, D5W - As needed for medicated drips.

3.	1 each Endotracheal Tube, Cuffed – Sizes 5.0, 6.0, 7.0, 8.0

4.	1 each Endotracheal Tube, Uncuffed 0 Sizes 2.5, 3, 4

5.	1 Forceps, McGill large

6.	1 Forceps, McGill small

7.	Laryngoscope Blades – sizes 0, 1, 2, 3, 4

8.	1 Laryngoscope handle

9.	1 Logbook, for the Drug Storage Container - Must meet the logbook requirements of Chapter 6 of the Rules.

10.	1 each stylet capable of use with ET tubes sizes 2.5-8

C.	The Advanced Life Support equipment list for the Paramedic level includes all of the equipment required at the EMT- Critical Care level with the addition of the following equipment:

1.	1 Surgical Airway/Chest Decompression Set containing:

(a)	1 tracheostomy tube

(b)	1 tracheal retractor

(c)	1 Kelley clamp

(d)	6 sterile 4 inches by 4 inches sterile sponges

(e)	2 #11 scalpel blades

(f)	1 scalpel blade handle

(g)	2 pair, sterile surgical gloves

(h)	1 10 ml. syringe

(i)	1 transtracheal inflation tubing

(j)	214 ga. 2 inch IV catheters

(k)	2 14 ga 3.25 inch IV catheters

(l)	4 betadine swabs or any equivalent surgical antiseptic

(m)	2 20 ml. syringes

(n)	2 one way type valve assemblies, or Maine EMS approved equivalent

§6.	Regional Hospital Frequencies

Region 1	Southern Maine		155.325

Region 2	Tri County		155.340

Region 3	Kennebec Valley	155.400

Region 4	Northeast		155.355

Region 5	Aroostook		155.340

Region 6	Mid-Coast		155.340

"Statewide Net"				155.385

(Maine EMS mobile-to-mobile)

AUTHORITY:	32 M.R.S.A., Chapter 2-B.

EFFECTIVE DATE:

July 3, 1978 (EMERGENCY)

AMENDED:

April 1, 1982

December 25, 1982 - Sec. 2.31, 3131, 6.311, 6.63 and 6.73

January 1, 1984 - Sec. 1, 2, 3, 5, 6, 8.32, 10.2, 10.3, 11.1066 and 11.1067

April 30, 1985 - Sec. 1, 2.846.222, 6.332, 9.313, 8.3216 and 9.11

January 1, 1986 - Sec. 1, 6. 8.15, 8.2, 8.3, 8.4 and 11.103

September 1, 1986

August 25, 1987 - Sec. 5, 6.011 and 12 (added)

July 1, 1988

March 4, 1992

September 1, 1996

EFFECTIVE DATE (ELECTRONIC CONVERSION):

July 1, 2000

REPEALED AND REPLACED:

July 1, 2000

July 1, 2003

January 1, 2010

AMENDED:

May 13, 2013 – filing 2013-032